G.N.-280A

The various mulch pay items in the plans include quantities for temporary mulch for erosion control.  The temporary mulch includes maintenance and removal if necessary, per the requirements of Article 280 of the Standard Specifications, and no additional compensation will be allowed.  Some or all of the mulch used as temporary erosion control will be deleted if it is not necessary due to establishment of permanent seeding.