# ILLINOIS ENVIRONMENTAL PROTECTION AGENCY NOTIFICATION FOR BRIDGE DEMOLITION (ASBESTOS PRESENT)

Eff. 03-29-2001 								Rev. 09-01-2006

Notification to the Illinois Environmental Protection Agency (IEPA) is required for the following structures at least 10 days prior to commencing demolition or renovation:

| Structure Number | Demolition (D) or Renovation (R) | Asbestos Present in listed Items |
| --- | --- | --- |

According to the Department’s records and knowledge, asbestos is present in the above listed structures

The notification form may be viewed and printed from the following IEPA web page:

http://www.epa.state.il.us/air/asbestos/asbestos-form.pdf

For purposes of this contract, Demolition is defined as “the removal or wrecking of any load-supporting structural member of a facility.”  Renovation is defined as “the alteration of any part of a facility in any manner.”

For each of the above listed structures, the Department and Contractor shall complete the IEPA form “NOTIFICATION OF DEMOLITION AND RENOVATION; IL 532 1296” jointly no later than the time of the preconstruction conference for the job.  Estimated dates for commencing and completing the demolition of the work may be entered in the form, and shall be updated with a revised submittal any time the estimated or actual date for either of these events changes.

The Contractor shall provide a person trained in the IEPA asbestos rules and the means of complying with them to be present when any asbestos is stripped, removed, or otherwise handled or disturbed at the above listed structures.  This person must have in his/her possession for inspection, evidence that the requisite training has been accomplished, and shall oversee the operations to assure IEPA compliance.

The requirements of this Special Provision apply in addition to those contained elsewhere in the contract for removal of asbestos containing materials.  The costs of complying with this Special Provision shall be considered as included in the pay items for the renovation and/or demolition requiring the disturbance of the asbestos as described elsewhere in the contract.

107ASB2

Program Development Notes -  This Special Provision is to be used for any demolition operations on bridges known to contain asbestos, including in attached piping, ductwork, or insulation.  It is also to be used for any other work on bridges when at least 260 linear feet (80 m) of pipes, 160 square feet (15 m2) of other components, containing asbestos will be affected, or when the volume of asbestos-containing debris produced will be at least 35 cubic feet (1 m3.)

For purposes of this Special Provision, a bridge is a structure with at least a 20-foot clear span, exclusive of culverts having earth fill.

(Program Development Notes shall not appear in the special provision.)

107ASB2