All District Engineers, Walter S. Kos and Thomas R. Walker

William T. Sunley

Special Provision for QC/QA of Concrete Mixtures

October 2, 1998

This special provision was revised by the Bureau of Materials and Physical Research.  The major revisions are all concrete plants must be certified according to the department’s policy memorandum on plant approval effective January 1, 1999.  The personnel requirements for the plants have also been revised and QC/QA will be paid for separately as cubic meters (cubic yards).

Paying for QC/QA of concrete mixtures as cubic yards will require the districts to create a schedule of all major concrete items which include QC/QA and convert all the necessary quantities to cubic meters (cubic yards).  An example of the type of schedule to be included follows:

| QC/QA CONCRETE cubic meters (cubic yards) |  | Conversion Factor |  |
| --- | --- | --- | --- |
| PCC BASE COURSE 270 MM | 100 m2 | 1000 mm/m | 27 m3 |
| CONCRETE STRUCTURE | 150 m3 |  | 150 m3 |
| COMB CONC CURB & GUTTER TYPE B15.30 | 120 m | .0975 m2 | 11.7 m3 |
| TOTAL QC/QA CONCRETE cubic meters (cubic yards) |  |  | 188.7 m3 |

In this example the designer will include a pay item for pcc base course, concrete structure, combination curb and gutter and QC/QA for concrete.  The table indicates to the Contractor what pay items were used to determine the quantity for QC/QA.

QC/QA for precast concrete items will be included in the cost of the item and should not be listed in the schedule.  If a Contractor opts to provide a precast item for a cast in place item then the department will receive a credit for the QC/QA for that item.

The districts should include the BDE Check Sheet with the applicable BDE Special Provisions marked for the January 15, 1999 letting and for subsequent lettings and the Project Development and Implementation Section will include the paper copy in the contract.

This special provision will be transferred through Microsoft Exchange to the district offices on October 2, 1998.

AK:mac\/tmp/in/input.doc

Quality Control/Quality Assurance Of Concrete Mixtures (BDE)

Effective:  April 1, 1992

Revised:  January 1, 1999

Description.  This Special Provision specifies the quality control responsibilities of the Contractor, for portland cement concrete mixtures, cement aggregate mixture II, and controlled low-strength material incorporated in the project, and defines the quality assurance and acceptance responsibilities of the Engineer.

The Contractor, by application for and receipt of prequalification, by submission of a bid and, if awarded the contract, by execution of the contract containing this Special Provision, certifies that it fully and thoroughly understands all aspects and requirements of this Special Provision; that it possesses the latest edition of and thoroughly understands all aspects and requirements of the procedures, manuals and documents referred to and incorporated by reference in this Special Provision; and that it waives and releases any and all claims of misunderstanding or lack of knowledge of the same.  Furthermore, the Contractor understands and agrees that compliance with the requirements of this Special Provision and the Quality Control Plan approved by the Engineer is an essential element of the contract.  Failure to comply with these requirements can result in one or more of the following:  a major breach of this contract and default thereof, a loss of prequalification and a suspension of the Contractor from bidding.

A list of quality control/quality assurance (QC/QA) documents is provided in Schedule D.

Materials.  For concrete, aggregates (except natural sand and finely divided minerals) shall be produced according to the Department's Policy Memorandum “Aggregate Gradation Control System”.  Gradations other than those in the Standard Specifications may be used if produced according to the Department's “Aggregate Gradation Control System”.

For cement aggregate mixture II and controlled low-strength material,  the Department’s “Aggregate Gradation Control System” will not apply.

Equipment/Laboratory.  The Contractor shall provide a laboratory and test equipment to perform their quality control testing.

The laboratory shall be of sufficient size and be furnished with the necessary equipment, supplies, and current published test methods for adequately and safely performing all required tests.  The laboratory will be approved by the Engineer at the beginning of each construction season or each 12 month period.  Production of a mixture shall not begin until the Engineer provides written approval of the laboratory.  The Contractor shall refer to the Department's "Required Sampling and Testing Equipment for Concrete" for equipment requirements.

Test equipment shall be maintained and calibrated as required by the appropriate test method, and when required by the Engineer.  This information shall be documented on the Department's "Calibration of Concrete Testing Equipment" form.

Test equipment used to determine compressive or flexural strength shall be calibrated each 12 month period by an independent agency, using calibration equipment traceable to the National Institute of Standards and Technology (NIST).  The Contractor shall have the calibration documentation available at the test equipment location.

The Engineer  will have unrestricted access to the plant and laboratory at any time to inspect measuring and testing equipment, and will notify the Contractor of any deficiencies.  Defective equipment shall be immediately repaired or replaced by the Contractor.

Plant/Delivery Trucks.  The concrete plant and delivery trucks shall be approved according to the Department’s Policy Memorandum “Concrete Plant and Delivery Truck  Certification Program.”

Quality Control Plan.  The Contractor shall submit, in writing, a proposed Quality Control (QC) Plan to the Engineer.  The QC Plan shall be submitted a minimum of 45 calendar days prior to the production of a mixture.  The QC Plan shall address the quality control of the concrete, cement aggregate mixture II, and controlled low-strength material incorporated in the project.  The Contractor shall refer to the Department's "Model Quality Control Plan for Concrete Production" to prepare a QC Plan.  The Engineer will respond in writing to the Contractor’s proposed QC Plan within 15 calendar days of receipt.

Production of a mixture shall not begin until the Engineer provides written approval of the QC Plan.  The approved QC Plan shall become a part of the contract between the Department and the Contractor, but shall not be construed as acceptance of any mixture produced.

The QC Plan may be amended during the progress of the work, by either party, subject to mutual agreement.  The Engineer will respond in writing to a Contractor’s proposed QC Plan amendment within 15 calendar days of receipt.  The response will indicate the approval or denial of the Contractor's proposed QC Plan amendment.

Mix Design Requirements.  The Contractor shall provide the concrete, cement aggregate mixture II, and controlled low-strength material mix designs to the Engineer, a minimum of 45 calendar days prior to production.  The mix design shall meet all the criteria specified by the Standard Specifications.  More than one mix design may be submitted for each class or use.  The Department's "Manual of Instructions for Design of Concrete Mixtures", the design method for cement aggregate mixture II according to Article 312.31 of the Standard Specifications, or other methods may be used to provide a mix design.

The Contractor may request to use a concrete, cement aggregate mixture II, or controlled low-strength material mix design previously verified by the Engineer.  The Engineer will review the mix design from the Department's historical test data for verification.

The Contractor may request to use a new concrete or cement aggregate mixture II mix design.  The Contractor shall provide the following:  the source of all materials; the gradation of fine and coarse aggregates; the absolute volumes, specific gravities, unit weights, water/cement ratio, mortar factor, and any other values used in the mix design process; the type and proposed dosage of admixtures; and the target slump, air content and strength for the new mix design.  The new mix design will be evaluated for verification from test information provided by the Contractor, testing performed by the Department, and other criteria determined by the Engineer.  The Contractor will be notified in writing upon verification of the new mix design by the Engineer.

The Contractor may request to use a new controlled low-strength material mix design.  The required mix design information, evaluation, and verification shall be according to the controlled low-strength material specification.

Verification of a concrete, cement aggregate mixture II, or controlled low-strength material mix design shall in no manner be construed as acceptance of any mixture produced.  The Engineer shall be notified in writing of any proposed changes, subsequent to verification of a mix design.

Tests performed at the jobsite will determine if a concrete, cement aggregate mixture II, or controlled low-strength material mix design can meet specifications.  The Contractor shall make adjustments to a mix design, or submit a new mix design if necessary, to comply with the specifications.

For any concrete mix design method selected, a new mix design will be required if the mortar factor changes + 0.05 or more from its original value.  For the Department's concrete mix design procedure, a new mix design will also be required when the mortar factor exceeds the specified limits.  The mortar factor limits are specified in the "Portland Cement Concrete Level II Technician Course" manual.

(a)  Concrete Strength Test Data.  If the Contractor requests to use a new concrete mix design, strength test data shall be provided to the Engineer.  Except for pavement patching, strength test data shall be one of the following:

(1)  The average compressive strength of the new concrete mix design shall be equal to or greater than the minimum mix design compressive strength plus two times the standard deviation.  The average compressive strength and the standard deviation shall be determined from recent plant production. A minimum of 30 individual compressive strength test results are required. Testing shall be performed according to Illinois Modified AASHTO T 22, T 23, and T 141.  The minimum mix design compressive strength shall be determined according to Article 1020.04 of the Standard Specifications.  The value may be reduced 5% for mix designs containing fly ash or ground granulated blast - furnace slag, but is not applicable for blended cements.

(2)  The average compressive strength of the new concrete mix design shall be equal to or greater than the minimum mix design compressive strength plus 9,000 kPa (1,305 psi).  The average compressive strength shall be determined from a trial mixture.  The trial mixture shall be scheduled a minimum of 30 calendar days prior to anticipated use, and shall be performed in the presence of the Engineer.  For the trial mixture, the slump shall be within 15 mm (1/2 inch) and the air content within 1.0 percent of the mix design target values.  Strength shall be determined at 3, 7, 14, and 28 days.  Strength shall be determined as the average of a minimum of 3 cylinder breaks.  Testing shall be performed according to Illinois Modified AASHTO T 22, T 23, T 119, T 141, and T 152 or T 196.  The minimum mix design compressive strength shall be determined according to Article 1020.04 of the Standard Specifications.  The value may be reduced 5% for mix designs containing fly ash or ground granulated blast-furnace slag, but is not applicable for blended cements.

For pavement patching, the average compressive or flexural strength of the new mix design shall be greater than the minimum strength required to open the pavement to traffic.  The average strength shall be determined from a trial mixture.  The trial mixture shall be scheduled a minimum of 7 calendar days prior to anticipated use, and shall be performed in the presence of the Engineer.  For the trial mixture, the slump shall be within 15 mm (1/2 inch) and the air content with 1.0 percent of the mix design target values.  Strength shall be determined at the specified age.  Strength shall be determined as the average of a minimum of 6 cylinder or beam breaks.  Testing shall be performed according to Illinois Modified AASHTO T 22 or T 177, T 23, T 119, T 141, and T 152 or T 196.

(b)  Concrete Durability Test Data.  If the Contractor requests to use a new concrete mix design, durability test data may be required by the Engineer.  Durability test data may be necessary because of a new material source, the gradation of aggregates, the proposed proportioning of materials, the proposed mortar factor, or other criteria determined by the Engineer.  Durability tests shall be performed by an independent laboratory regularly inspected by the Cement and Concrete Reference Laboratory (CCRL) of the National Institute of Standards and Technology (NIST).  Durability test data shall consist of the following:

(1)  The new concrete mix design shall be tested according to AASHTO T 161, Procedure A or B.  The new concrete mix design shall have a relative dynamic modulus of elasticity which is 80 percent of the initial modulus, after 300 cycles.

(2)  The new concrete mix design shall be tested according to Illinois Modified ASTM C 672.

(c)  Cement Aggregate Mixture II Test Data.  If the Contractor requests to use a new cement aggregate mixture II mix design, durability test data shall be provided to the Engineer.  The durability test shall be performed by an independent laboratory regularly inspected by CCRL of NIST.  The new cement aggregate mixture II mix design shall be tested according to AASHTO T 161, Procedure A or B.  The new cement aggregate mixture II mix design shall have a relative dynamic modulus of elasticity which is 80 percent of the initial modulus, after 100 cycles.

Quality Control by Contractor.  The Contractor shall perform quality control inspection, sampling, testing, and documentation to meet contract requirements.  Quality control includes the recognition of obvious defects and their immediate correction.  Quality control also includes appropriate action when passing test results are near specification limits.  Quality control may require increased testing, communication of test results to the plant or the jobsite, modification of operations, suspension of mixture production, rejection of material, or other actions as appropriate.  The Engineer shall be immediately notified of any failing tests and subsequent remedial action.  Passing tests shall be reported no later than the start of the next work day.

(a)  Personnel Requirements.  The Contractor shall provide a Quality Control (QC) Manager who will have overall responsibility and authority for quality control.

The Contractor shall provide sufficient personnel to perform the required inspections, sampling, testing, and documentation in a timely manner.

A Level I PCC Technician shall be provided at the jobsite during mixture production and placement, and may supervise concurrent pours on the project.  For concurrent pours, a minimum of one Concrete Tester shall be required at each pour location.  If the Level I PCC Technician is at one of the pour locations, a Concrete Tester is still required at the same location.  Each Concrete Tester shall be able to contact the Level I PCC Technician by cellular phone, two-way radio or other methods approoved by the Engineer.  A single Level I PCC Technician shall not supervise concurrent pours for multiple contracts.

A Level II PCC Technician shall be provided at the plant, or shall be available, during mixture production and placement.  A Level II PCC Technician may supervise a maximum of three plants.  Whenever the Level II PCC Technician is not at the plant during mixture production and placement, a Concrete Tester shall be present at the plant.  The Concrete Tester, plant personnel, and jobsite personnel shall also have the ability to contact the Level II PCC Technician by cellular phone, two-way radio, or other methods approved by the Engineer.

For a mixture which is produced and placed with a mobile portland cement concrete plant as defined in Article 1103.04 of the Standard Specifications, a Level II PCC Technician shall be provided.  The Level II PCC Technician shall be present at all times during mixture production and placement.

A Concrete Tester, Mixture Aggregate Technician, and Aggregate Technician may provide assistance with sampling and testing.  A Gradation Technician may provide assistance with testing.  A Concrete Tester shall be supervised by a Level I or Level II PCC Technician.  A Gradation Technician shall be supervised by a Level II PCC Technician, Mixture Aggregate Technician, or Aggregate Technician.  The Contractor shall refer to the Department's "Qualifications and Duties of Concrete Quality Control Personnel" document.

(b)  Required Plant Tests.  Sampling and testing shall be performed at the plant, or at a location approved by the Engineer, to control the production of a mixture.  The required minimum Contractor plant sampling and testing is indicated in Schedule A.

(c)  Required Field Tests.  Sampling and testing shall be performed at the jobsite to control the production of a mixture, and to comply with specifications for placement.  For standard curing, after initial curing, and for strength testing; the location shall be approved by the Engineer.  The required minimum Contractor jobsite sampling and testing is indicated in Schedule B.

Quality Assurance by Engineer.  The Engineer will perform quality assurance tests on split samples.  A split sample is one of two equal portions of a field sample.  The Engineer may request the Contractor to obtain a split sample.  Aggregate split samples shall be retained until permission is given by the Engineer for disposal.  The Engineer may also independently obtain samples for quality assurance testing.  The results of all quality assurance tests will be made available to the Contractor as soon as they are completed. The Engineer's quality assurance split sample testing is indicated in Schedule C.

(a)  Comparing Test Results.  Differences between the Engineer's and the Contractor's split sample test results will not be considered extreme if within the following limits:

Test Parameter	Acceptable Limits of Precision

Slump	20 mm  (0.75 inch)

Air Content	0.9 percent

Compressive Strength	6200 kPa (900 psi)

Flexural Strength 	620 kPa (90 psi)

Aggregate Gradation	See "Guideline for Sample

Comparison" in Appendix "A" of

the Manual of Test Procedures

for Materials.

(b)  Resolution of Test Results. If the Engineer’s or the Contractor’s split sample test result is not within specification limits, immediate retests on a split sample shall be performed for slump, air content, or an aggregate gradation.  Passing retest results will require no further action.  If the Engineer’s or Contractor’s slump, air content, or aggregate gradation retest results fail; or if the Engineer’s or Contractor’s strength test results fail; the following actions shall be initiated:

(1)	The Engineer and the Contractor shall investigate the sampling method, test procedure, equipment condition, equipment calibration, and other factors.

(2)	The Engineer or the Contractor shall replace test equipment, as necessary.

(3)	The Engineer and the Contractor shall perform additional testing on split samples, as necessary.

(4)	If the failing test result is not resolved according to (1), (2), or (3), referee testing may be necessary.

If the result of a quality assurance test on a sample independently obtained by the Engineer is not within specification limits, the Engineer and the Contractor shall investigate.  The investigation shall be according to (1), (2), (3) and (4).

If a continued trend of difference exists between the Engineer’s and the Contractor’s split sample test results, or if split sample test results exceed the acceptable limits of precision, the Engineer and the Contractor shall investigate.  The investigation shall be according to (1), (2) and (3).

Referee Testing.  Referee testing for air content and strength may be necessary for unresolved failing test results.  Referee testing may be requested by the Contractor or the Engineer to verify acceptability of the concrete, cement aggregate mixture II, or controlled low-strength material.  Referee testing may be performed by the Department or by a mutually agreed upon laboratory, at the Contractor's option.  The laboratory shall be inspected by CCRL of NIST.  Sampling and testing shall be performed according to the following procedures:

(a)  Air Content.  ASTM C 457 shall be performed on 100 mm (4 inch) diameter cores or portions of test specimens taken from the area in question.  Coring shall be according to AASHTO T 24.

(b)  Strength Testing.  Unresolved test results for flexural specimens shall require further testing according to AASHTO T 140.  The testing agency shall identify and retain the broken segments for a minimum of 3 days from the date of Contractor notification of test results.  The specified strength will be compared to the average of those segments tested for determining acceptance.

Unresolved test results for compression specimens or failing test results for AASHTO T 140 shall require coring and testing according to AASHTO T 24.  The cores shall be 100 mm (4 inches) in diameter, and a minimum of 3 cores shall be obtained from the area in question.  A minimum average strength of 85 percent of the specified strength, and no individual test less than 75 percent of the specified strength, will be required for acceptance.

All core holes shall be filled with an approved non-shrink grout.

Acceptance by the Engineer.  Final acceptance will be based on the Standard Specifications and the following:

(a)  The Contractor's compliance with all contract documents for quality control.

(b)	Validation of Contractor quality control test results by comparison with the Engineer’s quality assurance test results using split samples.

(c)   Comparison of the Engineer’s quality assurance test results with specification limits using samples independently obtained by the Engineer.

(d)  Referee test results for unresolved failing tests obtained by the Contractor or Engineer.

The Engineer may suspend mixture production, reject materials, or take other appropriate action if the Contractor does not control the quality of concrete, cement aggregate mixture II, or controlled low-strength material for acceptance.  The decision will be determined according to (a), (b), (c), and (d).

Documentation.

(a)  Records.  The Contractor shall be responsible for documenting all observations, inspections, adjustments to the mix design, test results, retest results, and corrective actions in a bound hardback field book, bound hardback diary, or appropriate Department form, which shall become the property of the Department. The documentation shall include a method to compare the Engineer’s test results with the Contractor’s results.  The Contractor shall be responsible for the maintenance of all permanent records whether obtained by the Contractor, the consultants, subcontractors, or the producer of the mixture.  The Contractor shall provide the Engineer full access to all documentation throughout the progress of the work.

The Department's form MI 504 M, form MI 654, and form MI 655 shall be completed by the Contractor, and shall be submitted to the Engineer weekly or as required by the Engineer.  Form MI 504 M, form MI 654, and form MI 655 are required to authorize payment by the Engineer, for applicable pay items.

(b)  Delivery Truck Ticket.  For a mixture which is not mixed on the jobsite, a delivery ticket  shall be required for each load.

The following information shall be recorded on each delivery ticket:  ticket number, name of producer, contract number, name of Contractor, date, time batched, truck number, quantity batched, and Department mix design number.

The following information shall be recorded on each delivery ticket or in a bound hardback field book:  initial/final revolution counter reading, at the jobsite, if the mixture is truck-mixed; time discharged at the jobsite; total amount of each admixture in batch; total amount of water added at the jobsite; and total amount of water in batch.

Method of Measurement.  QC/QA will be measured for payment in cubic meters (cubic yards) for the items indicated on the plans.  If an item is not shown in the schedule on the plans the QC/QA will be included in the cost of the item.

Basis of Payment.  QC/QA will be paid for at the contract unit price per cubic meter (cubic yard) for QC/QA CONCRETE.

SCHEDULE A

CONTRACTOR PLANT SAMPLING AND TESTING

IL MODIFIED AASHTO,

IL MODIFIED ASTM,

OR DEPARTMENT

ITEM		TEST		FREQUENCY 	  TEST METHOD  (a)

Aggregates	Gradation (b)	As needed to	T 2, T 11, T 27

(Arriving at	check source	and T 248

Plant)

Aggregates	Gradation (b)	1,900 m³ (c)	T 2, T 11, T 27

(Stored at Plant	(2,500 yd.³)	and T 248

in Stockpiles

or Bins)

Aggregates	Moisture (d):

(Stored at Plant	Fine Aggregate	Once per week	Flask, Dunagan,

in Stockpiles		for moisture	Pychnometer Jar,

or Bins)		sensor, otherwise	or T 255

daily

Coarse Aggregate	As needed to	Dunagan, Pychnometer Jar,

control production	or T 255

Mixture (e)	Slump	As needed 	T 141 and T 119

Air Content	to control 	T 141, and T 152 or T 196

Unit Weight/ Yield	production	T 141 and T 121

Temperature		T 141 and ASTM C 1064

Notes:	(a)	Refer to the Department’s “Manual of Test Procedures for Materials”.

(b)	The first test and every third test thereafter shall be washed.  Testing shall be

completed no later than 24 hours after the aggregate has been sampled.

(c)	One per week minimum.  One per day minimum if pouring bridge deck.

(d)	If the moisture test and moisture sensor disagree by more than 0.5%, retest.

If the difference remains, adjust the moisture sensor to an average of two

or more moisture tests, using the Dunagan or Illinois Modified AASHTO T 255

test method.

The Department's "Water/Cement Ratio Worksheet" form shall be completed 	when applicable.

(e)	The Contractor may also perform strength testing according to Illinois Modified 	AASHTO T 141, T 23, and T 22 or T 177; or water content testing according to 	Illinois Modified AASHTO TP23; or other tests at the plant to control mixture 	production.

A-1

SCHEDULE B

CONTRACTOR JOBSITE SAMPLING & TESTING (a)

| ITEM | MEASURED | RANDOM SAMPLE | ILLINOIS MODIFIED |
| --- | --- | --- | --- |
|  | PROPERTY | TESTING FREQUENCY PER MIX DESIGN | AASHTO TEST METHOD |
|  |  | AND PER PLANT (b) |  |
|  |  | 1 per 400 m³ | T 141, |
| PAVEMENT, | SLUMP | (500 cu. yd.) or | and |
| SHOULDER, | (c) (d) | Minimum 1/Day | T 119 |
| BASE COURSE, |  | 1 per 80 m³ | T 141, |
| WIDENING, | AIR CONTENT | (100 cu. yd.) or | and |
| BRIDGE APPROACH | (c) (e) (f) | Minimum 1/Day | T 152 or T 196 |
| PAVEMENT, | COMPRESSIVE |  |  |
| DRIVEWAY PAVEMENT, | STRENGTH (g) (h) | 1 per 1000 m³ | T 141, T 22 , and T 23, |
| RAILROAD CROSSING, | or | (1250 cu. yd.) or |  |
| CEMENT AGGREGATE | FLEXURAL | Minimum 1/Day | or |
| MIXTURE II. | STRENGTH (g) (h) |  |  |
|  |  |  | T 141, T 177, and T 23 |
|  |  | 1 per 40 m³ | T 141, |
| BRIDGE DECK (i), | SLUMP | (50 cu. yd.) or | and |
| BRIDGE DECK OVERLAY (i), | (c) (d) | Minimum 1/Day | T 119 |
| SUPERSTRUCTURE, |  | 1 per 40 m³ | T 141, |
| SUBSTRUCTURE, | AIR CONTENT | (50 cu. yd.) or | and |
| CULVERT, | (c) (e) (f) | Minimum 1/Day | T 152 or T 196 |
| MISCELLANEOUS |  |  |  |
| DRAINAGE STRUCTURES, |  |  | T 141, T 22 , and T 23, |
| RETAINING WALL, | COMPRESSIVE |  |  |
| BUILDING WALL, | STRENGTH (g) (h) | 1 per 200 m³ | or |
| FOOTING, | or | (250 cu. yd.) or | T 141, T 177, and T 23 |
| LIGHT FOUNDATION, | FLEXURAL | Minimum 1/Day |  |
| TRAFFIC FOUNDATION, | STRENGTH (g) (h) |  |  |
| PAVEMENT PATCHING, |  |  |  |
| STRUCTURAL REPAIRS. |  |  |  |

B-1

SCHEDULE B -(continued)

|  |  |  | ILLINOIS MODIFIED |
| --- | --- | --- | --- |
| ITEM | MEASURED PROPERTY | RANDOM SAMPLE TESTING FREQUENCY PER MIX DESIGN AND PER PLANT (b) | AASHTO OR ILLINOIS MODIFIED |
|  |  |  | ASTM TEST METHOD |
|  | COMPRESSIVE |  |  |
|  | STRENGTH (g) (h) | 1 per 200 m³ | T 141, T 22, |
| CAISSON, | or | (250 cu. yd.) | and T 23, |
| CAST-IN-PLACE PILE, | FLEXURAL | or | or |
| SEAL COAT (j) | STRENGTH (g) (h) | Minimum 1/Day | T 141, T 177, |
|  |  |  | and T 23 |
|  |  | 1 per 80 m³ | T 141, |
|  | SLUMP | (100 cu. yd.) or | and |
| CURB, | (c) (d) | Minimum 1/Day | T 119 |
| GUTTER, |  | 1 per 40 m³ | T 141, |
| MEDIAN, | AIR CONTENT | (50 cu. yd.) or | and |
| BARRIER, | (c) (e) (f) | Minimum 1/Day | T 152 or T 196 |
| SIDEWALK, |  |  |  |
| SLOPE WALL, PAVED DITCH, | COMPRESSIVE STRENGTH (g) (h) | 1 per 300 m³ (400 cu. yd.) | T 141, T 22, and T 23, |
| MISCELLANEOUS ITEMS, | or | or | or |
| INCIDENTAL ITEMS. | FLEXURAL | Minimum 1/Day | T 141, T 177, |
|  | STRENGTH (g) (h) |  | and T 23 |
| ALL | TEMPERATURE | As Needed To | T 141, and |
|  | (c) | Control Production | ASTM C 1064 |
|  |  |  | TEST |
| CONTROLLED | AIR CONTENT | As Needed To | ACCORDING TO |
| LOW-STRENGTH | FLOW | Control Production | CLSM |
| MATERIAL (CLSM) | 28 DAY STRENGTH |  | SPECIFICATION |

NOTES:

(a)	Sampling and testing of small quantities of curb, gutter, median, barrier, sidewalk, slope wall, paved ditch, miscellaneous items, and incidental items may be waived by the Engineer if requested by the Contractor.  However, quality control personnel are still required according to “Quality Control by Contractor, (a) Personnel Requirements.”  The Contractor shall also provide recent evidence that similar material has been found to be satisfactory under normal sampling and testing procedures.  The total quantity that may be waived for testing shall not exceed 76 m³ (100 cu. yd.) per contract.

B-2

SCHEDULE B - (continued)

(b)	If one mix design is being used for several construction items during a day's production, one testing frequency may be selected to include all items. The construction items shall have the same slump, air content, and water/cement ratio specifications. The frequency selected shall equal or exceed the testing required for the construction item.

One sufficiently sized sample shall be taken to perform the required test(s).  Random numbers shall be determined according to the Department's "Method for Obtaining Random Samples for Concrete".  The Engineer may observe the selection of a random number.

(c)	The temperature, slump, and air content tests will be required on the first truck load  delivered, for each pour.  Unless a random sample is required for the first truck load, testing the first truck load does not satisfy random sampling requirements.

(d)	The slump random sample testing frequency shall be a minimum 1/day for a construction item which is slipformed.

(e)	If a pump or conveyor is used for placement, a correction factor shall be established to allow for a loss of air content during transport.  The first four truck loads delivered shall be tested, before and after transport by the pump or conveyor, to establish the correction factor.  Once the correction is determined, it shall be re-established after an additional 40 m3 (50 cu. yd.) is pumped, or an additional 80 m3 (100 cu. yd.) is conveyored.  This shall continue throughout the pour.  A minimum of two truck loads is required to re-establish the correction factor.  The correction factor shall also be re-established when significant changes in temperature, distance, pump or conveyor arrangement, and other factors have occurred.  If the correction factor is 3.0 percent or more, the Contractor shall take corrective action to reduce the loss of air content during transport by the pump or conveyor.  The Contractor shall record the corrected air content.

(f)	If the Contractor's or Engineer's air content test result is within the specification limits, and 0.2 percent or closer to either limit, the next truck load delivered shall be tested by the Contractor.  If the Contractor's or Engineer's air content or slump test result is not within the specification limits, all subsequent truck loads delivered shall be tested by the Contractor until the problem is corrected.

(g)	The test of record for strength shall be the day indicated in the Standard Specifications.  Additional strength testing to determine when to remove forms, when to open pavement to traffic, or to monitor strengths is at the discretion of the Contractor.  Strength shall be defined as the average of at least two cylinder or two beam breaks for field tests.

(h)	In addition to the strength test, an air test, slump test, and temperature test shall be performed on the same sample.

(i)	The air content test will be required for each delivered truck load.

(j)	For seal coat, the slump test shall be performed as needed to control production.

B-3

SCHEDULE C

ENGINEER QUALITY ASSURANCE SPLIT SAMPLE TESTING

| LOCATION | MEASURED PROPERTY | TESTING FREQUENCY (a) |
| --- | --- | --- |
| Plant | Gradation for Aggregates Stored in Stockpiles or Bins (b) | At the beginning of the project, the first test performed by the Contractor. Thereafter, a minimum of 10 % of total tests required of Contractor will be performed per aggregate gradation number and per plant. |
| Jobsite | Slump (c) and Air Content (c) (d) | At the beginning of the project, the first three tests performed by the Contractor. Thereafter, a minimum of 10 % of total tests required of Contractor will be performed per mix design and per plant. |
|  | Strength (c) | At the beginning of the project, the first test performed by the Contractor. Thereafter, a minimum of 10 % of total tests required of Contractor will be performed per mix design and per plant. |

(a)	The Engineer will perform the testing throughout the period of quality control testing by the Contractor.

(b)	The Engineer will witness, a minimum of one a month, the split sample obtained by the Contractor.

(c)	The Engineer will witness the split sample obtained by the Contractor.

(d)	Before transport by pump or conveyor, a minimum of 10% of total tests required of the Contractor will be performed per mix design and per plant.  After transport by pump or conveyor, a minimum of 10% of total tests required of the Contractor will be performed per mix design and per plant.

C-1

SCHEDULE D

ILLINOIS DEPARTMENT OF TRANSPORTATION

CONCRETE QC/QA DOCUMENTS

1.	Model Quality Control Plan for Concrete Production (*)

2.	Qualifications and Duties of Concrete Quality Control Personnel (*).

3.	Development of Gradation Bands on Incoming Aggregate at Mix Plants (*).

4.	Required Sampling and Testing Equipment for Concrete (*)

5.	Calibration of Concrete Testing Equipment (*)

6.	Method for Obtaining Random Samples for Concrete (*)

7.	Water/Cement Ratio Worksheet (*)

8.	Field/Lab Gradations (Form MI 504M)

9.	Concrete Air, Slump and Quantity (Form MI 654)

10.	P.C. Concrete Strengths (Form MI 655)

11.	Manual of Instructions for Design of Concrete Mixtures

12.	Aggregate Technician Course Workbook

13.	Portland Cement Concrete Tester Course Manual

14.	Portland Cement Concrete Level I Technician Course Manual

15.	Portland Cement Concrete Level II Technician Course Manual

16.	Manual of Test Procedures for Materials

* Refer to the Manual of Test Procedures for Materials

D-1