# CAHOKIA SYMBOL PRECAST CONCRETE PANELS

Effective:  Unknown					Revised:  December 12, 2007

This work shall consist of furnishing, delivering to a designated site and unloading the Cahokia symbol Precast Concrete Panels, including all reinforcement and concrete anchors, as shown on the plans.  The mold for the Cahokia Symbol Precast Concrete Panel is stored at the Mitchell Maintenance Yard.  When work is complete, the mold will be returned to the maintenance yard.

All materials and construction shall be in accordance with the applicable portion of Section 504 of the Standard Specifications.  The procedure to be used in construction of the incised pattern of the Cahokia symbol in the panels and the layout of the symbol shall be subject to approval by the Engineer.  Casting shall not commence until approval by the Engineer has been obtained.

The Contractor shall be required to load and transport the panels to the project site, unload and place the panels as shown on the plans and as herein specified.  The Contractor shall exercise care in transporting and handling these panels so as not to damage the ties, crack or damage the concrete, or stain or otherwise mar the finish.  The Contractor also shall assume full responsibility for the panels until the panels are delivered to the project site or maintenance yard and any damage to them caused by the Contractor’s negligence shall be repaired or the panel replaced, as necessary, at the Contractor’s expense.

The panels shall be set in place in the masonry mortar during placement of stone masonry facing or set in the forms and cast with the concrete abutment walls, as applicable.

No separate payment will be made for loading, transporting, unloading and placing Cahokia Symbol Precast Concrete Panels.  The cost of this work shall be included in the price bid for CONCRETE STRUCTURES.