# CHAIN LINK FENCE (SPECIAL)

Revised:  November 1, 2006

This work shall consist of constructing chain link fence as shown on the plans, according to Section 664 of the Standard Specifications, as specified herein, and as directed by the Engineer, except that protective electrical grounds will not be required.

The fence fabric shall be vinyl coated in accordance with Article 1006.27(a)(1)d of the Standard Specifications.

All posts, braces, and accessories shall be vinyl coated to meet the same material requirements as the coating for the fabric.

This work will be paid for at the contract unit price per foot (meter) for CHAIN LINK FENCE (SPECIAL) of the height specified.