DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED MAY 30, 2023

WIRE: SINGLE CONDUCTOR NO. 12 COPPER WITH CROSS LINKED POLYETHYLENE INSULATION

SUBJECT

- This specification states the requirements for insulated wire intended for use as a conductor to connect street light luminaires to aerial distribution wires or underground distribution cables in a street lighting circuit. This wire is also known as pole wire. The wire shall be UL classified as Type USE-2.

### GENERAL

- (a)	Specifications. The cable shall conform in detail to the requirements herein stated and to the latest referenced specifications of the following organizations:

American Society for Testing and Materials (ASTM) Insulated Cable Engineers Association (ICEA) National Electric Code (NEC)

National Electrical Manufacturers Association (NEMA) Underwriters Laboratories (UL)

  - Acceptance. Cable not conforming to this specification will not be accepted.

  - Sample. If requested by the Chief Procurement Officer, a three (3) foot sample of the cable intended to be provided under this specification, shall be submitted to the Engineer of Electricity within fifteen (15) business days after receipt of the request.

  - Warranty. The contractor shall warrant the cable to be first class material throughout. The contractor will be responsible for any cable failing during normal and proper use within one (1) year after the date of acceptance by the City. The contractor shall provide material replacement of any failed cable. There shall be no cost to the City. All replacements must be made free of charge F.O.B. delivery point of original contract.

### CABLE

- (a)	Construction. The cable shall consist of an uncoated copper conductor concentrically encased in a moisture resistant thermosetting plastic of cross linked polyethylene (XLPE). The cable shall be listed with UL as Type RHW-2 or Type USE-2, and shall meet the NEC’s requirements for this type of cable up to 90º C in wet or dry locations. The cable shall meet the requirements of UL44 and UL83 for thermosetting cable.

  - Color. Cable shall black, or another available color, as per order.

  - Marking. The cable shall be identified by a permanently inscribed legend in white lettering. The legend shall have the following information at a minimum: 1/C #12AWG, 600V, RHW-2 or USE-2, and manufacturer’s name. The legend shall be repeated at approximately eighteen inch (18”) intervals parallel to the longitudinal axis of the cable.

  - Overall cable diameter shall be approximately 0.19 inches.

### CONDUCTOR

- (a)	Material. Conductor shall be Number 12 AWG consisting of seven (7) strands of uncoated hard drawn copper wires per ASTM-B1.

  - Stranding. Wire stranding shall be in accordance with ASTM B-8.

### INSULATION

- (a)	Type. The insulation shall be a cross linked polyethylene (XLPE) meeting the physical and electrical requirements herein specified and the requirements of NEMA WC-70 (ICEA S-95-658).

  - Thickness. The insulation shall be circular in cross section and have an average thickness of 45 mils.

### PACKING

- (a)	Sealing. Both ends of each length of cable must be thoroughly sealed to prevent the entrance of moisture and other foreign matter.

  - The cable must be delivered in coils containing five hundred (500) feet each. Each coil must be packed in individual dispenser cartons. Each carton must be labeled, identifying the cable type and size, manufacturer, and date of manufacture.

DIVISION OF ELECTRICAL OPERATIONS DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED MARCH 11, 2022

BASE: BALLAST HOUSING, NO. 7 U.S. STANDARD GAUGE STEEL

SUBJECT

- This specification states the requirements for ballast housing base assemblies to be installed on concrete foundations and to serve as bases for anchor base type steel poles with mast arm attached street light luminaires.

### GENERAL REQUIREMENTS

- (a) Specifications. The base assemblies shall conform in detail to the requirements herein stated and to the specifications of the American Society for Testing and Materials, of which the latest published revisions will govern.

  - Acceptance. Base assemblies not conforming to this specification will not be accepted.

  - Drawings. The drawing mentioned herein is a drawing of the Department of Transportation. It is an integral part of this specification cooperating to state necessary requirements.

  - Shop Drawing. One complete set of shop drawings of the base assembly intended to be furnished must be submitted within fifteen (15) days upon request of the Chief Procurement Officer.

  - Sample. One completely assembled base of the manufacture intended to be furnished must be submitted upon request of the Chief Procurement Officer within fifteen (15) days after receipt of the request.

### DETAIL REQUIREMENTS

- (a)	Drawing. The base assembly must conform in detail to the design and dimensions shown on Drawing No. 785, dated March 25, 1977.

  - Material. The steel used in the fabrication of the base assemblies must conform to ASTM A606 Type 4 for the sides and door and to ASTM A871 Grade 65 for the top, bottom and anchor plates.

  - Thickness. The sides and door must be No. 7 U.S. Standard Gauge; the top, bottom and Anchor Plates must be 3/4 inch plate.

  - Door. The door must be drilled top and bottom for, and furnished with, four

(4) 1/4-20NCX3/4" button head stainless steel tamper resistant bolts for fastening top and bottom of door to base as shown on drawing No. 785. Ten

(10) wrenches or drivers to fit the door bolts must be furnished with each fifty (50) base housings.

  - Hardware. The bolts, nuts, lock washers and anchor plates must conform to the drawing. Four (4) galvanized hex head machine bolts, four (4) galvanized hex nuts, four (4) galvanized lock washers, and two (2) 3/4" thick steel anchor plates must be furnished with each base assembly. The anchor plates must be shipped bolted to the top of the ballast housing assembly using the hardware enumerated above.

  - Welding. Every welded joint shall be made in conformity with the proper interpretation of the standard welding symbols of the American Welding Society as indicated on the drawings. Each bidder must submit with his proposal a drawing showing the sizes and types of welds, the type of electrode and the welding methods he proposes to use in fabricating the base assembly.

  - Sandblasting. The door and ballast housing shall be thoroughly sand blasted to remove all scale, oil or slag prior to painting.

  - Dating. The top of the ballast housing base must be stamped or engraved with the year of manufacture in numerals not less than 1/2" in height.

  - Painting. A coat of oil-based rust-inhibiting paint shall be applied on the inside weld of the base. The complete base assembly, inside and outside, is to be given a coat of iron oxide zinc chromate primer meeting the requirements of SSPC-Paint 25.

### TESTING

- (a)	Chemical Composition. Certified reports from the steel manufacturer must be furnished to the City upon request of the Chief Procurement Officer.

  - Test Specimens. Shall conform to the requirements of ASTM Specifications A871 Grade 65 and A606 Type 4.

  - Strength Tests. One test specimen of the metal in each order of 50 base assemblies or less shall be tested for tensile strength and elongation, in accordance with ASTM Standards.

  - Welding Tests. One percent (1%) of the longitudinal and circumferential welds of the base assembly shall be inspected for penetration and soundness of the welds by the magnetic particle inspection method or by radiography. If the magnetic inspection process is used, the dry method with direct current shall be employed. All transverse welds must be magnetized by the "prod" (circular magnetization) method. Longitudinal welds may be magnetized by either circular or longitudinal magnetization.

  - Certificate. One certified copy of the test data sheet must be furnished to the City before delivery of the bases.

### PACKING

- When packed for transportation and delivery as per paragraph 3(e), the base assemblies must be thoroughly blocked or otherwise protected to prevent damage to painted surfaces.

ELECTRICAL SPECIFICATION 1385 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED AUGUST 12, 2013

PEDESTAL WITH BASE: ALUMINUM, FOR TRAFFIC SIGNALS

SUBJECT

- The specification states the requirements of an aluminum pedestal and base with handhole and door for supporting a traffic signal.

### GENERAL

- (a)  Specifications. The pedestal base shall conform to the requirements herein stated, to the specifications and methods of test of the American Society for Testing and Materials (ASTM), to the requirements of the Society of Protective Coatings (SSPC), and to the requirements of the American Welding Society (AWS), of which the most recently published revisions will govern.

  - Acceptance. Pedestal bases not conforming to this specification will not be accepted.

  - Drawing. The drawing mentioned herein is a drawing of the Department of Transportation. It is an integral part of this specification cooperating to state the necessary requirements.

  - Workmanship. All pedestal bases must be free of casting flaws and must have neat, smooth exterior surfaces. All holes must be accurately located and drilled. The bottom surface of the base must be ground smooth.

  - Sample. One complete pedestal of the manufacture intended to be furnished must be submitted within fifteen (15) business days upon receipt of a request from the Chief Procurement Officer.

  - Warranty. The manufacturer shall warrant the performance and construction of the traffic pedestal to meet the requirements of this specification and shall warrant all parts, components, and appurtenances against defects due to design, workmanship, or material developing within a period of five years after the traffic pedestals have been delivered. This will be interpreted particularly to mean structural or mechanical failure of any element or weld,

or failure of any portion of the painting system. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made and the Commissioner’s decision will be final.

### DETAIL REQUIREMENTS

- (a)  Design. The pedestal base must conform to the design shown on Drawing Number 526. All bases must be of the same dimensions, and all doors must be interchangeable.

  - Base. The base must be cast of aluminum alloy 319 meeting the requirements of ASTM B26 with a minimum wall thickness of 9/32”. The handhole opening must have a recessed lip along the entire length of both sides and the bottom such that with the door in place the exterior surface of the door is flush with the exterior surface of the base. The door must have the same curvature as the base. The door must be locked in place by means of two fingers located on its top edge which bear against the inside surface of the base, and a stainless-steel Allen head locking screw which fastens to the base. The locking screw must be protected by a C-shaped drip edge protruding approximately 5/8" and concentrically encircling the screw head. The clearance between the inner surface of the drip edge and the outer surface of the screw head must be no greater than 1/8”. The drip edge must encircle the screw head by a minimum of 300 with the opening in the drip edge centered at the bottom of the screw head. A continuous pipe stop must be integrally cast along the inside of the base 2.5” below the top edge.

  - Pedestal. The pedestal must be aluminum-alloy extruded round tube conforming to the requirements of ASTM B221, alloy 6063-T6. Its outside diameter must be 5.563”; its wall thickness must be not less than 0.187”, and its length must be as required to furnish the overall height specified in the order. The round tube must be inserted not less than two and one-half inches (2.5”) into the base and welded with four (4) butt welds each not less than one (1) inch long on the inside and a continuous seam weld around the outside. Aluminum alloy pipe in lieu of aluminum alloy tube is acceptable.

  - The pedestal cap must be of the same cast aluminum as the base. The pedestal cap shall be essentially conical with a globe-shaped upper-end and having a minimum wall thickness throughout of not less than 1/4 inch. The cone portion must meet the skirted portion of the top in a smooth filet. The skirt must enclose the top 7/8" inches of the pedestal. Three stainless steel, or other similar approved material, set screws not less than 3/4 inches long must be equally spaced in tapped holes around the skirt and must hold the cap securely in place atop the pedestal. The set screw size must be 5/16 – 18 hex head.

  - Welding. The welds shall be made by the inert gas metal welding process. Filler wire shall conform to chemical composition requirements of AWS Alloy Number A5.10-69.

### PAINTING

- (a)	Oil and Grease Removal. All metal surfaces shall be washed with an alkaline detergent to remove any oils or grease.

  - Chemical Pretreatment. The cleaned metal surfaces must then be treated with a hot, pressurized phosphate wash and must be dried by convection heat.

  - Coat. A thermosetting, weathering, polyester powder coat shall be applied electrostatically to all cleaned and treated exterior surfaces to a uniform four mil (4) thickness in a one coat application. This powder coat must be cured in a convection oven at a minimum temperature of 400º Fahrenheit to form a high molecular weight fusion bonded finish.

  - Alternate Methods. Alternate powder coat methods may be reviewed and tested on a case-by-case basis. However, no coating method will be accepted unless the Commissioner judges such alternate to be equal to the coating herein specified.

  - Durability. The coating shall be capable of passing 1,000 hours of salt spray exposure as per ASTM B117 in a 5% NaCl (by weight) solution at 95º Fahrenheit and 95% relative humidity without blistering. Before testing, the test panel must be scribed with an “X” down to bare metal.

  - Coating Measurement. Measurement of coating thickness shall be done in accordance with SSPC-PA 2-73T, “Measurement of Dry Paint Thickness with Magnetic Gauges”, except that the lowest single spot measurement in an area of two (2) square inches must not be less than 3 mils.

  - Color. Color shall be gloss black unless identified otherwise in the order. A color sample must be submitted for approval prior to fabrication. This color sample must include the manufacturer’s name and the manufacturer’s color name.

### PACKING

- Each pedestal shall be individually wrapped to prevent damage to the surface. Each pedestal shall be suitably packed or blocked to prevent damage during shipment and handling.

ELECTRICAL SPECIFICATION 1407 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED APRIL 2, 2009

POLE MOUNTED CAST ALUMINUM JUNCTION BOX FOR TRAFFIC SIGNALS

SCOPE

- This specification states the requirements for pole mounted, cast aluminum junction boxes, with terminal strips, to be used for traffic signal multiple cable terminations.

### GENERAL

- (a) Specifications. The junction boxes shall conform in detail to the requirements herein stated, and to the specifications and methods of test of the American Society for Testing and Materials cited by ASTM Designation Number, of which the most recently published revisions will govern. The terminal strip shall meet the applicable sections of NEMA ICS 4-2005, as well as the requirements herein stated.

  - Drawing. The drawing mentioned herein is a drawing of the Department of Transportation and will be interpreted as part of these specifications.

  - Acceptance. Junction boxes not conforming to this specification will not be accepted.

  - Sample. One complete junction box with terminal strip of the manufacture intended to be furnished shall be submitted within fifteen (15) business days after receipt of a request from the Chief Procurement Officer. The box must be delivered to the Division of Electrical Operations at 2451 South Ashland.

  - Workmanship. All junction boxes shall be free of casting flaws and must have neat, smooth exterior surfaces. All holes must be accurately located and drilled to ensure interchangeability of all components.

### DESIGN

- (a)	Drawing. The junction box must conform in detail to the dimensions and requirements shown on Drawing Number 954.

  - Material.	The body door and plate must be castings of non-heat treated

aluminum silicon alloy conforming to ANSI alloy 443.0 of ASTM B26.

### DETAIL REQUIREMENTS

- (a)  Assembly. Each junction box shall consist of the body, door with its gasket, two cast elbows with gaskets at either end of the box, terminal block mounting bracket, and terminal strip on channel mounted to bracket. All must be completely assembled, painted and ready for installation. A flat plate with gasket shall also be provided so that the City can use the junction box with only one elbow if desired.

  - Body. The body shall be cast as shown in Drawing Number 954. The top and bottom sides of the box where flat plates, or other fittings, will be attached, must be identically cast, machined flat, and drilled and tapped in accordance with dimensions shown. All fittings which fit on the top side must fit on the bottom side.

  - Door. The door shall be cast as shown in Drawing Number 954. The door must be hinged at the left with stainless steel hinge pins and must open not less than 180º to permit complete access to the interior of the junction box. Two stainless steel Allen head machine screws, undercut and held captive, shall hold the door closed and maintain positive pressure against a sponge neoprene gasket cemented in place completely around the door jamb. The door shall be finished and painted prior to cementing the gasket into its groove in the door.

  - Elbow sweep. Two elbows must be provided for cable entry and exit into the box. The elbows shall be cast of the same alloy as the box. The dimensions will be as indicated on Standard Drawing 954.

  - End Plate. A flat end plate shall be furnished with each body casting. The plate must be drilled to align with tapped holes in the body casting and have a flush match with the periphery of the top and bottom body casting pads. The plate must have a properly fitted gasket.

  - Gaskets. The gasketing between the body and the door shall be of sponge neoprene and must be cemented in place after painting of the door. A cork gasket, 1/8 inch thick, shall be used between the elbow or end plate and the body of the junction box on the top end and bottom end and held in place by four (4) stainless steel screws.

  - Mounting Bracket. A terminal block mounting bracket, as shown on Drawing Number 954, shall be furnished and installed in each junction box. The bracket must be cast from ANSI alloy 443.0 per ASTM B26.

  - Terminal Strip. The terminal strip will consist of modular blocks. Each block

Electrical Specification 1407

Page3

will consist of two terminals to handle one circuit. The strip will consist of twenty blocks to handle twenty circuits. The terminal strip will be mounted to an aluminum channel. The channel will have pre-punched holes for mounting to the junction box. The channel will be mounted to the box with two #10 screws.

Each block housing shall be constructed of nylon, polypropylene, or another approved material of equal properties. The bottom of the block housing will be dovetailed to fit into the aluminum channel. Overall dimensions of each block will be approximately 1.2 inches wide by 1.5 inches high. Center-to- center spacing between contacts (blocks) must be at least .375 inches.

The terminals shall accommodate AWG wire sizes 8 to 22. The contact type will be tubular clamp, with electroplated tubular copper contact. The screw type will be a steel electroplated number 10-32, slotted pan head. The terminals will be rated at 30 amps and 600 volts.

Maximum service temperature for the terminal strip will be 150° Celsius. The flammability rating must meet UL 94V-0.

  - Hardware. The hinge pins and all screws required for assembly of this junction box must be of stainless steel.

  - Painting. The exterior surfaces of the junction box shall be properly cleaned and given one (1) coat of zinc chromate primer containing ten percent (10%) iron oxide and one (1) coat of enamel. The color of the enamel must be gloss black or as ordered. A color sample must be submitted and approved before manufacturing commences. The primer and enamel shall be of an approved grade and quality.

  - Packing. After the paint is completely dry, and the junction boxes have been assembled, they shall be suitably packed to prevent damage to painted surfaces during shipping and handling. All shipments must be fastened to, and shipped on, 48" x 48" hardwood, 4 way, non-returnable pallets. Total height must not exceed 64" and total weight must not exceed 2,000 pounds.

ELECTRICAL SPECIFICATION 1428 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO SEPTEMBER 11, 1989

THERMAL MAGNETIC CIRCUIT BREAKER

SUBJECT

- This specification covers the requirements for thermal-magnetic circuit breakers capable of providing complete over-current protection for street lighting branch-load and service circuits.

### GENERAL REQUIREMENTS

- (a) Sample. One complete circuit breaker of each type and size, and of the manufacture intended to be furnished must be submitted upon request of the Chief Procurement Officer within fifteen (15) business days after receipt of such request. The sample(s) shall be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - U.L. Approval. Circuit breakers furnished under this specification shall be listed and approved by Underwriter's Laboratories, Inc.

  - Applicable Specifications. Where reference is made to applicable requirements of Underwriter's Laboratories, Inc., Bulletin #489, entitled "Standard for Branch Circuit and Service Circuit Breakers," hereinafter cited as the U.L. Standards, the most recently published revision will govern.

  - Assembly. Each circuit breaker must have the thermal-magnetic trip installed, calibrated and sealed within its insulated housing.

  - Instructions. Complete installation instructions, details on wiring, and information on operation shall be furnished with each circuit breaker, except as otherwise indicated.

  - Packing. Each circuit breaker shall be packed in a suitable manner so that it will not be damaged in shipping or handling.

### TYPES AND SIZES

- (a)  EHD Frame Circuit Breakers. For use on A-C Systems with a 100-ampere frame; minimum interrupting rating of 18,000 R.M.S. symmetrical amperes at 240 volts A.C.

- Single pole, 240 or 480 volts A.C., ampere rating from 15 to

100.

- Double pole, 240 or 480 volts A.C., ampere rating from 15 to

100.

- FDB Frame Circuit Breakers. For use on A-C Systems with a 150 ampere frame; minimum interrupting capacity of 18,000 R.M.S. symmetrical amperes at 240 volts A-C.

  - Double pole, 240, 480 or 600 volts A-C, ampere rating from

15 to 150.

  - Triple pole, 240, 480 or 600 volts A-C, ampere rating from

15 to 150.

- JDB Frame Circuit Breakers. For use on A-C Systems with a 250 ampere frame; minimum interrupting current of 65,000 R.M.S. symmetrical amperes at 240 volts A-C.

  - Double pole, 240, 480 or 600 volts A-C, ampere ratings from 70 to

250.

  - Triple pole, 240, 480 or 600 volts A-C, ampere ratings from

70 to 250.

### DESIGN AND CONSTRUCTION

- Circuit breakers furnished under this specification must include the following design and construction features: (1) molded insulated housing,

(2) thermal-magnetic trip mechanism, (3) silver alloy contacts, (4) corrosion-resistant internal parts, (5) trip-free, indicating handle, and (6) pressure-type terminals.

Electrical Specification 1428

Page 3

### DETAIL REQUIREMENTS

- (a)	Thermal-Magnetic Trip Mechanism. The breaker must be activated on current overload by means of a thermal-magnetic trip mechanism. This mechanism must be non-adjustable, non-interchangeable, and factory calibrated and sealed. Instantaneous tripping as controlled by the magnetic trip setting, and time delay tripping accomplished by thermal action must be in accordance with the manufacturer's published characteristic curves for these breakers or with calibration requirements of the U. L. Standards, as applicable.

  - Contact Mechanism. The contacts must be spring loaded and provide a quick-make, quick-break non-teasing action. The contact mechanism must be such that the breaker will trip open even if the handle is held or locked in the ON position.

  - Calibration. Rating and performance of these breakers must be based on calibration at an ambient temperature of 40o C. (104oF.).

  - Rated Current. Each breaker must be capable of carrying 100% rated current continuously in its calibrated ambient temperature without tripping and without exceeding the temperature limits specified in the U. L. Standards.

  - Contacts. The contacts must be made of a non-welding silver alloy or equivalent, subject to approval.

  - Internal Parts. All internal parts of these circuit breakers shall be corrosion resistant material.

  - Terminals. Solderless, pressure type terminals of copper construction must be provided for both line and load connections.

  - Handle Indication. The handle must indicate clearly whether the circuit breaker is on the ON, OFF, or TRIPPED position.

  - Mounting. Breakers furnished under this specification must have drilled and counterbored holes for front mounting which must conform to spacings shown on Department of Transportation Drawings numbered 883, 884, 886, and 887.

  - Test Requirements. These breakers must be capable of meeting the following sequence of test requirements as specified in the U. L. Standards.

    - Endurance test.

    - Calibration test at 200% and 125% of rated current.

    - Short circuit tests

    - Calibration test at 500% rated current.

    - Dielectric strength test.

### WARRANTY

- Circuit breakers furnished under this specification shall be warranted by the manufacturer against defects in materials or workmanship for a period of one year after installation. During this period, should a failure occur, repair or replacement must be made without cost to the City.

ELECTRICAL SPECIFICATION 1447 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JANUARY 22, 2020

POLE: ANCHOR BASE, 3 AND 7 GAUGE, TAPERED TUBULAR STEEL, WITH HANDHOLE ENTRY

SUBJECT

- This specification states the requirements for tapered, tubular, 3 gauge and 7 gauge steel anchor base poles with mast arm supports. They will support street light luminaires and/or traffic signal mast arms and will be served by underground cables.

### GENERAL

- (a)  Specifications. The poles shall conform in detail to the requirements herein stated, and to the requirements of the following organizations cited herein, of which the most recent revisions shall govern:

American Association of State Highway and Transportation Officials (AASTHO)

American National Standards Institute (ANSI) American Society for Testing and Materials (ASTM) American Welding Society (AWS)

Society for Protective Coatings (SSPC)

  - Acceptance. Poles not conforming to this specification will not be accepted.

  - Bidders Drawings. Bidders shall submit with their bids detailed scale drawings of the mast showing actual dimensions, details, and welds. Shop drawings must be original engineering drawings created by the manufacturer. The drawings must show every dimension necessary to show how all parts will fit each other and be properly held in assembly. These drawings must also be submitted in electronic format, preferably MicroStation, if requested by the City.

  - Drawings. The drawings mentioned herein are drawings of the Department of Transportation being an integral part of this specification cooperating to state necessary requirements.

  - Sample.	If requested by the Chief Procurement Officer, one completely

assembled anchor-base pole of the manufacture intended to be furnished, must be submitted for review within fifteen (15) business days of receiving the request.

  - Warranty. The manufacturer shall warrant the performance and construction of the light poles to meet the requirements of this Specification and must warrant all parts, components, and appurtenances against defects due to design, workmanship, or material developing within a period of five years after the light poles have been delivered. This will be interpreted particularly to mean structural or mechanical failure of any element or weld, or failure of any portion of the painting system. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made and the Commissioner’s decision will be final.

### STANDARDS

- (a)  Assembly. Each anchor base pole shall consist of a steel mast with handhole entry, entry door with machine screws, grounding nut, mast base plate, top cap for mast, two (2) mast arm supports, bolt covers, and all necessary hardware required for complete assembly of these parts, ready for assembly, without special tools.

  - Interchangeability. Members of each pole type shall be mutually interchangeable for assembly, so that no reworking will be required to make any member fit properly in the place of any other similar member of any other similar pole.

  - Design. Each pole type shall conform in design and dimensions to the pertinent drawing(s) listed in Table "A".

### MASTS

- (a)	Mast Size. The outside diameters of the mast of each pole type shall be as listed in Table A. The mast must be tapered at 0.14 inches per foot.

  - Material. The mast must be fabricated from one length of No. 3, No. 7, or No. 11 Standard gauge steel meeting the material requirements of ASTM A606 for low alloy high strength coil steel, which, after fabrication, must possess an ultimate tensile strength of not less than 70,000 psi and a yield strength of not less than 60,000 psi, in accordance with ASTM A595, Grade

C. Chemistry of the steel must be such as to insure resistance to atmospheric corrosion superior to that of ordinary copper bearing steel. Material certification is required. Manufacturer's steel meeting the specified physical and chemical requirements, and approved by the Commissioner, will be accepted.

  - Fabrication. The mast must be fabricated with not more than one (1) longitudinal weld. The weld shall be ground smooth so that it is virtually invisible. There shall be no lateral welds in the masts other than where the masts are welded to the steel bases. Each mast must be straight and centered on its longitudinal axis. Each mast must be formed on a mandrel and worked to form a round cross-section. The completed, unpainted masts shall have smooth external surfaces free from protuberances, dents, cracks or other imperfections marring their appearance.

  - Base. The mast base shall be a steel plate, of low alloy, high strength steel as noted in Par. 4 (b).

Plate Base. The base plate for each pole type shall be as listed in Table "A". It must be fabricated from the same ASTM A606 low alloy, high strength steel as is used for the mast. After fabrication the steel must meet the requirements of ASTM A588. The mast must be inserted into the base to a maximum depth which will still allow for an adequate weld to be made between the bottom of the mast and the plate. A circumferential weld must be made between the mast and the base at both the top and underside of the plate. Non-metallic removable bolt covers which completely cover the anchor bolts and nuts shall be provided. The covers must be attached with stainless steel screws coated with a non-seizing compound, or another type of non-seizing fastener, as approved by the Commissioner. The covers shall enclose the anchor bolts and be secured in an approved manner. The base shall be attached to the mast so that the bearing surface of the base is at right angles to the longitudinal axis of the mast. The vertical center line of the seam must be positioned so that no welds for the simplex attachments or the handhole opening will go through the seam.

Anchor Rod Openings. All anchor rod openings for each pole type shall have a width as listed in Table "A". Each opening must be sized to have a circumferential slot length equal to 15˚ of the circumference.

  - Mast Arm Support Plates. The mast arm support plates will be made of cast steel conforming to the requirements for Grade 65-35 cast steel of ASTM A27, or equivalent, subject to approval. They shall neatly fit the external surface of the mast. The upper mast arm support plate must have a hollow protuberance, the hole of which must be approximately equivalent to two (2) inches in diameter, extending into the interior of the pole providing a smooth surface for the lamp cables to rest upon. The mast arm support plates shall be designed so that they will carry the mast arm and hold it in the proper position for fastening the mast arm to the mast. The design of the mast arm support plates must be a two (2) bolt type as shown on Drawing No. 659.

  - Provision for Ground. A 1/2-13 UNC (unified thread – course ANSI B1.1) square nut must be welded to the inside of the mast on the handhole entry frame for a ground connection.

  - Entry. A vertical doorframe carrying a removable door providing access to the interior of the mast must be welded into a close fitting opening centered approximately 15 inches above the bottom of the base. The doorframe must be formed and welded of steel with a cross section of two and one-quarter (2- 1/4) inches wide by one-quarter (1/4) inch thick to adequately reinforce the opening of the mast. The internal horizontal clearance of the doorframe must be four and three-quarter (4-3/4) inches; its internal vertical clearance must be seven (7) inches. Its upper and lower ends must be semi-circular meeting its straight sides tangentially. The radius of this opening must be two and three- eighths (2-3/8) inches. The vertical center line of the entry must be at a right angle clockwise from the vertical center line of the mast arm supports. The frame must have two welded tabs; one at the top and one at the bottom of the door frame. These tabs must be drilled and tapped to accept a 1/4-20 UNC screw. The top hole must be located 13/16 of an inch from the top of the opening. The bottom hole must be located 13/16 of an inch from the bottom of the opening. The 1/4-20 UNC machine screws must be stainless steel with hex heads, meeting the requirements of ASTM A193. The screws shall be treated with a compound to prevent seizing. Other non-seizing types of screws and fasteners may be considered. An alternate method of attachment consisting of a removable hinge on the bottom with a screw connection at the top may be considered. (The above requirements apply to all pole masts except those with a 10 inch bolt circle. Poles with 10 inch bolt circles must have handhole openings of 3" by 5". All other requirements apply.)

  - Door. The removable door must be formed of sheet steel approximately one- eight (1/8) inch thick. It shall be flat or dished depending upon the pole type, and fit the doorframe closely so that it will stay in proper position even if its locking screws are slightly loosened. The door must be drilled top and bottom to accept the 1/4-20 UNC hex head machine screws which will fasten the door to the doorframe. A half-circle piece of steel must be welded by the screw opening, to allow only a socket wrench to be used. All doors shall be interchangeable. An alternate method of attachment using an internal hinge at the bottom of the door with a screw at the top of the door will be considered. Any alternate method will be subject to approval by the Commissioner or his duly authorized representative.

  - Locking Device. Any other door locking device, other than the one outlined above in (g) and (h), must be approved by the Commissioner or his duly authorized representative.

  - Tag. To each pole must be attached immediately below the handhole, by

mechanical means and not by adhesive, a stainless steel tag with a stamped or embossed legend which must include the pole outside diameter at the base, the overall length, and the gauge; i.e., 12.5" X 34'-6" X 3 gauge.

  - Structural Requirements. The mast shall be manufactured in accordance with AASTHO’s 1994 version of the “Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals”. The shaft and base assembly must be designed to meet AASTHO’s 1994 criteria for 80 MPH wind loading with a 30% gust factor. The poles shall be designed appropriately for Chicago applications for both street lighting and traffic signal applications, including signal mast arms.

### TOP

- (a)  Design. The mast top shall be essentially conical with a globe-shaped upper-end and having a minimum wall thickness throughout of not less than 1/4 inch. The cone portion must meet the skirted portion of the top in a smooth filet, the skirt must enclose the top 7/8" inches of the mast. Three stainless steel, or other similar approved material, set screws not less than 3/4 inches long must be equally spaced in tapped holes around the skirt and must hold the top securely in place atop the mast. The design of the top shall be similar to the one shown on Drawing #11420A.

  - Material. The top must be aluminum alloy 356-F per ASTM B108. It shall have smooth surfaces, neat edges and corners and be free from fins, holes or other casting flaws. Non-metallic tops may be substituted if approved by the Commissioner.

  - Finish. Tops shall be painted as herein specified.

### HARDWARE

- All the hardware necessary to complete the assembly of the pole shall be furnished. All hardware will be as specified elsewhere in these specifications. Hardware not specified elsewhere must be stainless steel meeting the requirements of ASTM A193, or equal corrosion-resistant non-seizing metal, or a non-metallic material subject to approval by the Commissioner.

### WELDING

- (a) General. Every welded joint shall be made in conformity with the proper interpretation of the standard welding symbols of the American Welding Society as indicated on the drawings; however, each bidder must submit with his proposal a drawing showing the sizes and types of welds, must state the type of electrode, and must describe the welding methods, he proposes to use in fabricating the pole.

  - Testing. Welds shall be inspected for penetration and soundness of the welds by the magnetic particle inspection method or by radiography. Acceptance or rejection will be governed by the same conditions as in Section 9. If the magnetic inspection process is to be used, the dry method with the direct current must be employed. All transverse welds must be magnetized by the "prod" (Circular magnetization) method. Longitudinal welds may be magnetized by either circular or longitudinal magnetization.

### PAINTING

- (a)	Oil and Grease Removal. All metal surfaces shall be washed with an alkaline detergent to remove any oils or grease.

  - Metal Cleaning. All exterior metal surfaces shall be cleaned by blasting with a combination of shot and grit to remove all dirt, mill scale, rust, corrosion, oxides and foreign matter and provide a "near white" surface in accordance with SSPC-SP10. Included in this process will be the interior base section of the mast to a minimum height of twelve (12) inches.

  - Chemical Pretreatment. The cleaned metal surfaces shall then be treated with a hot, pressurized iron phosphate wash and shall be dried by convection heat.

  - Primer Coat. All exterior surfaces are to be coated with corrosion-inhibiting zinc-rich aromatic urethane conforming to SSPC Paint 20, Type II. Dry film thickness shall be a minimum of 2.5 mils (.0025”). The aromatic urethane shall consist of a zinc dust content not less than 83% by weight in dried film. The coating shall be airless-spray applied and moisture cured.

  - Finish Coat. All exterior surfaces are to be subsequently coated with aliphatic acrylic polyurethane paint, conforming to SSPC-36, to a minimum dry film thickness of 3.0 mils (.003”). The coating shall be airless-spray applied and cured in a gas-fired convection oven by heating the steel substrate to between 150° Fahrenheit and 220° Fahrenheit.

  - Interior Coat. Interior surfaces are to be coated with red oxide rust inhibitive alkyd primer to a dry film thickness of 1.5 mils.

  - Durability. Both the exterior and interior coats must be capable of passing 1,000 hours of salt spray exposure as per ASTM B117 in a 5% NaCl (by weight) solution at 95oF and 95% relative humidity without blistering. Before testing, the panel must be scribed with an "X" down to bare metal.

  - Coating Measurement. Measurement of coating thickness must be done in accordance with SSPC-Pa 2-73T, "Measurement of Dry Paint Thickness with Magnetic Gauges," except that the lowest "single spot measurement" in an

area of two square inches must be not less than 5.5 mils.

  - Color. Color must be gloss black unless otherwise noted in the order. A color sample must be submitted for approval prior to fabrication.

  - Alternate Methods. Alternate painting methods may be reviewed and tested on a case by case basis. However, no coating method will be accepted unless the Commissioner judges such alternate to be equal to the coating herein specified.

### MAST TEST

- (a) General. All completed masts shall be available for testing for maximum deflection and set. The masts shall meet the structural requirements of Section 4(k). Unless specifically authorized in writing, all tests shall be made at the works of the manufacturer. A record of every test must be made and a certified copy of the test record must be submitted to the Commissioner before the masts are shipped.

  - Lot. Tests for welds, deflection and set of the mast and of the mast arm supports shall be made upon three (3) masts of the first fifty (50) in every order. An additional one (1) mast shall be tested for each additional fifty (50) masts in the order. The selection of masts for testing shall be random from the entire completed lot. If any of the masts in any lot fail to meet the test, an additional three (3) masts of the same lot must be tested. If any of these masts fail to meet the test requirements, the entire lot will be subject to rejection, except that the manufacturer may subject each mast in the lot to the test, and those which fulfill the requirement will be accepted. After testing, each base weld must be inspected by the magnetic particle method to determine that the welds have not been affected.

  - Mast Requirements. With base rigidly anchored, a test load as indicated in Table A must be applied at a point approximately two feet (2'0") from the free end. The load must be applied at right angles to the center line of the mast and in the same vertical plane. The deflection must not be greater than that indicated in Table A. Within one (1) minute after the test load is released, measurement must be made of the set taken by the mast. This set must not be greater than that indicated in Table A. The deflection measurement device must be reset to zero and the test load must be reapplied. The deflection must not change from the deflection noted in the first test by more than ±5%. No measurable set must be noted within one (1) minute after test load is released.

  - Mast Arm Support (simplex) Requirements. With an appropriate mast arm firmly attached to the mast, a test load of 300 pounds must be applied to the mast arm as a side pull at a point seven (7) feet from the mast. After the test,

the mast arm support welds on the mast must be tested by the magnetic particle method to determine that they have not been affected.

### PACKAGING

- (a)  General. The poles must be shipped in twelve (12) pole bundles. Each pole must be individually wrapped so that the pole can be bundled for shipping and unbundled for delivery to the City without damaging the pole or its finish.

  - Bundles. The bundles shall consist of twelve (12) poles laid base to top to form an approximately rectangular cylinder. Materials such as lumber (2" x 4" min.), non-marring banding, and other appropriate bundling materials must be used to make a rigid, long lasting, bundle capable of being handled, shipped and stored without shifting of contents or breaking, subject to approval. Any bundles, in which either poles or packaging is received broken, damaged or with contents shifted, will not be accepted and it will be the responsibility of the supplier to return the bundle to its original destination at no cost to the City of Chicago. The bundles should be capable of being stacked two (2) high without breaking or shifting of the contents. Each bundle must be capable of being lifted by a forklift truck or crane and the bundles must be shipped on a flat bed truck to facilitate unloading. Each pole wrapping must be clearly labeled indicating the pole size, i.e. 34'6", 7 GAUGE, STEEL POLE, 15" B.C.

  - Hardware. The bolt covers and their attachment devices must be shipped with each bundle and packaged in twelve (12) sets of four (4) each. The package must be labeled and placed in a prominent position to facilitate accessibility, and must be attached to, or within, the bundle in such a manner as to assure safe delivery. Payment will be withheld for any bundle delivered without the accompanying hardware. Pole caps must be attached at the manufacturer's facilities or be packed separately in a manner similar to the bolt covers, and the same payment conditions will prevail. Cracked, broken or chipped parts will be considered as an incomplete delivery as regards payment.

TABLE A

| POLE | GAUGE | BOLT CIRCLE | ANCHOR ROD | BASE P L A T E | TEST L O A D | M A X. D E F | M A X. S E T | D R A W ING |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7.67"x12.5"x 34'6" | 3 | 16.5" | 1.5" | 1.75" | 3200# | 22" | 2.5" | 827 |
| 6.17"x11"x 34'6" | 3 | 17.25" | 1.25" | 1.5" | 2500# | 26" | 2.5" | 824 |
| 5.17"x10.0"x 34'6" | 3 | 15.0" | 1.25" | 1.5" | 2000# | 30" | 2.5" | 808 |
| 5.17"x10.0"x 34'6" | 7 | 15.0" | 1.25" | 1.5" | 1500# | 30" | 2.5" | 808 |
| 3.95"x8.5"x3 2'6" | 3 | 11.5" | 1.25" | 1.5" | 1500# | 33" | 2.5" | 763 |
| 3.95"x8.5"x3 2'6" | 7 | 11.5" | 1.0" | 1.25" | 1200# | 33" | 2.5" | 762 |
| 3.87"x8.0"x2 9'6" | 3 | 10.0" | 1.0" | 1.5" | 1500# | 28" | 1.0" | 657 |
| 3.87"x8.0"x2 9'6" | 7 | 10.0" | 1.0" | 1.25" | 1200# | 28" | 1.0" | 656 |
| 4.15"x8.0"x2 7'6" | 3 | 10.0" | 1.0" | 1.5" | 1500# | 23" | 1.0" | 655 |
| 4.15"x8.0"x2 7'6" | 7 | 10.0" | 1.0" | 1.25 | 1200# | 23" | 1.0" | 654 |
| 4.20"x7.0"x2 0'0" | 3 | 10.0" | 1.0" | 1.0" | 1500# | 13" | 1.0" | 653 |
| 3.70"x6.5"x2 0'0" | 11 | 10.0" | 1.0" | 1.0" | 800# | 14" | 1.0" | 652 |

ELECTRICAL SPECIFICATION 1450 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED APRIL 20, 2007

MAST ARMS: 4-, 8-, 12-, AND 15-FOOT: STEEL

SUBJECT

- This specification covers the requirements for 4-, 8-, 12-, and 15-foot steel mast arms for supporting street light luminaires.

### GENERAL

- (a) Specifications. The mast arms shall conform in detail to the requirements herein stated, and to the requirements of the following organizations cited herein, of which the most recently published revision will govern:

American National Standards Institute (ANSI) American Society for Testing and Materials (ASTM) American Welding Society (AWS)

Society for Protective Coatings (SSPC)

  - Acceptance. Mast arms not conforming to this specification will not be accepted.

  - Drawings. The drawings mentioned herein are drawings of the Department of Transportation. They are integral parts of this specification cooperating to state necessary requirements.

  - Bidders Drawings. Bidders shall submit with their bids detailed scale drawings of the mast arms and attachments showing actual dimensions, details, and welds. Shop drawings must be original engineering drawings created by the manufacturer. The drawings must give every dimension necessary to show how the parts will fit each other and be properly held in assembly. These drawings shall be submitted in electronic format, preferably Microstation 95, if so requested by the City.

  - Sample. One complete mast arm of each size and of the manufacture intended to be furnished must be submitted within fifteen (15) business days upon request of the Chief Procurement Officer.

Specification 1450

Page 2

  - Warranty. The manufacturer shall warrant the performance and construction of the mast arms to meet the requirements of this specification and must warrant all parts, components, and appurtenances against defects due to design, workmanship, or material developing within a period of five years after the mast arms have been delivered. This will be interpreted particularly to mean structural or mechanical failure of any element or weld, or failure of any portion of the painting system. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made and the Commissioner’s decision will be final.

### DESIGN

- (a) 4-Foot Mast Arm. Each 4-foot mast arm must be fabricated from a continuous, single piece, two (2) inch "extra strong" steel pipe conforming to the requirements of ASTM A53, Table X2. It must conform in detail with the mast arm shown on Drawing Number 661.

  - 8-Foot Mast Arm. Each 8-foot mast arm must be fabricated from a continuous, single piece, two (2) inch "extra strong" steel pipe conforming to the requirements of ASTM A53, Table X2. It must conform in detail with the mast arm shown on Drawing Number 620.

  - 12-Foot Mast Arm. Each 12-foot mast arm must be fabricated from two (2) continuous, single piece, two (2) inch "standard" steel pipes conforming to the requirements of ASTM A53, Table X2. It must conform in detail with the mast arm shown on Drawing Number 839.

  - 15-Foot Mast Arm. Each 15-foot mast arm must be fabricated from two (2) continuous, single piece, two (2) inch "standard" steel pipes conforming to the requirements of ASTM A53, Table X2. It must conform in detail with the mast arm shown on Drawing Number 840.

  - Mast Arm Attachment. The mast arm attachment to be welded to all mast arms will be a steel forging per ASTM A668, Class D, or cast steel conforming to the requirements for Grade 65-35 cast steel of ASTM A27, or can be fabricated from corrosion resistant steel plate such as "Cor-Ten" or approved equal. It shall be so designed that it may be fitted over the mast arm supports on the pole and be held by the mast arm supports in proper position without other support. The attachment must conform to the details shown on Standard Drawing 724. Provision must be made for fastening the attachment to each mast arm support by two special screws and washers as noted in Section 6.

  - Entryway for Wires.	A drilled opening lined with a neoprene grommet

having inserted therein a neoprene plug must be provided on the underside of the upper member of all arms approximately three (3) inches from the point of attachment. The clear opening must not be less than five-eights (5/8) inch in diameter. Its design must be submitted for approval by the Commissioner or his authorized representative.

  - Mast Arm Members. All mast arm members shall conform with the type of steel required for the arm specified. The members must be continuous lengths of pipe cut to the proper size to fabricate the mast arm lengths requested. No butt welded, swaged and welded or other pieced together configurations of pipe lengths will be accepted. The outer and inner surfaces of the pipes shall be smooth and even without protrusions, nicks, holes or other imperfections.

### PAINTING

- (a)	Oil and Grease Removal. All metal surfaces shall be washed with an alkaline detergent to remove any oils or grease.

  - Metal Cleaning. All exterior metal surfaces shall be cleaned by blasting with a combination of shot and grit to remove all dirt, mill scale, rust, corrosion, oxides and foreign matter and provide a "near white" surface in accordance with SSPC-SP10. Included in this process shall be one to two inches of the interior section of the mast arm.

  - Chemical Pretreatment. The cleaned metal surfaces shall be treated with a hot, pressurized iron phosphate wash and shall be dried by convection heat.

  - Exterior Coat. A Thermosetting, polyester powder coat must be applied electrostatically to all cleaned and treated surfaces to a uniform eight (8) mil thickness in a one coat application. This powder coat must be cured in a convection oven at a minimum temperature of 400oF to form a high molecular weight fusion bonded finish.

  - Alternate Methods. Alternate powder coat methods may be reviewed and tested on a case by case basis. However, no coating method will be accepted unless the Commissioner judges such alternate to be equal to the coating herein specified.

  - Interior Coat. The interior metal surfaces must be powder coated with a thermoplastic hydrocarbon resin containing corrosion inhibitors. The resin shall be formulated for application over untreated metal surfaces. The resin must be applied at a temperature of approximately 200oF to a minimum thickness of three (3) mils. The interior thermoplastic coat must overlap the interior, thermosetting base coat by approximately one (1) inch. Alternate interior coatings may be used subject to prior approval of the Commissioner.

Electrical Specification 1450

Page 4

  - Durability. Both the exterior and interior coats must be capable of passing 1,000 hours of salt spray exposure as per ASTM B117 in a 5% NaC1 solution at 95oF and 95% relative humidity without blistering.

  - Coating Measurement. Measurement of coating thickness must be done in accordance with SSPC-PA 2-73T, "Measurement of Dry Paint Thickness with Magnetic Gauges," except that the lowest "Single spot measurement" in an area of two square inches must be not less than 7.0 mils.

  - Color. Color must be gloss black, unless otherwise specified in the order. A color chip sample must be submitted for approval prior to fabrication.

### WELDING

- (a) Standards. Every weld shall be made in conformity with the proper interpretation of the standard welding symbols of the American Welding Society as indicated on the drawings; however, each bidder must submit with his proposal a drawing showing the sizes and types of welds, must state the type of electrode, and must describe the welding methods he proposes to employ in fabricating the mast arm.

  - Testing. The welds shall be inspected for penetration and soundness by the magnetic particle inspection method or by radiography. If the magnetic inspection process is used, the dry method with direct current must be employed.

### SCREWS

- Two (2) special 1/2" - 13 NC x 1-1/2" long stainless steel cap screws, and two (2) stainless steel flat washers, must be provided for each mast arm attachment.

### MAST ARM TESTS

- (a)  General. Tests must be made upon three (3) of the first fifty (50) arms in any order. An additional one (1) arm must be tested for each additional fifty (50) arms in the order.

  - 4-Foot Mast Arm. The 4-foot mast arm, when securely attached to a suitable and proper supporting structure, must withstand a side pull of not less than three hundred (300) pounds applied at a point three feet six inches (3'-6") from the connection to the supporting structure without failure of welds.

  - 8-Foot Mast Arms. The 8-foot mast arm, when securely attached to a suitable and proper supporting structure, must withstand a side pull of not

less than three hundred (300) pounds applied at a point seven (7) feet from the connection to the supporting structure without failure of the welds.

  - 12-Foot and 15-Foot Mast Arms. The 12-foot mast arm and the 15-foot mast arm, when securely attached to a suitable and proper supporting structure, must withstand a side pull of 300 pounds applied at a point seven (7) feet from the connection to the supporting structure without failure of the welds.

  - Rejection. If any of the mast arms in any lot fail to meet the test, an additional three (3) arms in the same lot must be tested. If any of these mast arms fail to meet the test requirements the entire lot will be subject to rejection, except that the manufacturer may subject each mast arm in the lot to the test, and those which meet the requirements will be accepted.

  - All test results must be certified by the manufacturer. Documentation must be available for the City to approve.

### PACKAGING

- (a) General. The arms shall be shipped in bundles. Each arm must be individually wrapped so that the arm can be bundled for shipping and unbundled for delivery without damage to the arm or its finish. Materials such as lumber (2"x4" min.), non-marring banding, and other appropriate bundling materials must be used to make a rigid, long lasting, bundle capable of being handled , shipped and stored without shifting or breaking of the contents. Any bundles, in which either the mast arms or packaging is received broken, damaged or with contents shifted, will not be accepted and it will be the responsibility of the supplier to return the bundle at no cost to the City. Each bundle must be capable of being lifted by a fork lift truck or crane and the bundles must be shipped in a flat bed truck to facilitate unloading. Each arm wrapping must be clearly labeled indicating the arm size, i.e. “8' STEEL LUMINAIRE MAST ARM”.

  - The hardware must be shipped with each bundle. The package must be labeled and placed in a prominent position to facilitate accessibility, and must be attached to, or within, the bundle in such a manner as to assure safe delivery.

ELECTRICAL SPECIFICATION 1452 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED MARCH 19, 2014

POLE: ANCHOR BASE, ALUMINUM, TAPERED TUBULAR SHAFT

SUBJECT

- This specification states the requirements for tapered, tubular, aluminum anchor base poles. They will support street light luminaires mounted on either truss type arms or davit style arms. The poles will be served by underground cables.

### GENERAL

- (a)	Specifications. The poles shall conform in detail to the requirements herein stated, and to the requirements of the following organizations as cited herein:

Aluminum Association (AA)

American Association of State Highway and Transportation Officials (AASTHO)

American National Standards Institute (ANSI) American Society for Testing and Materials (ASTM) American Welding Society (AWS)

Society for Protective Coatings (SSPC)

  - Acceptance. Poles not conforming to this specification will not be accepted. The Commissioner will be the sole judge in determining if the poles meet this specification.

  - Bidders Drawings. Bidders must submit with their bids detailed scale drawings of the mast showing actual dimensions, details, and welds. Shop drawings must be original engineering drawings created by the manufacturer. The drawings must show every dimension necessary to show how all parts will fit each other and be properly held in assembly. These drawings must also be submitted in electronic format, in the latest version of either MicroStation or AutoCAD, if so requested by the City.

  - Standard Drawings. The drawings mentioned herein are drawings of the Department of Transportation being an integral part of this specification cooperating to state necessary requirements.

  - Sample. If requested by the Chief Procurement Officer, one completely assembled anchor-base pole of the manufacture intended to be furnished, must be submitted for review by the Commissioner within fifteen (15) business days after receipt of notice.

  - Warranty. The manufacturer shall warrant the performance and construction of the light poles to meet the requirements of this specification and shall warrant all parts, components, and appurtenances against defects due to design, workmanship, or material developing within a period of five years after the light poles have been delivered. This will be interpreted particularly to mean structural or mechanical failure of any element or weld, or any faults in the anodized surfaces. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made. The Commissioner’s decision will be final.

### STANDARDS

- (a) Assembly. Each anchor base pole shall consist of an aluminum mast with handhole entry, aluminum hinged entry door, grounding nut, mast base plate, top cap for non-davit masts, bolt covers, and all necessary hardware required for complete assembly of these parts, ready for assembly, without special tools.

  - Interchangeability. Members of each pole type must be mutually interchangeable for assembly, so that no reworking will be required to make any member fit properly in the place of any other similar member of any other similar pole.

  - Design. Each pole type must conform in design and dimensions to the pertinent drawing(s) listed in Table A.

### MASTS

- (a)	Mast Size. The outside diameters of the mast of each pole type shall be as listed in Table A. The mast taper will be approximately 0.14 inches per foot.

  - Material. The shaft must be fabricated from one length of 6063-T4 wrought aluminum alloy meeting the requirements of ASTM B221. After all welding operations are completed, the mast must be brought to a T6 temper having minimum physical characteristics of ASTM B221. The wall thickness of the shaft and the diameter of the shaft shall be as listed in Table A and as shown on the appropriate standard drawing. Material certification shall be provided from the tube manufacturer.

  - Fabrication. The mast must be fabricated with no longitudinal or lateral welds in the tube. The completed masts must have smooth external surfaces free from protuberances, dents, cracks or other imperfections marring their appearance. Each mast must be straight and centered on its longitudinal axis.

  - Base. The mast base must be a permanent mold aluminum casting conforming to the requirements for aluminum alloy 356-T6 of ASTM B-108 or ASTM B-26. The base shall be similar in shape and dimensions to that shown on the appropriate standard drawing for the specific mast. The base shall consist of a collar, flange, and any other members necessary to provide strength and reduce the concentration of anticipated stresses. The shaft must extend into the base as shown on the appropriate standard drawing and be circumferentially welded to the base casting at the top outer surface and the lower inner surface of the base. Bases must be attached to the mast so that the bearing surface of the base is at right angles to the longitudinal axis of the mast.

Non-metallic removable bolt covers which completely cover the anchor bolts and nuts must be provided. The covers must be attached with stainless steel screws or another type of non-seizing fastener, as approved by the Commissioner. The covers must enclose the anchor bolts and be secured in an approved manner.

All anchor rod openings for each pole type must have a width as listed in Table A. Each opening must be sized to have a circumferential slot length equal to 15º of the circumference.

  - Cable Entry for Conventional Poles. An opening of approximately one and one quarter inches (1-1/4") in diameter, rimmed with a rubber or nylon grommet, must be furnished and installed at the point on the shaft where the clamp on the upper member of the mast arm bracket meets the pole. Certain masts may require two cable entries, depending on the order. There will be no extra compensation for the extra cable entry. This cable entry requirement does not apply to pole masts designed for davit style arms. This requirement does apply to conventional poles (Drawings 890 and 938).

  - Option: Side Mount for Luminaire. If requested, the pole mast will be prepared for the mounting of a sidewalk-side luminaire. An opening of approximately one and one-quarter inches (1-1/4”) in diameter, rimmed with a rubber or nylon grommet, must be furnished and installed at the proper height, as indicated on the appropriate standard drawing, or as directed in the order. In addition, two (2) holes must be drilled to accept two (2) rivnuts for mounting a City back plate for a mid-mount luminaire. All three (3) holes must be properly spaced and aligned to accept the City standard back plate for the appropriate mid-mount luminaire. The rivnuts (3/8-16) must be inserted in the pole. The holes must be properly aligned with the handhole as

indicated on the standard drawings.

  - Top of Shaft for Davit Arm. The top one foot of the mast shall be formed as shown on the appropriate standard drawing. An adapter ring may be provided if required. Two sets of holes 9/16 inches in diameter must be drilled through the mast to accommodate two bolts to attach a davit arm. The lower set (two holes) must be in line with the mast arm. The other set must be 90 apart from the other. These requirements apply to pole masts designed for davit style arms.

  - Provision for Ground. A tapped hole must be provided on an extension or offset, centered on the handhole door frame’s interior vertical surface, to accept a 1/2"-13 bolt for a ground connection.

  - Entry. A vertical doorframe for reinforcing a door opening which provides access to the interior of the mast must be welded on the inside of the pole and be centered approximately 18 inches above the bottom of the base. The doorframe must be formed and welded of aluminum alloy 6063-T6 with a cross-section to adequately reinforce the opening of the mast. The doorframe must be as indicated on the appropriate standard drawing. The actual door opening must be sized to perfectly match the door size. For all arterial poles and for all conventional poles, the vertical centerline of the entry must be at a right angle clockwise to the vertical centerline of the mast arm. For the residential davit poles, the vertical centerline of the entry must be in-line with the vertical centerline of the mast arm. An internal flange must be welded to the inside of the pole at the bottom of the door opening. This flange will be drilled to accept a bolt. The bolt will be used to attach a hinged door to the pole. An aluminum tab must be welded to the inside upper portion of the door opening. A hole must be drilled into the tab that will accept a 1/4 inch screw. The hole must be centered horizontally in the door opening and must be centered 3/8 of an inch down from the uppermost portion of the door opening. A steel spring clip must be mounted to the tab. The clip must be made to accept a 1/4"-20 machine screw.

  - Door. The removable door must be formed of the same aluminum as the pole. The door must fit the pole opening within a tolerance of 1/8 of an inch. The door must be flush with the pole surface in the closed position and appear as part of the original mast. The door must be attached to an internal hinge which will allow the door to open out and down. The hinge must be bolted to a flange on the inside of the pole at the bottom of the door opening, so that the door and hinge may be un-bolted and replaced if need be. The door opening must be sized according to the appropriate standard drawing. A hole must be drilled in the top of the door in alignment with the hole on the mast. A 1/4"-20 Allen head button machine screw must be provided to fasten the door to the doorframe. The screw must have a stainless steel core with a nylon threaded body. Other types of non-seizing fasteners may be considered.

All doors of the same size must be interchangeable. The door and attachment method will be subject to approval by the Commissioner or his duly authorized representative.

  - Tag. To each pole must be attached immediately below the handhole, by mechanical means and not by adhesive, a stainless steel tag with a stamped or embossed legend which must include the pole outside diameter at the base, the overall length, and the wall thickness.

  - Structural Requirements. The mast shall be manufactured in accordance with AASTHO’s 1994 version of the “Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals”. The shaft and base assembly must be designed to meet AASTHO’s 1994 criteria for 80 MPH wind loading with a 30% gust factor. The poles shall be designed appropriately for Chicago street lighting applications, including mast arm and luminaires. Thirty - foot davit poles and thirty- foot conventional poles for arterial streets must also allow for banner and flower basket attachments. The pole manufacturer must provide load calculations that verify that the poles are designed properly.

### TOP CAP FOR NON-DAVIT POLES

- The top cap shall be aluminum alloy. It must have smooth surfaces, neat edges and corners and be free from fins, holes, or other casting flaws. Three stainless steel set screws not less than 3/8 inches long must be equally spaced in tapped holes around the skirt to securely hold the top in place.

### VIBRATION DAMPER

- Each pole shaft will have an internal vibration damper, if requested, located at a position as shown on the appropriate standard drawing. The vibration damper must be welded or bolted to the inside of the pole shaft. If the standard drawing does not show a vibration damper none should be provided. The design of the vibration damper is subject to approval by the Commissioner or his representative.

### HARDWARE

- All the hardware necessary to complete the assembly of the pole must be furnished. All hardware will be as specified elsewhere in these specifications. Hardware not specified elsewhere must be stainless steel, or equal corrosion-resistant non-seizing metal, or a non-metallic material subject to approval by the Commissioner.

### WELDING

- (a) General. Every welded joint shall be made in conformity with the proper interpretation of the standard welding symbols of the American Welding Society as indicated on the drawings. Each bidder must submit with his proposal a drawing showing the sizes and types of welds, must state the type of electrode, and must describe the welding methods, he proposes to use in fabricating the pole.

  - Testing. All welds of five percent (5%) of the poles in every lot must be inspected for penetration and soundness of the welds by radiography, or by a penetrant method. Acceptance or rejection will be governed by the same conditions as in the TESTING Section.

  - Certifications. Welders must have proper certification for the welding operations required. Welding by non-certified personnel will not be allowed. Certifications must be available upon request.

### FINISH

- (a)	General. All completed masts shall have a brushed satin natural finish or an anodized finish, as required by the project or in the purchase order.

  - A satin aluminum finish requires that each mast be rotary sand finished. The satin finish shall be accomplished by using 40-50 grit belts to remove taper marks and scratches. A minimum of one pass with a 120 grit belt over the entire shaft is required to provide a uniform appearance.

  - An anodized finish will be either matte black or semi-gloss black. A color sample must be submitted for approval before any factory production. The anodizing process must include cleaning, etching, anodizing, and sealing the mast. The etching process must meet the requirements of AA-C22. The anodizing process must meet the requirements of AA-A42. The contractor must submit his anodizing process for approval before any factory production.

### MAST TEST

- (a) General. All completed masts shall be available for testing for maximum deflection and set. The masts must meet the structural requirements of Section 4(l). Unless specifically authorized in writing, all tests must be made by the manufacturer. A record of every test must be made and a certified copy of the test record must be submitted to the Electrical Section of the Division of Engineering before the masts are shipped.

  - Lot. Tests for deflection of the mast must be made upon five (5%) percent of all the masts in every lot (two (2) min.). The selection of masts for testing must be random from the entire completed lot. If any of the masts in any lot fail to meet the test, an additional three (3%) percent of the masts of the same lot must be tested (two (2) min.). If any of these masts fail to meet the test requirements, the entire lot will be subject to rejection, except that the manufacturer may subject each mast in the lot to the test, and those which fulfill the requirement will be accepted. After testing, each base weld must be inspected by radiography or the penetrant method to determine that the welds have not been affected. After testing, no permanent set should be visible or apparent. The mast should appear straight.

  - Mast Requirements. With base rigidly anchored, a test load of 500 pounds must be applied at a point approximately eighteen inches (18") from the free end. The load must be applied at right angles to the center line of the mast and in the same vertical plane. With no failure of any component part, the deflection must not be greater than 7.5% of the pole height. After removal of the load, the deflection measurement device must be reset to zero and the test load must be reapplied. The deflection must not change from the deflection noted in the first test by more than ±5%.

### PACKAGING

- (a)  General. The poles must be shipped in bundles. Each pole or bundle shall be wrapped so that the poles can be handled and stored without damage to the surfaces.

  - Bundles. The poles in each bundle must be laid base to top to form an approximately rectangular cylinder. Materials such as lumber (2" x 4" min.), non-marring banding, and other appropriate bundling materials must be used to make a rigid, long lasting, bundle capable of being handled, shipped and stored without shifting of contents or breaking. Any bundles, in which either poles or packaging is received broken, damaged or with contents shifted, will not be accepted and it will be the responsibility of the supplier to return the bundle to its original destination at no cost to the City of Chicago. The bundles should be capable of being stacked two (2) high without breaking, or shifting of the contents. Each bundle must be capable of being lifted by a fork lift truck or crane and the bundles must be shipped on a flat bed truck to facilitate unloading.

  - Hardware. The bolt covers and their attachment devices must be shipped with each bundle. The package must be labeled and placed in a prominent position to facilitate accessibility, and must be attached to, or within, the bundle in such a manner as to assure safe delivery. Payment will be withheld for any bundle delivered without the accompanying hardware. Pole caps must be attached at the manufacturer's facilities, or be packed separately in a

manner similar to the bolt covers, and the same payment conditions will prevail. Cracked, broken or chipped parts will be considered as an incomplete delivery as regards payment.

TABLE A

| POLE | T H I C K | BOLT CIRCLE | ANCHOR ROD | BASE P L A T | M A X. D | D R A W I |
| --- | --- | --- | --- | --- | --- | --- |

|  | N E S S |  |  | E | E F L | N G |
| --- | --- | --- | --- | --- | --- | --- |
| 7"x4.5"x12'- 5" | .156" | 10" | 1.0" | 0.75" | 11" | 940 |
| 7"x4.5"x20'- 0" | .156" | 10" | 1.0" | 0.75" | 18" | 890 |
| 8”x4.5”x27’ | .312 | 11.5” | 1.0” | 0.75” | 26” | 975 |
| 10"x6"x24'- 5" | .312" | 15" | 1.25" | 1.25" | 22" | 941 |
| 10"x6"x27'- 10.5" | .312" | 15" | 1.25" | 1.25" | 25" | 938 |
| 10”x6”x29’- 4.625” | .312” | 15” | 1.25” | 1.25” | 27” | 971 |
| 10”x6”x34’- 4.625” | .312” | 15” | 1.25” | 1.25” | 31” | 972 |

ELECTRICAL SPECIFICATION 1453 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED MARCH 14, 2013

MAST ARMS: ALUMINUM, TRUSS TYPE AND DAVIT TYPE

SUBJECT

- This specification covers the requirements for aluminum mast arms for supporting street light luminaires. The aluminum arms will be supported by aluminum light poles.

### GENERAL

- (a) Specifications. The mast arms shall conform in detail to the requirements herein stated and to the requirements of the following organizations as cited herein:

Aluminum Association (AA)

American Association of State Transportation and Highway Officials (AASTHO)

American National Standards Institute (ANSI) American Society for Testing and Materials (ASTM) American Welding Society (AWS)

Society for Protective Coatings (SSPC)

  - Acceptance. Mast arms not conforming to this specification will not be accepted. The Commissioner will be the sole judge in determining if the arms meet this specification.

  - Bidders Drawings. Bidders must submit with their bids detailed scale drawings of the mast arm and bracket attachment proposed to be welded to the mast arm as the means for attaching these mast arms to poles. For davit arms, drawings must show how the davit is attached to the top of the light pole and is secured. The drawings must give every dimension necessary to show how the parts will fit each other and be properly held in assembly. These drawings must also be submitted in electronic format, in the latest version of either Microstation or Autcad, if so requested by the City.

  - Drawings. The drawings mentioned herein are drawings of the Department

of Transportation being an integral part of this specification cooperating to state the necessary requirements.

  - Sample. If requested by the Chief Procurement Officer, one complete mast arm of the manufacture intended to be furnished, must be submitted within fifteen (15) business days upon receipt of such request.

  - Warranty. The manufacturer shall warrant the performance and construction of the mast arms to meet the requirements of this specification and shall warrant all parts, components, and appurtenances against defects due to design, workmanship, or materials, developing within a period of five years after the mast arms have been delivered. This will be interpreted particularly to mean structural or mechanical failure of any element or weld, or any faults in the anodized surfaces. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made. The Commissioner’s decision will be final.

  - Structural Requirements. The arms shall be manufactured in accordance with AASTHO’s 1994 version of the Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals. The arms must be designed to meet AASTHO’s 1994 criteria for 80 MPH wind loading with a 30% gust factor. The arms shall be designed for Chicago street lighting applications. The arm manufacturer must provide structural calculations that verify that the arms are designed properly.

### TRUSS ARM DESIGN

- (a)  Each mast arm must be a truss type fabricated of two (2) inch "standard" aluminum pipe or tube 6063-T4 alloy conforming to the requirements of ASTM B429, or ASTM B221, or other approved design. The arm must be heat treated to a T-6 temper after fabrication and welding.

  - Mast Arm Attachment. The mast must be attached to the pole by means of an extruded aluminum clamp with a bolting arrangement to hold the arm firmly in place. The extrusion must be aluminum alloy 6061-T6 conforming to the requirements of ASTM B221, B308, or an approved equal. The clamps shall be designed to securely fasten the mast arm to the pole so that the arm cannot be dislodged vertically or horizontally from its intended position on the pole by wind gusts, vibrations or other normally anticipated natural phenomena.

  - Dimensions. The truss type arm must have the dimensions indicated on Standard Drawing 943 or Standard Drawing 944 for the appropriate arm specified. Truss arms will be available in nominal horizontal lengths of 4 foot, 6 foot, 8 foot, 12 foot, and 15 foot, with either 4.5 inch or 6 inch clamps.

The distance between the lower and upper members, measured between the vertical centers of the upper and lower attachment plates, must be 1'-9". With the arm attached to the pole intended to be supplied, the vertical rise from the center of the top attachment plate to the horizontal centerline of the end of the arm must be no greater than 2'-8". The horizontal axis of the free end of the upper member, when attached to the pole, must not exceed 3o above the true horizontal without the luminaire weight, nor be less than 1/2o above the true horizontal with a 35 lb. weight supported at the free end of the arm.

  - Mating of Members. The upper and lower members shall be mated in such a manner as to assure that they will not separate due to vibration, weather conditions such as high wind gusts, icing, etc., or any other normally anticipated stress condition.

  - Interchangeability. Members of each truss arm size must be mutually interchangeable for assembly, so that no reworking will be required to make any member fit properly in the place of any other similar member of any other similar arm.

### DAVIT ARM DESIGN

- (a)  Each arm must be fabricated from either 4.5 inch diameter or 6.0 inch diameter aluminum tubing of 6063-T4 alloy. After all fabrication and welding, the arm must be heat treated to a T6 temper.

  - The arm must be attached to the mast by slipping the bottom of the arm tube over the top of the mast. The arm must have four (4) holes pre-drilled at its base to accommodate two (2) through bolts set 90 apart, as shown on the Standard Drawings. The bottom bolt will be in direct line with the length of the arm. The holes must match the holes in the mast so that after assembly the arm and mast appear as a single continuous unit. When bolted to the pole, the arm must not shift or become dislodged by wind gusts, vibrations, or other phenomena.

  - The davit arm must be dimensioned as indicated on Standard Drawing 945, 946, 948, 949, or 950, for the appropriate arm specified. Davit arms must be available in nominal horizontal lengths of 8 foot and 12 foot for the 4.5 inch pole tops. Davit arms must be available in nominal lengths of 8 foot, 12 foot, and 15 foot for 6 inch pole tops. Davit arms will be single or twin as specified. A 2 3/8 inch diameter tenon will be attached to the end of each arm. The horizontal axis of the tenon, when the arm is attached to the pole, must not exceed 3 above the true horizontal without the luminaire weight, nor be less than 1/2 above the true horizontal with a 35 lb. weight supported by the tenon.

  - Interchangeability. All davit arms for a 4.5 inch pole top must be

interchangeable with each other. The same is required of davit arms for a 6 inch pole top.

### WELDING

- (a) General. Every welded joint shall be made in conformity with the proper interpretation of the standard welding symbols of the American Welding Society as indicated on the drawings. Each bidder must submit with his proposal a drawing showing the sizes and types of welds, must state the type of electrode, and must describe the welding methods, he proposes to use in fabricating the arms.

  - Testing. All welds of five percent (5%) of the arms in every lot must be inspected for penetration and soundness of the welds by radiography or by penetrant inspection. Acceptance or rejection will be governed by the same conditions as in the TESTING Section.

  - Certifications. Welders must have proper certification for the welding operations required. Welding by non-certified personnel will not be allowed. Certifications must be made available upon request.

### FINISH

- (a)	General. All completed arms shall have a brushed satin natural finish or an anodized finish, as required by the project or in the purchase order.

  - A satin aluminum finish requires that each arm be rotary sand finished. The satin finish shall be accomplished by using 40-50 grit belts to remove taper marks and scratches. A minimum of one pass with a 120 grit belt over the entire arm is required to provide a uniform appearance.

  - An anodized finish will be either matte black or semi-gloss black. A color sample must be submitted for approval before any factory production. The anodizing process must include cleaning, etching, anodizing, and sealing the aluminum arm. The etching process must meet the requirements of AA-C22. The anodizing process must meet the requirements of AA-A42. The contractor must submit his anodizing process for approval before any factory production.

### HARDWARE

- All hardware furnished for attachment of mast arm to pole must be series 300 stainless steel. All hardware necessary to complete the assembly of the arm to the pole must be provided.

### MAST ARM TESTS

- (a)	General. Five percent (5%) of the mast arms of each size in every order shall be tested for structural integrity.

  - Tests. The mast arms, when securely attached to a suitable and proper supporting structure, must withstand a horizontal (sideward) pulling force as indicated in Table A, and a vertical (downward) load as indicated in Table A. These loads may be applied independently. Each load must be applied at the end of the arm without any apparent permanent set, or damage to the welds joining the arm and mast arm attachment. The appropriate loading for each arm is indicated in Table A. On twin arms each arm extension must be tested.

  - Rejection. If the mast arms fail to meet the test, an additional three percent (3%) of the mast arms in the same lot must be tested. If any of these mast arms fail to meet the test requirements, the entire lot will be subject to rejection, except that the manufacturer may subject each mast arm in the lot to the test, and those which fulfill the requirements will be accepted.

  - All mast arms must meet the structural requirements of Section 2(g). All tests shall be certified by the manufacturer. Test results should be submitted to the Electrical Section of the Division of Engineering, upon request.

### PACKAGING

- (a)  General. The mast arms must be shipped in bundles. Each arm or bundle shall be wrapped so that the arms can be handled and stored without damage to the surfaces.

  - Bundles. The bundles shall consist of fifty (50) to seventy five (75) arms laid to form an approximately rectangular bundle. Materials such as lumber (2"x4"), stainless steel banding, and other appropriate bundling materials must be used to make a rigid, long lasting, bundle capable of being handled, shipped and stored without shifting of contents or breaking, subject to approval. Any bundles, in which either the arms or packaging, is received broken, damaged, or with contents shifted, will not be accepted, and it will be the responsibility of the supplier to return the bundle to its original destination at no cost to the City of Chicago. The bundles should be capable of being stacked two (2) high without breaking, or shifting of the contents. Each bundle must be capable of being lifted by a fork lift truck or crane and the bundles must be shipped on a flat bed truck to facilitate unloading.

  - Hardware. The clamp backs and mounting hardware must be attached to the clamp fronts on the end of the arm, and must be shipped with each mast arm bundle. Mounting hardware for the davit arms must be packed and shipped

with each davit arm bundle. Payment will be withheld for any bundle delivered without the accompanying hardware. Cracked, broken or chipped parts will be considered as an incomplete delivery as regards payment.

TABLE A

| ALUMINUM ARM | HORIZONTAL LOAD | VERTICAL LOAD | DRAWING # |
| --- | --- | --- | --- |
| Truss 4.5"x 4' | 100# | 250# | 943 |
| Truss 4.5"x 6' | 100# | 250# | 943 |
| Truss 4.5"x 8' | 100# | 250# | 943 |
| Truss 4.5"x 12' | 100# | 250# | 943 |
| Truss 4.5"x 15' | 100# | 250# | 943 |
| Davit 4.5"x 8' | 100# | 250# | 945 |
| Davit 4.5"x 12' | 100# | 200# | 946 |
| Davit 6.0"x 8' | 100# | 250# | 948 |
| Davit 6.0"x 12' | 100# | 250# | 949 |
| Davit 6.0"x 15' | 100# | 250# | 950 |

ELECTRICAL SPECIFICATION 1454 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED SEPTEMBER 25, 2020

MAST ARM: TRAFFIC SIGNAL MONO-TUBE

SUBJECT

- This specification states the requirements for a tapered, tubular, 7 gauge steel mono-tube arm with mounting brackets. The arm will support traffic signals and signs.

### GENERAL

- (a)	Specifications. The arms shall conform in detail to the requirements herein stated, and to the requirements of the following organizations cited herein:

American Association of State Highway and Transportation Officials (AASTHO)

American National Standards Institute (ANSI) American Society for Testing and Materials (ASTM) American Welding Society (AWS)

Society for Protective Coatings (SSPC)

  - Acceptance. Arms not conforming to this specification will not be accepted.

  - Bidders Drawings. Bidders must submit with their bids detailed scale drawings of the mast arm showing actual dimensions, details, and welds. Shop drawings must be original engineering drawings created by the manufacturer. The drawings must show every dimension necessary to show how all parts will fit each other and be properly held in assembly. These drawings shall also be submitted in electronic format, preferably MicroStation dgn format, if requested by the City.

  - Drawings. The drawings mentioned herein are drawings of the Department of Transportation being an integral part of this specification cooperating to state necessary requirements.

  - Sample. If requested by the Chief Procurement Officer, one complete mast arm of the manufacture intended to be furnished must be submitted for review by the Commissioner within fifteen (15) business days of receiving

such request.

  - Warranty. The manufacturer shall warrant the performance and construction of the mast arms to meet the requirements of this specification and shall warrant all parts, components, and appurtenances against defects due to design, workmanship, or material developing within a period of five years after the mast arms have been delivered. This will be interpreted particularly to mean structural or mechanical failure of any element or weld, or failure of any portion of the painting system. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made and the Commissioner’s decision will be final.

### STANDARDS

- (a)	Assembly. Each arm shall consist of a tubular tapered steel shaft, mounting brackets, an aluminum cap, and all mounting hardware.

  - Interchangeability. Members of each arm type must be mutually interchangeable for assembly, so that no reworking will be required to make any member fit properly in the place of any other similar member of any other similar arm.

  - Design. Each arm must meet the requirements as shown on Standard Drawing 870.

### ARMS

- (a)	Arm Size. The outside diameters of the arm of each size shall be as listed in Standard Drawing 870.

  - Material. The arm must be fabricated from one length of No. 7 Standard gauge steel meeting the requirements of ASTM A606 for low alloy high strength coil steel, which, after fabrication, must possess an ultimate tensile strength of not less than 70,000 psi and a yield strength of not less than 60,000 psi, in accordance with ASTM A595, Grade C. Chemistry of the steel shall be such as to insure resistance to atmospheric corrosion superior to that of ordinary copper bearing steel. Material certification is required. Manufacturer's steel meeting the specified physical and chemical requirements, and approved by the Commissioner, will be accepted.

  - Fabrication. The arm must be fabricated with not more than one (1) longitudinal weld. The weld must be ground smooth so that it is virtually invisible. There must be no lateral welds in the arms other than where the arms are welded to the steel clamp. Each arm must be straight and centered on its longitudinal axis. Each arm must be formed on a mandrel and worked

to form a round cross-section. The completed, unpainted arms shall have smooth external surfaces free from protuberances, dents, cracks, or other imperfections marring their appearance.

  - Clamp. The arm clamp must be of low alloy, high strength steel as noted in Section 4 (b). The clamp must be constructed as shown on Standard Drawing 870.

  - Structural Requirements. The mast arm must be manufactured in accordance with AASTHO’s 1994 version of the Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals. The arm assembly must be designed to meet AASTHO’s 1994 criteria for 80 MPH wind loading with a 30% gust factor. The arms shall be designed appropriately for traffic signal applications within the City of Chicago.

### CAP

- (a)  Design. The arm cap shall be essentially conical with a globe-shaped upper-end and having a minimum wall thickness throughout of not less than 5/32 inches. The cone portion must meet the skirted portion of the arm in a smooth filet, the skirt must enclose the top 7/8" inches of the arm. Three stainless steel, or other similar approved material, set screws not less than 3/4 inches long must be equally spaced in tapped holes around the skirt and must hold the cap securely in place on the arm.

  - Material. The cap must be of aluminum alloy 356-F per ASTM B108. It shall have smooth surfaces, neat edges and corners and be free from fins, holes, or other casting flaws.

  - Finish. Tops shall be painted as herein specified.

### HARDWARE

- All the hardware necessary to complete the assembly of the arm must be furnished. All hardware shall be stainless steel, or equal corrosion-resistant non-seizing metal, subject to approval.

### WELDING

- (a) General. Every welded joint shall be made in conformity with the proper interpretation of the standard welding symbols of the American Welding Society as indicated on the drawings; however, each bidder must submit with his proposal a drawing showing the sizes and types of welds, must state the type of electrode, and must describe the welding methods, he proposes to use in fabricating the arm.

  - Testing. All welds of the first three (3) arms of the first fifty (50) arms in every lot must be inspected for penetration and soundness of the welds by the magnetic particle inspection method or by radiography. Acceptance or rejection must be governed by the same conditions as in Section 9. If the magnetic inspection process is used, the dry method with the direct current shall be employed. All transverse welds must be magnetized by the "prod" (circular magnetization) method. Longitudinal welds may be magnetized by either circular or longitudinal magnetization.

### PAINTING

- (a)	Oil and Grease Removal. All metal surfaces must be washed with an alkaline detergent to remove any oils or grease.

  - Metal Cleaning. All exterior metal surfaces must be cleaned by blasting with a combination of shot and grit to remove all dirt, mill scale, rust, corrosion, oxides, and foreign matter and provide a "near white" surface in accordance with SSPC-SP 10.

  - Chemical Pretreatment. The cleaned metal surfaces must then be treated with a hot, pressurized iron phosphate wash and must be dried by convection heat.

  - Primer Coat. All exterior surfaces are to be coated with corrosion-inhibiting zinc-rich aromatic urethane conforming to SSPC Paint 20, Type II. Dry film thickness shall be a minimum of 2.5 mils (.0025”). The aromatic urethane shall consist of a zinc dust content not less than 83% by weight in dried film. The coating shall be airless-spray applied and moisture cured.

  - Finish Coat. All exterior surfaces are to be subsequently coated with aliphatic acrylic polyurethane paint, conforming to SSPC-36, to a minimum dry film thickness of 3.0 mils (.003”). The coating shall be airless-spray applied and cured in a gas-fired convection oven by heating the steel substrate to between 150° Fahrenheit and 220° Fahrenheit.

  - Interior Coat. Interior surfaces are to be coated with red oxide rust inhibitive alkyd primer to a dry film thickness of 1.5 mils.

  - Durability. Both the exterior and interior coats must be capable of passing 1,000 hours of salt spray exposure as per ASTM B117 in a 5% Na Cl (by weight) solution at 95oF and 95% relative humidity without blistering. Before testing, the panel must be scribed with an "X" down to bare metal.

  - Coating Measurement. Measurement of coating thickness must be done in accordance with SSPC-Pa 2-73T, "Measurement of Dry Paint Thickness with Magnetic Gauges," except that the lowest "single spot measurement" in an area of two square inches must not be less than 5.5 mils.

  - Color. Color must be gloss black unless noted otherwise in the order. A paint chip must be submitted for approval prior to fabrication.

  - Alternate Methods. Alternate coating methods may be reviewed and tested on a case by case basis. However, no coating method will be accepted unless the Commissioner judges such alternate to be equal to the coating herein specified.

### ARM TEST

- (a) General. All completed arms shall be available for testing for maximum deflection and set. Unless specifically authorized in writing, all tests must be made at the works of the manufacturer. A record of every test must be made and a certified copy of the test record must be submitted to the Engineer of Electricity before the arms are shipped.

  - Lot. Tests for deflection and set must be made upon the first three (3) arms in the first fifty (50) arms in the lot. An additional one (1) arm must be tested for each additional fifty (50) arms. If any of the arms in any lot fail to meet the test, an additional three (3) arms of the same lot must be tested. If any of these arms fail to meet the test requirements, the entire lot will be subject to rejection, except that the manufacturer may subject each arm in the lot to the test, and those which fulfill the requirement will be accepted. After testing, each weld must be inspected by the magnetic particle method to determine that the welds have not been affected.

  - Requirements. With arm rigidly anchored, a test load as indicated in the table in Standard Drawing 870 must be applied at a point approximately two feet (2'0") from the free end. The load must be applied at right angles to the center line of the arm and in the same vertical plane. The deflection must not be greater than that indicated. Within one (1) minute after the test load is released, measurement must be made of the set taken by the arm. The deflection measurement device must be reset to zero and the test load must be reapplied. The deflection must not change from the deflection noted in the first test by more than ±5%. No measurable set must be noted within one (1) minute after test load is released.

### PACKAGING

- (a)	General. The arms shall be shipped in twelve (12) arm bundles. Each arm must be individually wrapped so that the arm can be bundled for shipping

and unbundled for delivery to the job site without damaging the arm or its finish.

  - Bundles. The bundles shall consist of twelve (12) arms laid base to top to form an approximately rectangular cylinder. Materials such as lumber (2" x 4" min.), non-marring banding, and other appropriate bundling materials must be used to make a rigid, long lasting, bundle capable of being handled, shipped, and stored without shifting of contents or breaking, subject to approval. Any bundles, in which either arms or packaging is received broken, damaged or with contents shifted, will not be accepted and it will be the responsibility of the supplier to return the bundle to its original destination at no cost to the City of Chicago. The bundles should be capable of being stacked two (2) high without breaking or shifting of the contents. Each bundle must be capable of being lifted by a fork lift truck or crane and the bundles must be shipped on a flat bed truck to facilitate unloading. Each arm wrapping must be clearly labeled indicating the mast size, i.e. “30' SIGNAL MAST ARM”.

  - Hardware. The hardware must be shipped with each bundle and packaged in twelve (12) sets of four (4) each. The package shall be placed in a prominent position to facilitate accessibility, and must be attached to, or within, the bundle in such a manner as to assure safe delivery. Payment will be withheld for any bundle delivered without the accompanying hardware. Arm caps must be attached at the manufacturer's facilities or be packed separately in a manner similar to the other hardware, and the same payment conditions will prevail. Cracked, broken or chipped parts will be considered as an incomplete delivery as regards payment.

ELECTRICAL SPECIFICATION 1457 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JUNE 26, 2023

CABLE: SERVICE ENTRANCE,

THREE INSULATED CONDUCTORS IN ONE OVERALL JACKET, 600 VOLT

SUBJECT

- This specification states the requirements for a three conductor (two power conductors and one neutral conductor). Each conductor shall be insulated with either ethylene propylene rubber (EPR) or irradiated cross-linked polyethylene (XLPE). The overall jacket shall be either chlorinated polyethylene (CPE) or cross-linked polyolefin (XLPO). the cable shall be used on Commonwealth Edison service poles for the purpose of providing secondary power feeds from Commonwealth Edison to a City disconnect mounted on the pole for street lighting or traffic signal circuits.

### GENERAL

- (a)  Specifications. The cable shall conform in detail to the requirements herein stated, and to the applicable portions of the specifications and methods of test of the following agencies:

  - ICEA Specification S-95-658

  - IEEE Standard 383

  - ASTM Standard E-662-79

  - ASTM Standard D-470-81

  - UL 44

  - UL 854

- Acceptance. Cable not conforming to this specification will not be accepted.

- Sample. If so requested, a three (3) foot sample of the cable intended to be provided under this contract must be submitted to the Engineer of Electricity within fifteen (15) business days after receipt of such a request from the Chief Procurement Officer.

(b) Warranty. The contractor shall warrant the cable to be first class material throughout. The contractor will be responsible for any cable failing during normal use within one (1) year after the date of acceptance by the City. The

contractor shall provide material replacement for	any failed cable. There shall be no cost to the City. All replacements must be made free of charge

F.O.B. delivery point of original contract.

### CABLE

- (a) Construction. The cable shall consist of three (3) conductors separately insulated and color coded. Suitable fillers must be used to produce essentially a round cross section in the completed cable. The insulated conductors must be cabled with a suitable left hand lay in conformance with the latest revision of ICEA S-95-658. A binder tape must be used over the cabled conductor assembly and a jacket of either CPE or XLPO applied overall.

- Marking. The color of the neutral conductor shall be white; that of the phase conductors shall be black and red, respectively. The jacket shall be black.

The cable shall be identified by a permanently inscribed legend in white lettering as follows:

3/C - No. (conductor size) AWG-600V-90oC-EPR/CSPE or EPR/PVC- manufacturer’s name- month/year of manufacture

The legend shall be repeated at approximately eighteen (18) inch intervals on the outside surface of the cable parallel to the longitudinal axis of the conductor. Alternate markings shall be considered.

- Each conductor shall consist of a round copper wire with a tight fitting, free stripping, concentric layer of either EPR or XLPE insulation. The cable shall be rated for continuous duty at 90oC operating temperature, wet or dry, 130oC emergency overload temperature and 250oC short circuit temperature.

### CONDUCTOR

- (a)	Material. The conductor shall bare soft round copper wire.

- Specifications. The conductor must meet the requirements of ASTM B3 and B8 for stranded Class B copper.

- Size. The conductor size shall be as stated in the proposal or on the plans.

### INSULATION

- (a) Type. The insulation shall be either ethylene propylene rubber (EPR) or irradiated cross-linked polyethylene (XLPE) meeting the physical and electrical requirements specified herein.

Electrical Specification 1457

Page 3

(b)  Thickness. The insulation must be circular in cross-section, concentric to the conductor, and must have an average thickness not less than 30 mils (.030”) for #14 AWG, 55 mils (.055") for #4 AWG, 65 mils (.065”) for #2 AWG, 80 mils (.080") for #1/0 AWG, 80 mils (.080”) for #2/0 AWG, and a spot thickness not less than ninety percent (90%) of the average thickness.

### JACKET

- (a) Type. The jacket shall be either chlorinated polyethylene (CPE) or cross- linked polyolefin (XLPO) meeting the physical and electrical requirements specified herein.

(b)  Thickness. The jacket must be circular in cross-section, concentric with the insulation, must have an average thickness not less than 45 mils (.045”) for #14 AWG, 80 mils (.080") for #2 and #4 AWG, and not less than 95 mils (.095”) for #1/0 and #2/0 AWG, and a spot thickness not less than ninety percent (90%) of the average thickness.

### PACKAGING

- (a)	Reels. The completed cable shall be delivered on sound substantial, non-returnable reels. Both ends of each length of cable must be properly sealed against the entrance of moisture and other foreign matter by the use of clamp-on cable caps. The ends must be securely fastened so as not to become loose in transit. Before shipment, all reels must be wrapped with cardboard or other approved wrapping.

- Footage. Each reel must contain 1,000 foot of cable for either #4 AWG or #2 AWG and 500 feet of cable for #1/0 AWG or #2/0 AWG. A tolerance limit

of plus or minus ten percent (+10%) shall be adhered to.

- Reel Marking. A metal tag must be securely attached to each reel indicating the reel number, contract number, date of shipment, gross and tare weights, description of the cable and the total footage.

TABLE 1 - THREE CONDUCTOR SERVICE ENTRANCE CABLE

| Size (AWG) | Overall Diameter (mils) | No. Of Strands | Test Volts (KV) | Footage per Reel | Insulation (mils) | Jacket (mils) |
| --- | --- | --- | --- | --- | --- | --- |
| 4 | 950 | 7 | 4.5 | 1000 | 55 | 80 |
| 2 | 1100 | 7 | 4.5 | 1000 | 65 | 80 |
| 1/0 | 1400 | 19 | 5.5 | 500 | 80 | 95 |
| 2/0 | 1800 | 19 | 5.5 | 500 | 80 | 95 |

### ELECTRICAL MANHOLE FRAMES AND COVERS 24 INCH AND 30 INCH DIAMETER

SCOPE

- This specification describes the requirements for both 24 inch and 30 inch round frames and covers. These frames and covers will be used for electrical manholes and handholes and will provide access to the interior of the manholes and handholes. The 24 inch frames and covers will be used in parkway and sidewalk areas. The 30 inch frames and covers will be used in streets and in driveways and will provide sufficient strength to withstand normal traffic conditions.

### GENERAL REQUIREMENTS

- (a)  Conformance. The manhole frames and covers shall conform with every detail of the requirements herein stated and to the specifications and methods of test of the American Society for Testing and Materials cited by ASTM Designation Number in which the most recently published revision will govern.

  - Acceptance. Frames and covers not conforming to this specification will not be accepted. The Commissioner of Transportation will have the final say as to whether or not the frames and covers meet specifications.

  - Drawings. The drawings mentioned herein are drawings of the Department of Transportation, Division of Engineering, and must be interpreted as part of these specifications.

  - Sample. Upon request, one complete manhole frame and cover of the manufacture intended to be furnished must be submitted within fifteen (15) business days after receipt of such a request from the Chief Procurement Officer. The samples must be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois.

  - Warranty. The manufacturer shall warrant that the frames and covers meet the specifications and warrant the frames and covers for a period of one (1)

year from the date of delivery against defects which may occur during that period from normal and customary use. Any frame or cover which fails during this period must be replaced by the manufacturer at no cost to the City.

### DESIGN

- (a)	The frames and covers shall each conform in detail to the designs shown on Drawings 872, 874 and 10927.

  - Each frame and cover shall weigh approximately as shown on the drawings.

  - Machining. The bearing surfaces of both the cover and the frame shall be machine finished as indicated on the drawings.

  - Workmanship. The frames and covers must be mutually interchangeable size for size, so that each lid will fit every frame neatly without jamming and with only such clearance as the drawings indicate. In addition, 24" & 30" covers must fit existing 24" & 30" frames, as shown on drawings 872, 874 and 10927. The castings shall be neat, true to pattern and free from cracks and casting flaws. No welding of defective castings will be permitted nor must the castings be painted.

  - Material. The frames and covers must be made of Class 30 Cast Iron described in the specifications for Gray Iron Castings of ASTM A48. No plugging of defective castings will be permitted.

### TESTS

- (a)  Test bars of the metal used for the castings shall be made and tested for tensile and transverse strength in accordance with ASTM A48. The metal must be tested at the works of the manufacturer. The manufacturer must furnish a certified copy of all test data sheets to the City prior to delivery of the castings. Frames and covers shall each be considered a separate casting for determining the requirement of testing.

### RIGID STEEL CONDUIT (HOT DIPPED GALVANIZED)

SCOPE

- This specification describes rigid steel conduit, zinc coated. This specification also describes rigid steel conduit that is both zinc and PVC coated. The conduit will be used underground or on structure as a raceway for electrical cables.

### GENERAL REQUIREMENTS

- (a)  Rigid steel conduit must be zinc coated by the hot-dip process. Conduit must be furnished in 10 foot lengths, threaded on each end and with one coupling attached to one end and a protective cap at the other end.

  - The conduit shall be manufactured according to Underwriters Laboratories Standard U.L. - 6 and must meet ANSI Standard C 80.1 and the requirements of NEC Article 344. In addition, conduit must be recognized as an equipment grounding conductor as per NEC Article 250. There will be no exceptions to meeting these standards.

  - Acceptance. Conduit not conforming to this specification will be rejected. The Commissioner will be the final judge in determining if the conduit meets the specification.

  - Sample. If requested by the Chief Procurement Officer, a sample of conduit must be submitted to the Engineer of Electricity within fifteen (15) business days of receipt of such a request.

  - Warranty. The manufacturer shall warrant the construction and performance of the conduit to meet the requirements of this specification and shall warrant all parts and components against defects due to design, workmanship, or material developing within a period of one (1) year after the conduit has been delivered.

### STEEL

- Conduit shall be formed from steel suitable for use as an electrical raceway. It shall be structurally sound so that it will hang straight and true when supported by hangers in accordance with Chicago electrical code requirements and shall be capable of being field bent without deformation of the walls.

Conduit shall have a circular cross section sufficiently accurate to permit the cutting of threads in accordance with Table 2 and shall provide a uniform wall thickness throughout. All surfaces shall be smooth and free of injurious defects. The dimensions and weights of rigid steel conduit must be in accordance with Table 1.

### THREADING AND CHAMFERING

- Each length of conduit, and each nipple, elbow and bend must be threaded on both ends, and each end must be chamfered to remove burrs and sharp edges.

The number of threads per inch, and the length of the threaded portion at each end of each length of conduit, nipple and elbow must be as indicated in Table 2. The perfect thread must be tapered for its entire length, and the taper must be 3/4 inch per foot.

### ZINC COATING

- After all cutting, threading, and chamfering all conduit surfaces shall be thoroughly cleaned before application of zinc. The cleaning process shall leave the interior and exterior surfaces of the conduit in such a condition that the zinc will be firmly adherent and smooth.

The conduit must be hot dipped galvanized both inside and out to provide approximately two (2) ounces of zinc per square foot. This is equivalent to

  - mils of zinc coating.	An additional interior coating to aid in the installation of wires is required.

### COUPLINGS

- (a)  The outside surface of couplings shall be protected by means of a zinc coating. The zinc content of the coating on the outside surface must be equivalent to a minimum thickness of 3.4 mils.

  - Couplings shall be so made that all threads will be covered when the coupling is pulled tight on standard conduit threads.

  - Both ends of the coupling must be chamfered to prevent damage to the

starting threads.

  - The outside diameter, length and weight of coupling must be as indicated in Table 3.

  - Couplings must be straight tapped, except that the 2 1/2 inch and larger sizes may be taper-tapped.

### PVC COATED (WHEN SPECIFIED)

- (a)	Only hot dipped galvanized conduit, couplings, and fittings may be polyvinylchloride (PVC) coated.

  - All conduit, couplings, and fittings must be cleaned before being coated.

  - All conduit, couplings, and fittings must have a PVC coating applied to the exterior by dipping in liquid plastisol. The coating thickness must be a nominal 40 mils.

  - All coated conduit, couplings, and fittings must conform to the requirements of NEMA Standard RN1- Section 3, “External Coatings”. The latest revision will apply.

### PACKING AND IDENTIFICATION

- The pipe shall be delivered in bundles. Each length of conduit must be marked with the manufacturer's name or trademark. Securely attached to each bundle at two (2) locations on the bundle must be a weather resistant tag containing the following information:

- conduit size

- footage of bundle

- gross weight of bundle

- manufacturer’s name

Precaution will be taken by the contractor in handling during shipment or delivery of conduit, and any conduit found to be damaged will not be accepted.

### TEST AND INSPECTION

- Galvanized rigid conduit must be capable of being bent cold into a quarter of a circle around a mandrel, the radius of which is four times the nominal size of the conduit, without developing cracks at any portion and without opening the weld.

The protective coatings used on the outside and inside surfaces of rigid steel conduit must be sufficiently elastic to prevent their cracking or flaking off when a finished sample of 2 inch conduit is tested within one year after the time of manufacture, by bending it into a half of a circle around a mandrel, the radius of which is 3 1/2 inches.

Tests on sizes other than 1/2 inch may be conducted within one year after the time of manufacture. If such tests are conducted, the conduit must be bent into a quarter of a circle around a mandrel, the radius of which is six times the nominal size of the conduit.

One of the following three test methods shall be employed for measuring the thickness or extent of the external zinc coating on conduit:

- Magnetic test.

- Dropping test.

- Preece test (Material which will withstand four 1-minute immersions will be considered as meeting requirements as follows; the zinc content of the coating on the outside surface must be equivalent to a minimum thickness of 3.4 mils).

All tests and inspections must be made at the place of manufacture prior to shipment unless otherwise specified, and shall be so conducted as not to interfere with normal manufacturing processes.

Each length of conduit shall be examined visually both on the outside and inside to determine if the product is free from slivers, burrs, scale or other similar injurious defects (or a combination thereof), and if coverage of the coating is complete.

If any samples of rigid steel conduit tested as prescribed in this specification should fail, two additional samples must be tested, both of which must comply with the requirements of the specification.

All pipe which may develop any defect under tests, or which may before testing or on delivery be found defective, or not in accordance with these specifications, must be removed by the Contractor at his own expense; and such pipe so removed by the Contractor must be replaced by him within ten

(10) days of such rejection with other pipe which will conform to these specifications.

### TABLE 1

Design Dimension and Weights of Rigid Steel Conduit

| Nominal | Inside | Outside | Wall | Length | Minimum |
| --- | --- | --- | --- | --- | --- |
| or | Diameter | Diameter | Thickness | Without | Weight |
| Trade Size |  |  |  | Coupling | of Ten |
| of Conduit |  |  |  |  | Unit |
|  |  |  |  |  | Length |
|  |  |  |  |  | w/coup |
|  |  |  |  |  | lings |

| (Inches) | (Inches) | (Inches) | (Inches) | (Feet/Inches) | (Pounds) |
| --- | --- | --- | --- | --- | --- |
| 1/2 | 0.622 | 0.840 | 0.109 | 9-11 1/4 | 79.00 |
| 3/4 | 0.824 | 1.050 | 0.113 | 9-11 1/4 | 105.0 |
| 1 | 1.049 | 1.315 | 0.133 | 9-11 | 153.0 |
| 1 1/4 | 1.380 | 1.660 | 0.140 | 9-11 | 201.0 |
| 1 1/2 | 1.610 | 1.900 | 0.145 | 9-11 | 249.0 |
| 2 | 2.067 | 2.375 | 0.154 | 9-11 | 334.0 |
| 2 1/2 | 2.469 | 2.875 | 0.203 | 9-10 1/2 | 527.0 |
| 3 | 3.068 | 3.500 | 0.216 | 9-10 1/2 | 690.0 |
| 3 1/2 | 3.548 | 4.000 | 0.226 | 9-10 1/4 | 831.0 |
| 4 | 4.026 | 4.500 | 0.237 | 9-10 1/4 | 982.0 |

NOTE: The applicable tolerances are:

Length:	+ 1/4 inch (without coupling)

Outside diameter:	+ 1/64 inch or -1/32 inch for the 1 1/2 inch and smaller sizes,

 1  for the 2 inch and larger sizes.

Wall thickness:	- 12 1/2 

### TABLE 2

Dimensions of Threads

| Nominal or Trade Size of Conduit | Threads Pitch per Diamete Inch at end of Thread |  |  | Length of Thread (Inches) r |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (Inches) |  |  | (Inches) Tapered 3/4 Inch per foot |  | Effective L2 | Overall L4 |  |
| 1/2 | 14 |  | 0.7584 |  | 0.53 | 0.78 |  |
| 3/4 | 14 |  | 0.9677 |  | 0.55 | 0.79 |  |
| 1 | 11 1/2 |  | 1.2136 |  | 0.68 | 0.98 |  |
| 1 1/4 | 11 1/2 |  | 1.5571 |  | 0.71 | 1.01 |  |
| 1 1/2 | 11 1/2 |  | 1.7961 |  | 0.72 | 1.03 |  |
| 2 | 11 1/2 |  | 2.2690 |  | 0.76 | 1.06 |  |
| 2 1/2 | 8 |  | 2.7195 |  | 1.14 | 1.57 |  |
| 3 | 8 |  | 3.3406 |  | 1.20 | 1.63 |  |
| 3 1/2 | 8 |  | 3.8375 |  | 1.25 | 1.68 |  |
| 4 | 8 |  | 4.3344 |  | 1.30 | 1.73 |  |

NOTE: The applicable tolerances are:

Threaded Length (L4 Col 5): Plus or minus one thread

Pitch Diameter (Col 3): Plus or minus one turn is the maximum variation permitted from the gaging face of the working thread gages. This is equivalent to plus or minus one and one half turns from basic dimensions, since a variation of plus or minus one half turn from basic dimensions is permitted in working gages.

TABLE 3

Designed Dimensions and Weights of Couplings

| Nominal or Trade Size of Conduit | Outside Diameter | Minimum Length | Minimum Weight |
| --- | --- | --- | --- |
| (INCHES) | (INCHES) | (INCHES) | (POUNDS) |
| 1/2 | 1.010 | 1-9/16 | 0.115 |
| 3/4 | 1.250 | 1-5/8 | 0.170 |
| 1 | 1.525 | 2 | 0.300 |
| 1 1/4 | 1.869 | 2-1/16 | 0.370 |
| 1 1/2 | 2.155 | 2-1/16 | 0.515 |
| 2 | 2.650 | 2 1/8 | 0.671 |
| 2 1/2 | 3.250 | 3-1/8 | 1.675 |
| 3 | 3.870 | 3-1/4 | 2.085 |
| 3 1/2 | 4.500 | 3-3/8 | 2.400 |
| 4 | 4.875 | 3-1/2 | 2.839 |

ELECTRICAL SPECIFICATION 1463 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED FEBRUARY 7, 2014

TRAFFIC SIGNAL MOUNTING BRACKETS FOR MONOTUBE ARMS

SUBJECT

- This specification states the requirements for mounting brackets which will be used to secure traffic signals and illuminated signs to steel monotube mast arms.

### GENERAL

- (a) Specifications. The mounting brackets shall conform in detail to the requirements herein stated and to the specifications and methods of test of the American Society for Testing and Materials cited by ASTM Designation number of which the most recently published revision will govern.

  - Acceptance. Mounting brackets not conforming to these specifications will not be accepted.

  - Sample. If requested by the Chief Procurement Officer, one complete mounting bracket must be submitted within 15 business days upon receipt of such a request. It must be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - Warranty. Bracket must have a minimum 3 year warranty. The warranty must cover the material and workmanship. Any structural flaws or inability to maintain alignment will be deemed a failure and result in the warranty being invoked. The manufacturer will supply a new bracket for each failed bracket, at no cost to the City. The warranty will start from the date of delivery [date of acceptance for contract construction].

### DESIGN

- (a)  General. The mounting bracket shall be designed such that no portion of the bracket is put into tension when it is attached to the mast arm with banding. The signal support tube will be attached to the bracket using compression type attachments. All materials must be corrosion resistant and designed to

be structurally sound. The signal support tube will be a slotted aluminum pipe of sufficient length to hold either 3, 4, or 5 section signal heads, or an illuminated sign. The slot must have a neoprene gasket to protect the cable. There must also be top and bottom brackets that hold the signal head assembly at each end to the tube. The bottom bracket will also be used as a cable runway.

  - Hardware. All components of the mounting brackets must be held firmly in place with stainless steel hardware.

  - Adjustments. Bracket shall allow for mounting and adjustment of signal faces in any direction desired on a fixed mast arm. Adjustments shall be made using standard hand tools. Neither mounting nor adjusting the bracket should require the use of a torque wrench.

  - Signal Mounting. Mounting hardware shall be available for use with standard 2, 3, and 5 signal head configurations; for use with optically programmed signal heads; and for use with illuminated signs.

  - Wiring. Bracket design shall allow for ease of installation of components and wiring. All wiring troughs and nipples must provide smooth, burr-free surfaces and adequate space for facile movement of nominal .5 inch diameter cable between the mast arm and the signal face.

  - Banding. Where banding is used to attach the mounting bracket to the mast arm, the banding must be .75 inch wide stainless steel.

  - Castings. Where castings are used for the brackets, they shall be smooth and free of defects.

### TESTING

- (a)	General. At least 1% of the traffic signal mounting brackets in each order or contract shall be tested for rigidity and structural integrity.

  - Re-testing. If any mounting bracket fails any portion of the test, an additional 3% of the brackets must be tested. If an additional bracket fails, the entire lot will be rejected.

  - Tests.

    - With five 12" signal head sections attached to the bracket, the assembly shall be mounted to a suitable and proper supporting structure.

    - Using a calibrated dynamometer, a 100 pound force must be applied

for 60 seconds at the center of the bracket in the horizontal plane. At the completion of the test, there must be no movement of the assembly or deterioration of the bracket or appurtenant hardware.

    - Using a calibrated dynamometer, a 100 pound force must be applied to the top signal head section for 60 seconds in a direction which will pull the head away from the mounting post in the mounting post plane. During this time period, the mounting bracket castings must be struck 10 times with an 8 ounce flat head hammer at the point(s) which appear to be most vulnerable to stress. At the completion of the test, no movement of the assembly must have been observed and there must be no cracking of the castings or deterioration of the appurtenant hardware.

    - The above test must be repeated except that the force must be applied in a plane which is perpendicular to the mounting post plane.

### PACKAGING

    - (a)	Packing. Each bracket shall be packed in a suitable carton so secured that the bracket and parts will not be damaged during shipment, handling or storage.

(b)  Marking. Each carton containing the bracket and parts shall be clearly marked on the outside in letters not less than 3/8 inches tall with the legend: “TRAFFIC  SIGNAL  MONOTUBE  BRACKET”,  the  name  of  the

manufacturer, the date of manufacture, the contract number, and the City commodity code.

ELECTRICAL SPECIFICATION 1465 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JULY 12, 2006

GROUND RODS

SUBJECT

- This specification states requirements for ground rods and clamps to be used for ground electrodes in street lighting, traffic signal, and miscellaneous electrical circuits.

### GENERAL

- (a)  Ground rods must be copper clad, steel rods suitable for driving into the ground without deformation of the rod or scoring, separation or other deterioration of the copper cladding.

  - Sample. If requested by the Chief Procurement Officer, the contractor must furnish one sample of the ground rod proposed to be furnished within fifteen (15) business days from receipt of such request. The sample ground rod must be delivered to the Division of Electrical Operations, 2451 S. Ashland Avenue, Chicago, Illinois 60608.

  - Warranty. The manufacturer shall warrant every ground rod against defects due to design, workmanship, or material developing within a period of one (1) year after the ground rod has been accepted. Any ground rod which fails during this period must be replaced by the contractor without expense to the City. The Commissioner of Transportation or his duly authorized representative will be the sole judge in determining which replacements are to be made.

  - The Commissioner will be the sole judge in determining whether the submitted ground rods meet the requirements of this specification. Ground rods not accepted must be removed at the sole expense of the contractor.

### DESIGN

- (a)  The ground rods and couplings must meet the latest requirements of (National Electrical Manufacturer’s Association) NEMA Standard GR-1, for copper bonded ground rod electrodes and couplings. The ground rods must also meet the requirements of (Underwriter’s Laboratories) UL 467.

  - Ground rods shall be made of steel core suitable for driving into the earth without deformation.

  - A uniform covering of electrolytic copper, 10 mils in thickness, shall be metallically bonded to the steel core to provide a corrosion resistant, inseparable bond between the steel core and the copper overlay.

  - The finished rod must be of uniform cross-section; straight, and free of nicks, cuts or protuberances.

  - The rod must be pointed at one end and chamfered at the other.

  - All ground rods must be three-quarter inches (3/4") in diameter. The length shall be as specified in the order or in the plans. The length and diameter of the rod and the manufacturer must be clearly and permanently marked near the top of the rod (chamfered end).

  - All ground rods must have a ground clamp capable of accommodating a No. 6 AWG Copper Wire.

### PACKING

- (a)  Ground rods must be packed in bundles with reinforced tape or plastic banding that will not damage the rods. Small bundles may then be bound in larger bundles held together with steel banding.

  - Ground clamps must be packed in a suitable carton. The carton must be labeled to indicate the contents.

SPECIFICATION 1467 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JUNE 28, 2012

ROD: ANCHOR, STEEL, WITH HARDWARE

SUBJECT

- This specification states the requirements for steel anchor rods with hardware for street light pole foundations.

### GENERAL

- (a)  Specifications. The anchor rods shall conform in detail to the requirements herein stated, and to the specifications of the American Society for Testing and Materials cited by ASTM Designation Number, of which the most recently published revision will govern.

  - Drawing. The drawings mentioned herein are issued by the Department of Transportation, Division of Engineering, and are an integral part of this specification.

### ANCHOR ROD

- (a)	Fabrication. Each anchor rod must be fabricated in conformity with City of Chicago drawings numbered 806, 811, 830 and 844.

  - Material. The rods must be fabricated from cold rolled carbon steel bar meeting the requirements of ASTM Specification A-36, except that the Specification must be modified to provide a minimum yield point of 55,000 psi (379 MPa).

  - Thread. The straight end of each rod must be threaded as shown on City of Chicago drawing for that size rod, and must be American Standard, National Coarse.

### HARDWARE

- Hardware furnished with the anchor rod shall be as shown on the applicable drawing. It must include two (2) hexagonal nuts, American Standard Regular, two (2) flat washers, type B, series W, and one (1) lock washer, steel, helical spring. The nuts must have a Class 2 or 3 fit.

### FINISH

- Galvanizing. The threaded end of each rod must be hot dipped galvanized for the distance shown on the applicable drawing. The thickness of the galvanized coating must not be less than 0.0021 inches. Each hexagonal nut and washer must be galvanized to the minimum thickness required by ASTM A-153, Class C, or ASTM B-454, Class 50. After galvanization, each anchor rod and nut must have a mating fit equivalent to the American Standard Class 2 or 3 fit for nuts and bolts.

### TESTS

- At the discretion of the Commissioner, anchor rods and hardware furnished under this specification will be subject to testing to determine compliance with the materials physical requirements.

### INSPECTION

- Final inspection must be made at point of delivery. Any anchor rods and hardware rejected must be removed by the Contractor at his sole expense.

ELECTRICAL SPECIFICATION 1475 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JULY 20, 2023

CORD: TRAFFIC SIGNAL, NO. 16 AWG

SUBJECT

- This specification states the requirements for a four (4) or an eight (8) conductor number 16 AWG, electrical cable, to be installed in poles and conduit and used to electrically energize traffic signals at street intersections. The cable shall be connected from the traffic signal to the junction box on the same pole.

### GENERAL

- (a)  Specifications. The cable shall conform in detail to the requirements herein stated, and to the specifications and methods of test of the following organizations, of which the most recently published revision will govern:

ASTM - American Society for Testing and Materials ICEA - Insulated Cable Engineers Association IMSA - International Municipal Signal Association UL - Underwriters Laboratories

  - Acceptance. Cable not conforming to this specification will not be accepted.

  - Warranty. The contractor will be responsible for any cable failing during normal use within one (1) year after the date of acceptance by the City. The contractor shall provide material replacement of any failed cable. There shall be no cost to the City. All replacements must be made free of charge

F.O.B. delivery point of original contract.

  - Sample. If requested by the Chief Procurement Officer, a three (3) foot sample of the cable intended to be provided under this specification shall be submitted to the attention of the Engineer of Electricity within fifteen

(15) business days after receipt of such request.

### CABLE

- (a)  Construction. This cable shall consist of stranded copper conductors each concentrically encased with a "free stripping," ethylene propylene rubber (EPR) insulation. Suitable fillers shall be used to produce an essentially round cross-section. The insulated conductors and the fillers must be cabled with a suitable left-hand lay as close together as is consistent with forming a core of minimum diameter. A Mylar tape must be wrapped over the conductor assembly, and a chlorinated polyethylene (CPE) jacket applied overall. Cable shall meet the applicable requirements of ICEA S- 95-658.

  - Outer Diameter. The nominal outer diameter shall be .42 inches for the 4 conductor cable and .565 inches for the 8 conductor cable.

  - Insulation Colors. Identification shall be provided by colors in accordance with IMSA Standards.

  - Jacket Marking. The outer jacket shall be marked as follows: "4/C or 8/C

16 AWG 600V 90ºC CPE, name of manufacturer and date of manufacture. The height of letters must not be less than 1/8 inch in height and the message must repeat at approximately two (2) foot intervals. A sequential footage marking must be located on the opposite side of the jacket. All marking must be perfectly legible with permanent white ink. Similar markings will be acceptable. The cable shall meet the applicable requirements of ICEA S-58-679.

### CONDUCTOR

- (a)	Material. Round,	annealed, stranded copper wire in accordance with ASTM B-3 and B-8.

  - Size.  The stranded conductor must consist of 26/30 stranded wires twisted with an appropriate lay to form a No. 16 AWG conductor.

### INSULATION

- (a) Type. The insulation shall be an easily strippable thermosetting ethylene propylene rubber (EPR) or equal meeting or exceeding the requirements of ICEA S-95-658 and the additional requirements of this specification.

  - Rating. The insulation shall be rated for continuous duty at 90ºC in accordance with U.L. AWM Style 3400.

  - Thickness. The insulated conductor must be circular in cross-section, concentric to the conductor, with a nominal insulation thickness of 0.030 inches (30 mils).

### JACKET

- (a)	Type. The jacket shall be a thermosetting chlorinated polyethylene (CPE) or equal meeting the physical and electrical requirements specified herein.

  - Rating. The jacket shall be rated for continuous duty at 90º C.

  - Thickness. The jacket shall be circular in cross-section, concentric with the insulation. It shall have a nominal thickness of 0.060 inches (60 mils) for the 4 conductor cable and 0.080 inches (80 mils) for the 8 conductor cable.

### PACKAGING

- (a)  Reels. The completed cord shall be delivered on sound, substantial reels. The ends of the cable must be securely fastened so that they will not become loose during shipment and handling.

  - Footage. The number of feet per reel must be five hundred (500) feet plus or minus ten percent (+10%).

  - Marking. A metal tag, or an approved indelible marking material such as alkyd enamel paint, must be used to mark the reel. The marking information must include, but not be limited to, the following: reel number, contract number, a description of the cord, and the footage of that particular reel.

  - Sealing. Both ends of each length of cable must be thoroughly sealed to prevent the entrance of moisture or other foreign matter.

ELECTRICAL SPECIFICATION 1493 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED FEBRUARY 6, 2014

TRAFFIC SIGNAL: VEHICULAR, TWELVE-INCH SINGLE FACE, SINGLE OR MULTIPLE-SECTION, POLYCARBONATE, LED OR INCANDESCENT

- GENERAL REQUIREMENTS

  - This specification states the requirements for twelve-inch, single face, single and multiple-section, traffic signals with polycarbonate housings, using LED or incandescent light source, for use in the traffic control system of the City of Chicago. Units include red ball, yellow ball, green ball, red arrow, yellow arrow, green arrow, red bicycle, yellow bicycle, green bicycle, white vertical bar, and white horizontal bar.

  - Sample and Certified Test Reports. One complete signal, fully assembled and wired, of the manufacture proposed to be furnished, must be submitted along with the required certified test reports, within 15 business days upon request of the Chief Procurement Officer. The sample must be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - Standards. Equipment furnished under this specification shall meet the appropriate requirements of the following standards, as required within the body of this specification:

American Association of State Highway and Transportation Officials (AASHTO)

American Iron and Steel Institute (AISI)

American Society for Testing and Materials (ASTM) Institute of Transportation Engineers (ITE)

National Electrical Manufacturers Association (NEMA) Underwriters Laboratories (UL)

  - Approval. Approval will mean approval in writing by the Commissioner or his duly authorized representative.

  - Warranty. The manufacturer shall warrant the signals to meet the requirements of this specification, and shall warrant all equipment, components, parts and appurtenances against defective design, material and workmanship for a period of 3

years from date of delivery [date of acceptance for contract construction]. In addition, LED optical modules must carry a 7 year warranty against failure or loss of color (chromaticity) and signal brightness (luminance) below minimum acceptable ITE standard levels from date of delivery [date of acceptance for contract construction]. In the event defects or failures occur in the units during the warranty period, the manufacturer must replace all defective units, at no expense to the City. This warranty shall be evidenced by a letter or certificate of warranty submitted to the City at the time delivery is made. The warranty must cover all units delivered in an order or installed by contract, and must include unit serial numbers. The warranty must be signed and dated by an official of the manufacturer who is empowered by the manufacturer to enter into such a warranty.

### MATERIALS AND EQUIPMENT REQUIREMENTS

  - The traffic signal heads shall conform to ITE Standard "Vehicle Traffic Control Signal Heads" (VTCSH), in which the most recently published revision will govern.

  - Housing. The housing of each section must be one piece, ultraviolet stabilized polycarbonate resin of the specified color, injection molded complete with integral top, bottom, and sides, having a minimum thickness of 0.1 inch.

- The polycarbonate shall meet or exceed the following tests:

| TEST | REQUIRED | METHOD |
| --- | --- | --- |
| Specific gravity | 1.17 minimum | ASTM D 792 |
| Vicat Softening temp | 310-320º F | ASTM D 1525 |
| Brittleness temp. | -200º F | ASTM D 746 |
| Flammability | Self-extinguishing | ASTM D 635 |
| Tensile strength, yield | 8,500 PSI | ASTM D 638 |
| Elongation at yield | 5.5-8.5% | ASTM D 638 |
| Shear strength, yield | 5,500 PSI min. | ASTM D 732 |
| Izod impact strength | 12-16 ft-lbs/in. | ASTM D 256 |
| (notched, .125" thick) |  |  |
| Fatigue strength | 950 PSI min. | ASTM D 671 |
| (at 2.5 mm cycles) |  |  |

- Assembly. A traffic signal section shall be comprised of, but not limited to, the housing, hinged door, visor, optical unit and all necessary gaskets and hardware. The multi-section, single face, traffic signal shall be comprised of single face single sections assembled together, containing an internally mounted terminal block. Arrow indications must be shipped as single sections. The traffic signals shall be designed and constructed to permit sections to be assembled together, one above the other, forming a weatherproof and dust-tight unit.

- Individual sections shall be fastened together with a coupling washer

assembly composed of 2 washers, 3 zinc plated bolts, nuts, and lock washers which lock the individual sections together. As an alternative, individual sections may be fastened together with 4 cadmium plated bolts, lock washers, and nuts.

- Height. The overall height of an assembled traffic signal must be 14 inches

±1 inch for a single-section signal, 42 inches ±3 inches for a three-section signal, and 70 inches ±5 inches for a five-section signal.

- Mounting. The traffic signal shall be designed for mounting with standard traffic signal brackets using 1.5 inch pipe size fittings.

- Positioning Device. The top and bottom opening of each housing must have integral serrated bosses that will provide positive positioning of the signal head in 5˚ increments. A total of 72 teeth must be provided in the serrated bosses to allow the signal face to be rotated 360˚ about its axis. The teeth shall be clean and well defined to provide positive positioning.

- Hinges. The signal housing shall be sectional; one section for each optical unit. Each housing must have 4 integral hinge lugs, with stainless steel hinge pins (AISI 304 or equivalent), located on the left side for mounting the door. The hinge pins shall be straight and not protrude past the outside of the housing lugs. The housing must have 2 integral latching bolt lugs on the right side each with a stainless steel hinge pin to which a latching bolt (AISI 304 or equivalent), washer, and wing nut will be attached. The wing nuts must be captive. Each housing must be equipped with holes to be used for mounting backplates.

- Door. The door shall be a one piece ultraviolet stabilized polycarbonate resin of the specified color, injection molded complete with a minimum thickness of 0.1 inch. Two hinge lugs on the left side and 2 sets of latch screw jaws centered on the right side, as viewed from the front of the signal, must be integrally cast with the housing door. The door must be hinged to the housing with 2 stainless steel hinge pins, drive fitted. Two stainless steel latch screws and wing nut and washer assemblies on the latch side of the housing body shall provide for opening and closing the door without the use of tools. The door must have holes with threaded metal inserts for stainless steel machine screws to secure the visor and the lens. The inside of the door must be grooved to accommodate a one piece, air-cored ethylene propylene diene monomer (EPDM) gasket to provide a weatherproof and dust proof seal when the door is closed. The inside of the door must have 4 equally spaced threaded metal inserts for the lens attachment. The outside of the door must have an integral rim completely encircling the lens opening to prevent leakage between the door and the lens. The rim must have 4 equally spaced tabs around the circumference with threaded metal inserts for the visor.

- Visor. Each traffic signal shall have a visor for each signal indication (section). The visor shall be the tunnel type, 9.25 inches long, fabricated of ultraviolet stabilized polycarbonate resin of the specified color, injection molded. The visor shall fit tightly against the door and not permit any light leakage between the door and visor. All hardware necessary for, but not limited to, attachment of the visor must be of stainless steel. The visor must have 4 mounting lugs for attaching the visor to the door. Screws must go through the visor lugs into the metal inserts in the door to secure the visor.

  - The traffic signal heads shall be provided with incandescent or LED optical modules as specified in the line item [or Contract Plans].

    - INCANDESCENT OPTICAL UNITS

      - Incandescent Optical Unit. The incandescent optical unit consists of the lens, reflector and lamp holder. The optical unit and visor shall be designed as a whole so as to eliminate the return of outside rays entering the unit from above the horizontal (known as sun phantom). The optical unit shall be designed and assembled so that no light can escape from one indication to another.

      - Lenses. The red, green, and yellow polycarbonate lenses must be round with a nominal 12 inch diameter and shall conform to all requirements set forth under the heading "Traffic Signal Lenses" in the ITE standard. The red, green, and yellow arrow lenses must be round with a nominal 12 inch diameter and the outside surface must be covered, except for the arrow, with a dull or dark grey opaque material of a thickness sufficient to totally hide the light from a 2000-lumen lamp placed behind it operating at rated voltage. The opaque material shall be hard and durable and shall be bonded such that it will not peel or flake when subject to the heat of a signal lamp or when the lens is washed. The shape and size of the arrow shall meet ITE standards. The arrow shall appear uniformly illuminated when viewed from angles usually encountered in service, whatever may be the angular position of the lens in the signal section. The lens must be enclosed by an air-cored EPDM gasket providing a weather proof and dust proof seal between the lens, door, and reflector assembly. The gasketed lens must be secured to the housing door by 4 stainless steel screws (AISI 304 or equivalent) and clamps equally spaced around the lens opening. The door must have threaded metal inserts to receive the screws.

      - Reflector. The reflector shall be fabricated of high-purity, clad-type aluminum sheet formed to a parabolic shape and cut to fit in a circular polycarbonate, hinged frame for rigid mounting within the housing. The circular rim of the reflector shall be mounted in such a way as to seal the internal optical system by being compressed against the lens gasket when the signal door is closed. The reflecting surface must be an "ALZAK" class SI

specular finish having a minimum reflectivity of 82% and a protective oxide coating. The reflector must have an opening in the back to accommodate the lamp holder.

      - Lamp Holder. The lamp holder must have a heat, moisture, and weatherproof molded phenolic housing designed to accommodate a standard 133 watt, 3 inch light center length, incandescent lamp. The lamp holder shall be so designed that it can be readily rotated and positively positioned to provide proper lamp filament orientation and focus. The inner brass shell, or ferrule, of the lamp holder must have a grip to prevent the lamp from working loose due to vibration. A gasket must be furnished at the junction of the lamp holder and the reflector.

    - LIGHT EMITTING DIODE (LED) OPTICAL MODULES

      - Light emitting diode (LED) optical modules shall consist of an integral unit containing the following components: power leads, housing, matrix of light emitting diodes (LEDs) emitting monochromatic light of desired signal color, and electronic and electrical components necessary to permit operation at nominal 120 volt, 60 hertz power.

      - The LED module shall be of such dimensions as to permit mounting in any standard traffic signal housing, be interchangeable with incandescent optical units, and must include appropriate gasket for this purpose. Gasketing provided must provide a watertight seal meeting existing ITE standard for signal heads, and exclude the infiltration of moisture into either the signal housing or into the LED optical unit case.

      - The LED module shall meet the applicable requirements of the ITE standards for Vehicle Traffic Control Signal Heads (VTCSH) Part 2: LED Vehicle Signal Modules, for color (chromaticity), signal brightness (luminance), and beam spread (luminance at various vertical and horizontal angles).

      - Minimum brightness of LED signal units shall be in accordance with the luminous requirements in a standard testing procedure as defined by Section 4 of the VTCSH Part 2: LED Vehicle Signal Modules. During the required operating life of LED signal units, the luminance output of the units must not be less than 60% of the values specified in the standard.

      - The module indicator surface shall be constructed of ultraviolet (UV) stabilized, impact resistant polycarbonate, acrylic, or other approved material. The surface must be anti-glare, smooth texture, and clear.

      - Modules shall consist of LEDs uniformly distributed to present a homogeneous appearance on the indicator face from a wide viewing angle.

      - LEDs shall be wired so that the loss of a single LED or a string of LEDs will not reduce the luminescence below the minimum requirement.

      - For purposes of this specification, failure of a single unit is defined as an occurrence where the luminescence of the signal measured in candela in standard test procedures is less than the required initial luminance or luminance at time points and conditions specified; or where minimum required brightness is achieved, but 2 or more series strings of LEDs or in excess of 20% of LEDs are not operable.

      - Module power supply shall be constant current regulated and filtered to provide instant on indications, and to prevent momentary signal outages or flicker. Units must be fully operable over a range of 90 volts to 130 volts at 60 hertz ± 3 hertz.

      - Surge protection: Each module must be provided with integral surge protection to withstand transient of 600 volt, 100 microsecond rise and 1 millisecond pulse width. The surge protector shall provide full electrical and physical protection to all unit components.

      - Maximum permissible power consumption at ambient conditions (nominal 120 volts, 60 hertz, 70˚F.) must be 30 watts at a minimum 90% power factor. Power consumed must not vary by more than 10% from nominal power consumption over a voltage range of 105 volts to 125 volts, and over permissible environmental ranges.

      - Modules must be fully operable at temperature ranges of -40˚F. (-40˚C.) to

+165˚ F. (+74˚C.) at up to 100% relative humidity.

      - Modules shall be clearly marked on the back surface of the unit in a permanent manner showing information required for warranty and long term performance. Information to be shown must include manufacturer name, date of manufacture, electric power requirements, signal model type including color and indication type, and signal serial number.

      - The LED module shall be compatible with the traffic signal controller equipment currently in use by the City of Chicago, and meeting the City’s latest specifications for traffic signal control equipment. In particular the LED unit shall be compatible with the NEMA TS-1 and later traffic signal load switches and conflict monitors.

      - Modules shall meet applicable sections of Title 47, Sub-Part B, Section 15 of the Federal Communications Commission (FCC) rules as applies to electronic noise limitation and electromagnetic interference.

      - Total harmonic distortion (THD) induced into the voltage and current AC

power line sine waves must not exceed 20%.

      - LED modules must meet the requirements of VTCSH Part 2: LED Vehicle Signal Modules Section 6.3.1 for signal burn-in.

  - Wiring. Each lamp holder must be furnished with two (2) leads color coded as follows:

First Lead Wire:

White	Common

Second Lead Wire:

Red	Red Section

Yellow	Yellow Section

Green	Green Section

Green with Black Tracer	Green Arrow Section Yellow with Black Tracer	Yellow Arrow Section Red with Black Tracer	Red Arrow Section Green with White Tracer	Green Bicycle Section Yellow with White Tracer	Yellow Bicycle Section Red with White Tracer	Red Bicycle Section Any Other Colors	Bus Sections

The leads must be No. 18 AWG stranded copper wire rated at 600 volt, 105˚ C., with thermo-plastic insulation. The leads must connect to the terminal strip without being spliced. The ends of the leads must be stripped of 0.5 inches of insulation and tinned.

  - Terminal Strip. A dual-point, barrier type terminal strip with a solid base and pressure plate type connectors shall be securely attached at both ends to the housing body inside the "Green" section of the signal head, or other approved section within a multiple section head.

  - Cable. One 11 foot length of flexible electric cord, medium duty, type SO, No. 16 AWG stranded copper conductor, color coded, rubber insulated, neoprene jacketed, must be furnished with each signal head. The number of conductors must include a neutral and one leg for each section. Both ends of each cable length must be carefully stripped of 6 inches of jacket and 1 inch of insulation, and each conductor properly tinned.

  - Gaskets. Wherever necessary to make a completely dustproof, moistureproof and weatherproof assembly of the housing and optical system, approved type gaskets of neoprene or silicone rubber shall be provided.

### TESTING AND DOCUMENTATION REQUIREMENTS

  - Documentation. The contractor shall provide certified manufacturing and testing documentation to demonstrate that the traffic signals being supplied meet or exceed the specification requirements. All LED modules shall be tested by a nationally recognized testing laboratory (NRTL), such as Intertek (ETL division), to demonstrate compliance with the latest ITE VTCSH specification. All LED units shall have the testing laboratory’s label attached.

  - Inspection. The signals shall be subject to inspection at the request of the Commissioner. Final inspection shall be made at point of delivery. Any signal rejected shall be removed, disposed of, and replaced by the contractor at his sole cost.

### PACKAGING

  - Packing. Each traffic signal assembly shall be packed in a suitable carton so secured that the signal will not be damaged during shipment, handling or storage.

  - Marking. Each carton containing a traffic signal shall be clearly marked on the outside in letters not less than 3/8 inch tall with the legend: "TRAFFIC SIGNAL, TWELVE-INCH, POLYCARBONATE” or TRAFFIC SIGNAL, TWELVE INCH,

POLYCARBONATE, LED OPTICS” and the number of Sections as required, the color and indication types, the name of the manufacturer, the date of manufacture, the pertinent Contract Number and the appropriate City Commodity Code Number.

ELECTRICAL SPECIFICATION 1495 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED FEBRUARY 7, 2014

TRAFFIC SIGNAL MOUNTING BRACKET POLYCARBONATE, SIDE OF POLE

SCOPE

- This specification states the requirements for polycarbonate brackets designed for mounting traffic and pedestrian signal heads from the side of poles.

### GENERAL REQUIREMENTS

- (a) Sample and Certified Test Reports. One complete signal bracket of the manufacture proposed to be furnished, must be submitted along with the required certified test reports, within 15 business days upon request of the Chief Procurement Officer. The sample must be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - Standards. Equipment furnished under this specification must meet the appropriate requirements of the following standards, as required within the body of this specification:

American Association of State Highway and Transportation Officials (AASHTO)

American Society for Testing and Materials (ASTM) Institute of Transportation Engineers (ITE)

National Electrical Manufacturers Association (NEMA)

  - Approval. Approval will mean approval in writing by the Commissioner or his/her duly authorized representative.

  - Warranty. The manufacturer shall warrant the signal bracket to meet the requirements of this specification, and shall warrant all equipment, components, parts and appurtenances against defective design, material and workmanship for a period of 3 years from date of delivery [date of acceptance for contract construction].  In the event defects and failures

become apparent during this period, the manufacturer must replace the defective brackets at no expense to the City. This warranty must be evidenced by a letter or certificate of warranty submitted to the City at the time final delivery is made.

### MATERIAL

- (a)  The bracket must be one piece, ultra violet stabilized polycarbonate resin of the specified color, injection molded complete with integral top, bottom, and sides.

  - The polycarbonate formulation used must provide these physical properties (Tests may be performed on separately molded specimens).

| TEST | REQUIRED | METHOD |
| --- | --- | --- |
| Specific gravity | 1.17 minimum | ASTM D 792 |
| Vicat Softening temp | 310-320 F | ASTM D 1525 |
| Brittleness temp. | -200 F | ASTM D 746 |
| Flammability | Self-extinguishing | ASTM D 635 |
| Tensile strength, yield | 8,500 PSI | ASTM D 638 |
| Elongation at yield | 5.5-8.5% | ASTM D 638 |
| Shear strength, yield | 5,500 PSI min. | ASTM D 732 |
| Izod impact strength | 12-16 ft-lb/in. | ASTM D 256 |
| (notched, 1/8" thick) |  |  |
| Fatigue strength | 950 PSI min. | ASTM D 671 |
| (at 2.5 mm cycles) |  |  |

  - Glass. The polycarbonate may be glass impregnated to increase strength.

### POSITIONING DEVICE

- The top and bottom opening of the bracket must have integral serrated bosses that will provide positive positioning of the signal head in 5˚ increments to eliminate undesirable rotation or misalignment of the signal head between sections. A total of 72 teeth must be provided in the serrated bosses to allow the signal head to be rotated 360˚ about its axis. The teeth must be clean and sharp to provide positive positioning with the grooves of the signal head.

### HARDWARE

- The mounting brackets must be provided complete with 1 polycarbonate shim(.25 inches thick), one 1.5 inch chase nipple with rubber gasket, and 1 pinnacle cap with rubber gasket.

### DIMENSIONS

- The bracket must have nominal dimensions of 12 inches long, by 6 inches high, by 3 inches wide.

### WIRING SPACE

- The bracket must have an integral molded wireway with a minimum 1.5 inch diameter opening.

### DESIGN STRENGTH

- The bracket must be designed to support a 12 inch, single face, five-section, polycarbonate signal head.

### TESTING AND DOCUMENTATION REQUIREMENTS

- (a) Documentation. The contractor must provide certified manufacturing and testing documentation to demonstrate that the brackets being supplied meet or exceed the specification requirements.

  - Inspection. The brackets will be subject to inspection at the request of the Commissioner. Final inspection must be made at point of delivery. Any bracket rejected must be removed, disposed of, and replaced by the contractor at his sole cost.

### PACKAGING

- (a)	Each bracket must be packed in a suitable carton so secured that the bracket will not be damaged during shipment, handling, or storage.

  - Marking. Each carton containing brackets must be clearly marked on the outside in letters not less than 3/8 inch tall with the legend: "POLYCARBONATE SIGNAL BRACKET, SIDE OF POLE" the

appropriate City Commodity Code Number, the name of the manufacturer, the date of manufacture, and the pertinent contract number.

ELECTRICAL SPECIFICATION 1497 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED SEPTEMBER 25, 2006

ARTERIAL STREET LIGHTING CONTROLLER

SUBJECT

- This specification states the requirements for an arterial street lighting controller and aluminum cabinet for use in controlling arterial street lighting circuits. The cabinet shall be mounted on top of a ballast base housing, which will be affixed to a concrete foundation.

### GENERAL

- (a) Specifications. The controller shall conform in detail to the requirements herein stated, to the Federal Standard cited by number, and to the specifications and methods of test of the American Society for Testing and Materials, cited by ASTM Designation Number, in which the most recently published revision will govern. Cabinets must meet or exceed the requirements of a NEMA rating 3R and must be U.L. listed.

  - Acceptance. Controllers and cabinets not conforming to this specification will not be accepted.

  - Drawings. The drawings mentioned herein are drawings of the Department of Transportation, Division of Engineering, and must be interpreted as part of these specifications cooperating to state necessary requirements.

  - Sample. One complete controller in cabinet of the manufacture intended to be furnished must be submitted upon request of the Chief Procurement Officer within fifteen (15) business days after receipt of such a request. The sample must be delivered to the attention of the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - Warranty. The manufacturer shall warranty the controller and cabinet against flaws in material or workmanship for a period of two (2) years from the date of delivery. Any controller or cabinet developing flaws within this period must be replaced by the manufacturer, including shipment, at no cost to the City.

### DESIGN

- (a)  Drawings. The control cabinet must conform in detail to requirements shown on Drawing 876 for a 100 Amp application and to Drawing 880 for a 200 Amp application.

  - Material. The cabinet and the door assembly must be constructed of 5052- H32 sheet aluminum alloy, with a minimum thickness of .125 inches. The base plate must be sheet aluminum of .250 inch thickness. All electrical components and wiring must be as shown on the appropriate drawings.

  - Dimensions. The overall outside dimensions of the 100 amp control cabinet must be 36 inches in height by 20 inches in width by 15 inches in depth. The overall outside dimensions of the 200 amp control cabinet must be 41 inches in height by 25 inches in width by 16 inches in depth. Cabinets must have sloped tops to shed water.

### CABINET REQUIREMENTS

- (a) Cabinet. The cabinet must be sized as shown on either Drawing 876 or Drawing 880, depending on the controller amp rating. The cabinet door opening must be double flanged on all four (4) sides. A door restraint must be provided to prevent the door from moving in windy conditions.

  - Door. The door size must be a minimum of 80% of the front surface area. The door must be hinged on the right side when facing the cabinet. The door must have a gasket that meets the requirements found in U.L.508 Table 21.1. The gasket must form a weather-tight seal between the cabinet and the door. The door, when closed, must be flush with the cabinet.

  - Hinges. Hinges must be continuous and bolted to the cabinet and door with 1/4-20 stainless steel carriage bolts and nylock nuts. Hinges must be made of

.093 inch thick aluminum. The hinge leaves must not be exposed externally when the door is closed. Only the hinge knuckles must be visible upon closing the door. The hinge pin must be .250 inch diameter stainless steel and must be capped top and bottom by weld to render it tamper-proof.

  - Latching. The latching mechanism must be a three-point draw roller type. The pushrods must be aluminum. The rollers must be nylon with a minimum diameter of .875 inches. The center catch must be .187 inch aluminum, minimum.

  - Handle. The handle must be stainless steel with a .750 inch diameter shank. The handle must have provision for a padlock. The lock must be keyed dead bolt #200725 or equivalent. Two (2) keys must be provided for each cabinet.

Electrical Specification 1497

Page 3

  - Ventilation. Louvered vents must be provided in the door. Louvers must satisfy the NEMA rod entry test for 3R enclosures. A removable filter must cover the louvers from inside the door. The filter must be held firmly in place with top and bottom brackets and a springloaded clamp. Exhaust air must be vented out between the top of the cabinet and the door. The exhaust area must be screened with openings of .12 inch by 1.0 inch.

  - Equipment Mounts. The cabinet must be equipped with two (2) adjustable

C channels on both side walls and on the back wall. The internal dimensions of the channels must be 1.075 inches high by .625 inches wide. All mounting hardware must be furnished.

  - Workmanship. All control cabinets must be free of flaws, and must have neat, smooth exterior surfaces. All holes must be accurately located and drilled. All welds must be neatly formed and free of cracks, blow holes, or other irregularities. All inside and outside edges must be free of burrs.

  - Painting. The cabinet, door and other parts must be treated by an iron phosphate conversion technique. After which, all the parts must be baked dry. A polyester powder coat must then be applied. The inside of the cabinet and door must be white. The outside of the cabinet and door must be green meeting No. 14110 of Federal standard Number 595, or a gloss black, or another color as specified. A paint chip must be provided upon request. If the cabinet is not required to be painted, the cabinet will be left in a natural aluminum condition.

### PANEL

- (a)  The panel must be composed of phenolic plastic ½ inch in thickness, or an approved equal. It must be securely bolted to the cabinet using stainless steel hardware.

  - The panel will be sized, cut, and drilled as shown on the appropriate standard drawing. For a 100 amp – 2 pole controller, the panel must comply with Drawing 883. For a 200 amp – 2 pole controller, the panel must comply with Drawing 884. For a 100 amp – 3 pole controller, the panel must comply with Drawing 887. For a 200 amp – 3 pole controller, the panel must comply with Drawing 886. If alternate components are proposed, the panels must be sized accordingly.

### ELECTRICAL COMPONENTS

- (a)  All components will be as indicated on the appropriate drawing, or will be approved equals. Circuit breakers must have thermal magnetic trips. Each breaker must be enclosed in a hard insulated housing. All breakers must be UL listed. The photo-cell relay, if required, must meet City specifications.

  - Wiring will be as indicated on the appropriate drawing. All wire will have stranded copper conductors, unless indicated otherwise. All wires must be insulated with an approved 125º Centigrade insulation.

  - For a 3-wire, 1-phase, 240 volt ComEd input, components and wiring will be as indicated on Standard Drawing 862 (for either 100 amp or 200 amp service). For a 2-wire, 240 volt ComEd input, components and wiring will be as indicated on Standard Drawing 863 ( for 100 amp service only). For a 4- wire, 3-phase, 120/208 volt ComEd input, components and wiring will be as indicated on Standard Drawing 864 ( for either 100 amp or 200 amp service).

ELECTRICAL SPECIFICATION 1526 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JUNE 12, 2014

HELIX FOUNDATIONS

SUBJECT

- This specification covers the requirements for steel helix foundations. These foundations may be used to support street light poles for both residential and arterial streets. They may also be used to support aluminum traffic signal posts. They may not be used for any combination poles that support both street lighting and traffic signals, or any traffic signal poles that support monotube arms.

### GENERAL

- (a)  Specifications. The foundations must conform in detail to the requirements herein stated and to the specifications and methods of test of the American Society for Testing and Materials cited by ASTM Designation Number of which the most recently published revision will govern.

  - Acceptance. Foundations not conforming to this specification will not be accepted.

  - Drawings. The drawings mentioned herein are drawings of the Department of Transportation. They are integral parts of this specification cooperating to state necessary requirements.

  - Bidders Drawings. The apparent low bidder must submit detailed scale drawings of the foundations showing actual dimensions, details, and welds, if so requested. Shop drawings must be original engineering drawings created by the manufacturer. The drawings must give every dimension necessary to show how the foundation will function and how the pole or post will be mounted. These drawings must be submitted in electronic format, preferably MicroStation 95, if requested by the City.

  - Sample. One complete foundation of each size and of the manufacture intended to be furnished must be submitted within fifteen (15) business days upon request of the Chief Procurement Officer.

  - Warranty.	The	manufacturer	must	warrant	the	performance	and

construction of the foundations to meet the requirements of this specification and must warrant all parts, components, and appurtenances against defects due to design, workmanship, or material developing within a period of three years after the foundations have been delivered. This will be interpreted particularly to mean structural or mechanical failure of any element or weld, or failure of any portion of the galvanizing system. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made and the Commissioner’s decision will be final.

### DESIGN

- (a)	Material. Steel must meet or exceed the requirements of ASTM A36. The shaft may be ASTM A53 Grade B, ASTM A252 Grade 2 or ASTM A36.

  - Dimensions. Each foundation must be dimensioned as shown on Standard Drawing 936. There are three types of foundations; a five foot foundation with a 13 inch bolt circle for three anchor bolts, a five foot foundation with a ten inch bolt circle for four anchor bolts, and a seven foot foundation with a ten to fifteen inch bolt circle for four anchor bolts.

  - Construction. Each foundation must have a shaft .250 inches thick with an outside diameter of 8-5/8 inches. The base plate must be 1 inch thick. The shaft must extend 1 inch into the base plate and be circumferentially welded top and bottom. The base plate must be even and flat on top with no sharp edges. The top of the base plate must be clearly and permanently marked to indicate the cableway orientation. The helix screw plate must be fabricated from a 3/8 inch thick 14 inch diameter circle of steel formed to a 3 inch pitch. The pilot point must extend 9 inches below the screw plate. The leading end of the pilot must be rounded, diamond shape, or chisel shaped. The pilot point must be welded concentric with the axis of the foundation. The cableways must be 3 inches wide by 18 inches long and be located as indicated on Standard Drawing 936. There must be no sharp edges on the cableway openings.

After fabrication, the complete foundation must be hot dipped galvanized in accordance with the provisions of ASTM A123, Grade B. This requires a zinc coating equal to 2 ounces per square foot. Touch up of small areas using a cold zinc rich coating or a cold galvanized coating is not permitted.

### WELDING

- (a) Standards. Every weld must be made in conformity with the American Welding Society. Each bidder must submit with his proposal a drawing showing the sizes and types of welds, must state the type of electrode, and

must describe the welding methods he proposes to employ in fabricating the foundations.

  - Testing. The welds must be inspected for penetration and soundness by the magnetic particle inspection method or by radiography. If the magnetic inspection process is used, the dry method with direct current must be employed.

### TESTING

- (a)	The foundations must be capable of withstanding 10,000 foot-pounds of torque applied about the main axis.

  - The manufacturer must certify the type of steel used to form the foundations.

  - The manufacturer must certify that the welds have been properly tested.

### PACKAGING

- (a)  General. The foundations must be packaged so as not to incur any damage during shipping and unloading. Materials such as lumber (2"x4" min.), non-marring banding, and other appropriate bundling materials must be used to make a rigid, long lasting, bundle capable of being handled, shipped and stored without shifting or breaking of the contents. Each bundle must be capable of being lifted by a forklift truck and the bundles must be shipped in a flat bed truck to facilitate unloading.

  - All foundations will be delivered to the Division of Electrical Operations storage yard at 1539 South Ashland Avenue in Chicago, or to another location within the City as indicated on the order.

ELECTRICAL SPECIFICATION 1528 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JUNE 6, 2014

PRECAST CONCRETE STRUCTURES

SUBJECT

- This specification covers the requirements for precast concrete structures to be used for City of Chicago electrical facilities. The structures will include manholes, handholes, and street light pole foundations.

### GENERAL

- (a) Specifications. The precast structures must conform in detail to the requirements herein stated and to the specifications and methods of test of the American Society for Testing and Materials cited by ASTM Designation Number of which the most recently published revision will govern.

  - Acceptance. Precast structures not conforming to this specification will not be accepted. The Commissioner of Transportation or his representative will be the sole judge in determining if the precast structures meet this specification. The Commissioner’s decision will be final.

  - Drawings. The drawings mentioned herein are drawings of the Department of Transportation. They are integral parts of this specification cooperating to state necessary requirements.

  - Bidders Drawings. The apparent low bidder must submit detailed scale drawings of the precast structures showing actual dimensions and details, if so requested. Shop drawings must be original engineering drawings created by the manufacturer. The drawings must give every dimension necessary and show how the structure is assembled.

  - Sample. One complete precast structure of each item must be submitted within fifteen (15) business days upon request of the Chief Procurement Officer.

  - Warranty. The manufacturer must warrant the performance and construction of the precast structures to meet the requirements of this specification and must warrant all parts, components, and appurtenances against defects due to

design, workmanship, or material developing within a period of one (1) year after the precast structures have been delivered. This will be interpreted particularly to mean structural failure of any element. The warranty must be furnished in writing guaranteeing material replacement including shipment, free of charge to the City. The Commissioner will be the sole judge in determining which replacements are to be made. The Commissioners decision will be final.

### DESIGN

- (a)  Material. Concrete must be Portland cement concrete, Class SI or PC, meeting current IDOT specifications. Pulling irons in manholes must meet or exceed the requirements of ASTM A36 steel. Pulling irons must be hot dipped galvanized. Steel reinforcing bars must meet or exceed the requirements of ASTM A615, Grade 60. Cable supports in manholes, including stanchions and racks, must be manufactured for that specific purpose. Stanchions must be non-metallic and must be capable of accommodating several different sizes of cable hooks at various elevations. A minimum of eight cable hooks, 4 inches in length, must be provided with each manhole, and should include any hardware necessary to affix the hooks to the racks. Cable hooks for handholes must be manufactured for that specific purpose. Cable hooks for handholes must be a minimum of 3 inches in length and 3 inches in depth. Anchor rods in foundations must meet the latest Electrical Material Specification 1467. Conduit elbows in foundations must meet the latest Electrical Material Specification 1462.

  - Foundations must include conduit elbows, anchor rods, washers, and nuts. The 7 foot foundation must include a 6 foot re-bar cage. Handholes must include cable hooks. Manholes must include cable racks, pulling irons, and cable hooks. Each manhole and each handhole must have lifting anchors cast in the concrete to facilitate shipment and installation. If the manhole or handhole is in more than one piece, instructions for assembly must be provided. Also, a sufficient amount of bonding agent must be provided. The bonding agent must be approved material. Frames and covers, sump grates, clay tile, and ground rods are not included under this specification.

  - Dimensions of Manholes and Handholes. Each manhole or handhole must be dimensioned as shown on the appropriate standard drawing. The 30 inch diameter handhole is Standard Drawing 867. The 36 inch diameter handhole for 24 inch frame and cover is Standard Drawing 866. The 36 inch diameter for 30 inch for frame and cover is Standard Drawing 871. The 3 foot by 4 foot by 4 foot manhole for a 24 inch diameter frame and cover is Standard Drawing 730. The 3 foot by 4 foot by 4 foot manhole for 30 inch frame and cover is Standard Drawing 729. The 4 foot by 6 foot by 6 foot manhole for 24 inch frame and cover is Standard Drawing 732. The four foot by 6 foot by 6 foot manhole for 30 inch frame and cover is Standard Drawing 733. The 5

foot 4 inch by 7 foot 4 inch manhole roof is Standard Drawing 733.

- Dimensions of Grade Rings. Grade rings shall be in four different dimensions. The 39 inch outside diameter ring shall have a 24 inch diameter opening and shall come in both 2 inch and 4 inch thicknesses. The 45 inch outside diameter ring shall have a 30 inch diameter opening and shall also come in both 2 inch and 4 inch thicknesses.

- Dimensions of foundations. The residential street light foundation shall be dimensioned as shown on standard drawing 565. The 7 foot arterial street light foundation shall be as shown on standard drawing 818.

### DELIVERY

- All manholes, handholes, and foundations will be delivered to the Division of Electrical Operations storage yard at 1539 South Ashland Avenue in Chicago, or to another location within the City as indicated on the order. Any manhole, handhole, or foundation deemed to be defective by the Commissioner or his representative must be removed and replaced at no cost to the City. The Commissioner’s decision will be final.

### NON-METALLIC CONDUIT

SCOPE

- This specification states the requirements for both rigid and coilable non- metallic conduit. The conduit will be used for low voltage (600 volt rated cables) electrical street lighting and traffic control systems. It may also be used for fiber-optic communications cables. This conduit will be installed underground. Rigid non-metallic conduit may be installed on structure.

### GENERAL

- (a)	Standards. The following standards are referenced herein.

ASTM – American Society for Testing and Materials NEC – National Electrical Code

NEMA – National Electrical Manufacturer’s Association UL – Underwriter’s Laboratories

  - Warranty. The manufacturer must warrant the conduit against defective workmanship and material for a period of one year from date of installation or date of delivery. Any conduit that is found to be defective must be replaced without cost to the City.

  - Sample. If requested by the Chief Procurement Officer, a sample of the conduit intended to be furnished under this specification, must be submitted to the Engineer of Electricity within fifteen (15) business days upon receipt of such request.

### MATERIAL

- (a)	Rigid non-metallic conduit will be made of polyvinyl chloride (PVC). All conduit and fittings must comply with ASTM D 1784 and with the applicable sections of NEMA TC2, UL standard 651, and NEC Article

352. Fittings must meet the standards of NEMA TC3 and TC6, as well as UL 514.

  - Coilable non-metallic conduit will be made of high-density polyethylene (HDPE). All conduit must comply with ASTM D3350 and NEMA TC7.

  - A tape must be installed in the HDPE conduit at the factory. The tape is for pulling cable through the conduit. The tape must be specifically manufactured for this purpose. The tape must have a tensile strength of at least 1000 pounds.

### SIZES

- (a)	PVC and HDPE will come in two wall thicknesses: schedule 40 and schedule 80.

  - PVC will come in ten-foot sections. HDPE will come on reels.

  - Nominal inside diameters (in inches) for non-metallic conduits will include the following: ½, ¾, 1, 1 ¼, 1 ½, 2, 2 ½, 3, 3 ½, 4.

### PACKING

- Rigid conduit must be shipped in bundles. Coilable conduit must come on wooden reels. Both bundles and reels must be tagged to indicate the size and diameter of the conduit, the quantity in feet, the weight, and the manufacturer’s name. The conduit itself must be marked to indicate the type and size, as well as the manufacturer.

### CABLE: SINGLE-CONDUCTOR, COPPER 600 VOLT

SUBJECT

- This specification states the requirements for single conductor cables intended to be used in 240 VAC street lighting circuits. The cable will also be used as service cable for both street light controllers and traffic signal controllers. The cables will be installed in underground conduit and rated as 600 volt.

### GENERAL

- (a)  Specifications. The cable shall conform in detail to the requirements herein stated, and to the applicable portions of the latest revisions of the specifications and methods of test of the following agencies:

  - ASTM – American Society for Testing and Materials

  - ICEA – Insulated Cable Engineers Association

  - IEEE – Institute of Electrical and Electronics Engineers

  - UL – Underwriters Laboratories

- Acceptance. Cable not in accordance with this specification will not be accepted.

- Sample. If requested by the Chief Procurement Officer, a three (3) foot sample of the cable intended to be provided under this specification must be sent to the attention of the Engineer of Electricity within fifteen (15) days of receipt of such request.

- Warranty. The contractor will be responsible for any cable failing during normal use within one (1) year after the date of acceptance by the City. The contractor shall provide material replacement of any failed cable. There shall be no cost to the City. All replacements must be made free of charge F.O.B. delivery point of the original contract.

### CABLES

- (a)	Construction. The cable shall consist of a copper conductor with a tight fitting thermoset, free stripping, concentric layer of insulation.

- The outer diameter of the cable shall be as noted in Table A.

- Cable shall be UL approved for sunlight resistance and for direct burial applications.

- Cable must meet IEEE 383 and UL 1581 70,000 BTUs per hour flame test requirements.

### COLOR CODE

- (a)	Triplexed cable shall consist of a black cable, a red cable, and a green ground cable. Triplexed cable will have a 16” to 18” lay.

(b)	Individual cables will be black, red, or white, depending upon the order.

### CONDUCTOR

- (a)	Material. The conductors shall be bare annealed copper. All strands shall be round.

- Specifications. The conductor must meet the requirements of ASTM B3 and ASTM B8.

- Sizes. The conductor sizes must be in accordance with all requirements in Table A of this specification.

- Stranding. The number of strands must be as indicted in Table A. Stranding must meet the requirements of ASTM B8, Class B or Class C.

### INSULATION

- (a) Type. The insulation shall be either ethylene propylene rubber compound (EPR) or irradiated cross-linked polyolofin (XLPO) meeting the requirements of ICEA S-95-658 and UL 44 for RHW-2 cable and UL 854 for USE-2 cable.

- Thickness. The insulation shall be circular in cross-section, concentric to the conductor, and must have an average thickness not less than that set forth in Table A of this specification, and a spot thickness not less than ninety percent (90%) of the average thickness.

Electrical Specification 1534

Page 3

- Cable Marking. The cable shall be identified by a permanently inscribed legend in white lettering as follows:

1/C No. (conductor size) AWG-600V-90oC-EPR or XLPO-RHW-2

A similar marking may be acceptable. The legend must be repeated at approximately eighteen (18) inch intervals on the outside surface of the cable parallel to the longitudinal axis of the conductor. A sequential footage marking must be located on the opposite side from the legend.

### PACKAGING

- (a)  Reels.  The completed cable must be delivered on sound substantial, non-returnable reels. Both ends of each length of cable must be properly sealed against the entrance of moisture and other foreign matter by the use of clamp-on cable caps. The ends must be securely fastened so as not to become loose in transit. Before shipment, complete 2 X 4 lagging must be applied to all reels.

  - Footage. Each reel must contain the length of cable as set forth in Table A of this specification. Alternate lengths may be considered.

  - Reel Marking. A metal tag must be securely attached to each reel indicating the reel number, contract number, date of shipment, gross and tare weights, the appropriate City commodity code if applicable, and a description of the cable. Also, each reel must have permanent marking on it indicating the total footage, and the beginning and ending sequential footage numbers.

TABLE A

CONDUCTOR		INSULATION	A-C TEST	REEL	OVERALL THICKNESS		LENGTH	DIAMETER

| AWG | STRANDS | MILS | VOLTS | FEET | INCH |
| --- | --- | --- | --- | --- | --- |
| 14 | 7 | 45 | 5500 | 2000 | .133 |
| 12 | 7 | 45 | 5500 | 2000 | .152 |
| 10 | 7 | 45 | 5500 | 2000 | .176 |
| 8 | 7 | 60 | 5500 | 2000 | .236 |
| 6 | 7 | 60 | 5500 | 2000 | .274 |
| 4 | 7 | 60 | 5500 | 2000 | .322 |
| 2 | 7 | 60 | 5500 | 1000 | .382 |
| 1/0 | 19 | 80 | 7000 | 1000 | .470 |
| 2/0 | 19 | 80 | 7000 | 1000 | .514 |
| 3/0 | 19 | 80 | 7000 | 1000 | .564 |
| 4/0 | 19 | 80 | 7000 | 1000 | .620 |
| 250 MCM | 37 | 95 | 8000 | 1000 | .705 |

ELECTRICAL SPECIFICATION 1537 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JULY 5, 2023

CABLE: TRAFFIC SIGNAL, MULTIPLE CONDUCTOR, COPPER WIRE, 600 VOLT

SUBJECT

- This specification states the requirements for a multiple conductor cable to be installed in underground conduits and used to distribute electrical energy to operate automatic traffic control signals for both vehicular and pedestrian traffic at street intersections. The cable will be used between the traffic controller cabinet and the junction boxes on the traffic signal poles. The cable will be rated at 600 volts.

### GENERAL

- (a)	Specification. The cable shall conform in detail to the requirements herein stated, and to the specifications and methods of test of the following:

ASTM - American Society for Testing and Materials ICEA - Insulated Cable Engineers Association

IEEE	- Institute of Electrical and Electronic Engineers UL	- Underwriters Laboratories

  - Acceptance. Cable not conforming to this specification will not be accepted.

  - Sample. If requested by the Chief Procurement Officer, a three (3) foot sample of the cable intended to be furnished under this specification must be submitted to the attention of the Engineer of Electricity within fifteen

(15) business days of receipt of such request.

  - Warranty. The contractor shall warrant the cable to be first class material throughout. The contractor will be responsible for any cable failing during normal use within one (1) year after the date of acceptance by the City. The contractor shall provide material replacement of any failed cable. There shall be no cost to the City. All replacements under this warranty must be made free of charge F.O.B. delivery point of the original contract.

### CABLES

- (a)	Construction. The cable shall consist of copper conductors each concentrically encased with a free- stripping, low smoke irradiated cross- linked polyethylene insulation (XLPE). Suitable fillers must be used to produce an essentially round cross-section. A Mylar tape must be wrapped over the conductor assembly, and a low smoke zero halogen (LSZH) polyolefin (PO) jacket applied overall.

  - Outer Diameter. The maximum allowable outer diameter for round cables must be as follows:

No. Of Conductors	Outer Diameter

(inches)

Ten	0.69

Nineteen	0.90

  - Cable shall be UL approved for sunlight resistance and for direct burial applications.

  - Cable must meet IEEE 383 and UL 1581 and UL1202 70,000 BTUs per hour flame test requirements.

### COLOR CODE

- Conductor identification must be provided by color synthetic-resin coverings, or an approved equal. Table A sets forth the color code for the various conductor arrangements.

### CONDUCTOR

- (a)		Material. Solid, annealed, bare copper wire, meeting the requirements of ASTM B-33 and B-258.

  - Size.  Cables must be made up of conductor sizes as set forth in this specification. The Number 14 AWG will be solid.

### INSULATION

- (a)	Type. The insulation shall be an irradiated low smoke cross-linked polyethylene compound (XLPE) meeting the requirements of ICEA S-73- 532 and UL 44 for XHHW-2 cable.

  - Thickness. The insulation must be circular in cross-section and have the following minimum thicknesses.

| Conductor Size. AWG | stranding (No. Of Wires) | No. of Conductors | Insulation Thickness (mils) |
| --- | --- | --- | --- |
| #14 | 1 | 10 | 30 |
| #14 | 1 | 19 | 30 |

### CABLE TAPE

- The assembled and cabled conductor core must be wrapped with a one mil (0.001 inch) thick Mylar tape allowing a minimum of ten percent (10%) overlap.

### JACKET

- (a)	Material. The jacket must be a thermoset low smoke zero halogen (LSZH) polyolefin (PO).

  - Workmanship. The jacket must have a smooth exterior surface free from holes, cracks, and splits, and must be tough, elastic, homogeneous in composition, and properly vulcanized.

  - Thickness. Thickness of the jacket must be 4/64 inches. Minimum thickness must be not less than ninety percent (90%) of the average thickness.

  - Cable Marking. Outer Jacket must be embossed or printed with the manufacturer’s name, year of manufacture, insulation and jacket materials, conductor number, conductor size, at approximately 18" intervals. Similar markings will be acceptable. On the side opposite, the cable must be sequentially marked in one (1) foot increments. The jacket must be black.

### PACKAGING

- (a)	Reels. The completed cable must be delivered on sound substantial, non- returnable reels. Both ends of each length of cable must be properly sealed against the entrance of moisture and other foreign matter by the use of clamp-on cable caps. The ends must be securely fastened so as not to become loose in transit. Before shipment, complete 2 x 4 lagging must be applied to all reels.

  - Footage. Each reel must contain the length of cable as set forth below.

    - Ten-Conductor	2000 feet

    - Nineteen-Conductor	1000 feet

  - Marking. A metal tag must be securely attached to each reel indicating the reel number, contract number, date of shipment, gross and tare weights, the appropriate City commodity Code Number if applicable, and a description of the cable. Also, each reel must have permanent marking on it indicating the footage of cable contained in the reel. Indelible ink or other such material susceptible to washing off or fading will not be permitted; and approved permanent marking material such as paint or a securely attached metal tag is required.

TABLE A	COLOR CODE CONDUCTOR IDENTIFICATION

| Base Color | First Tracer | Second Tracer | 10 | 19 |
| --- | --- | --- | --- | --- |
| White | Black | Red | -- | 14 |
| White | Red | Green | -- | 14 |
| Black | -- | -- | 14 | 14 |
| White | -- | -- | 14 | 14 |
| Red | -- | -- | 14 | 14 |
| Green | -- | -- | 14 | 14 |
| Orange | -- | -- | 14 | 14 |
| Blue | -- | -- | 14 | 14 |
| White | Black | -- | -- | -- |
| Red | Black | -- | 14 | 14 |
| Green | Black | -- | 14 | 14 |
| Orange | Black | -- | 14 | 14 |
| Blue | Black | -- | 14 | -- |
| Black | White | -- | -- | -- |
| Red | White | -- | -- | 14 |
| Green | White | -- | -- | 14 |
| Blue | White | -- | -- | 14 |
| Orange | White | -- | -- | 14 |
| White | Red | -- | -- | -- |
| Blue | Orange | -- | -- | 14 |
| Red | Blue | -- | -- | 14 |
| Green | Blue | -- | -- | 14 |
| Orange | Blue | -- | -- | 14 |

REINFORCING ROD FORMED STEEL CAGES

SUBJECT

- This specification is for steel cages. The cages are to be used in street light pole foundations to provide the necessary strength to support street light poles.

### DESCRIPTION

- (a)  The steel must conform to the requirements of the American Society for Testing and Materials cited by ASTM designation number, of which the latest revision will govern.

  - The steel cages must conform to all the requirements shown on Electrical Standard Drawing 793A.

  - The steel cages must be constructed of number 3 and number 6 reinforcing bars, as shown on Electrical Standard Drawing 793A. Reinforcing steel must conform to ASTM A615, Grade 60, with a yield strength of 60,000 psi. All joints must be welded according to the latest recommendations of the American Welding Society’s (AWS) Document 1.4.

### ACCEPTANCE

- If so requested, a sample cage must be delivered to the City within fifteen

(15) business days of such request by the Chief Procurement Officer. The contractor must present certification that the steel used meets this specification. The City reserves the right to reject any cages which do not completely meet this specification.

### DELIVERY

- The Contractor must furnish and deliver the steel cages to the City of Chicago, Department of Transportation, Division of Electrical Operations, 4101 South Cicero Avenue, Chicago, Illinois 60650, or to a location as directed in the contract. Any cages that do not meet the specification or are delivered damaged will be rejected.

### TRAFFIC SIGNAL: OPTICALLY PROGRAMMED, TWELVE-INCH SINGLE FACE, SINGLE OR MULTIPLE-SECTION, LED

SUBJECT

- This specification states the requirements for optically programmed, twelve-inch, single face, single and multiple-section, electric traffic signals with aluminum housings for use in the traffic control system of the City of Chicago. Indications shall include red, yellow, green, yellow arrow, and red arrow.

### GENERAL REQUIREMENTS

- (a)  Sample and Certified Test Reports. One complete signal, fully assembled and wired, of the manufacture proposed to be furnished, must be submitted along with the required certified test reports, within 15 business days upon request of the Chief Procurement Officer. The sample must be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - Standards. Equipment furnished under this specification shall meet the appropriate requirements of the following standards, as required within the body of this specification:

American Association of State Highway and Transportation Officials (AASHTO)

American Iron and Steel Institute (AISI)

American Society for Testing and Materials (ASTM) Institute of Transportation Engineers (ITE)

National Electrical Manufacturers Association (NEMA) Underwriters Laboratories (UL)

  - The traffic signal heads shall conform to ITE Standard "Vehicle Traffic Control Signal Heads" (VTCSH), in which the most recently published revisions will govern.

  - Approval. Approval will mean approval in writing by the Commissioner or

his duly authorized representative.

### HOUSING REQUIREMENTS

- (a) Housing. The housing of each section shall be one piece, cast aluminum, complete with integral top, bottom, and sides. The aluminum die casting material shall meet or exceed the ITE alloy composition and tensile strength requirements. The housing shall be prepared with chromate treatment primer and painted with two coats of enamel in color as specified in the line item or contract plans.

  - Assembly. A traffic signal section shall be comprised of, but not limited to, the housing, hinged front and rear doors, visor, optical unit and all necessary gaskets and hardware. The multi-section, single face, traffic signal shall be comprised of single face single sections assembled together, containing an internally mounted terminal block. Arrow indications must be shipped as single sections. The traffic signals shall be designed and constructed to permit sections to be assembled together, one above the other, forming a weatherproof and dust-tight unit. Each housing must be equipped with holes to be used for mounting back-plates.

  - Individual sections shall be fastened together with adjustable coupling assemblies which lock the individual sections together. The assembly must allow the incremental tilting of the signal faces ±10% from horizontal while maintaining a common vertical axis for the sections.

  - Height. The overall height of an assembled traffic signal must be 14 inches

±1 inch for a single-section signal, 42inches ±3 inches for a three-section signal, and 70 inches ±5 inches for a five-section signal.

  - Mounting. The traffic signal shall be designed for mounting with standard traffic signal brackets using 1.5 inch pipe size fittings.

  - Positioning Device. The top and bottom opening of each housing must have integral serrated bosses that will provide positive positioning of the signal head in 5˚ increments. A total of 72 teeth must be provided in the serrated bosses to allow the signal face to be rotated 360˚ about its axis. The teeth shall be clean and well defined to provide positive positioning.

  - Hinges. The signal housing shall be sectional; one section for each optical unit. Each housing must have 4 integral hinge lugs, with stainless steel hinge pins (AISI 304 or equivalent), located on the left side for mounting the front door and on the right side for the rear door. The hinge pins must be straight and not protrude past the outside of the housing lugs. The housing must have 2 integral latching bolt lugs on the right side of the front door and 1 bolt lug on the left side of the rear door. Each closure must consist of a stainless steel

hinge pin to which a latching bolt (AISI 304 or equivalent), washer, and wing nut will be attached. The wing nuts must be captive and must provide for opening and closing the door without the use of tools.

  - Front and Rear Doors. The doors shall be one piece die cast aluminum construction. The front door shall house the objective lens and allow access to the optical-limiter diffuser. Two hinge lugs on the left side and 2 sets of latch screw jaws centered on the right side, as viewed from the front of the signal, must be integrally cast with the housing front door. The front door shall be prepared with chromate treatment primer and painted with 2 coats of flat black enamel. The rear door shall allow access to the lamp. Two hinge lugs on the right side and 1 set of latch screw jaws centered on the left side, as viewed from the rear of the signal, must be integrally cast with the housing rear door. The rear door shall be prepared with chromate treatment primer and painted with 2 coats of enamel in color matching the signal housing. The doors must be hinged to the housing with 2 stainless steel hinge pins, drive fitted. The inside of the doors must be grooved to accommodate a one piece, air-cored ethylene propylene diene monomer (EPDM) gasket to provide a weatherproof and dust proof seal when the door is closed.

  - Gaskets. Wherever necessary to make a completely dust-proof, moisture- proof and weatherproof assembly of the housing and optical system, approved type gaskets of neoprene or silicone rubber shall be provided.

  - Visor. Each traffic signal shall have a visor for each signal indication (section). The visor must be the cutaway type, a minimum 9 inches long, fabricated of sheet aluminum, prepared with chromate treatment primer and painted with 2 coats of flat black enamel. The visor shall fit tightly against the front door and not permit any light leakage between the door and visor. All hardware necessary for attachment of the visor must be of stainless steel. The visor must have four mounting lugs for attaching the visor to the door. Screws must go through the visor lugs into the metal door to secure the visor.

### OPTICAL UNITS

- (a)  The traffic signal heads shall be provided with 12 inch acrylic Fresnel lenses colored to ITE specifications. A smaller clear objective lens shall be mounted behind the Fresnel lens. Masked off portions of the clear lens will control the direction of light. A masking kit shall be provided with each individual head section. Masking shall provide a selectively visible or veiled projected indication anywhere within 15˚ of the signal optical axis.

  - An LED lamp shall be held in a 3-prong base by a wire ring and a spring load clip.

  - Lamp Collar. The lamp housing must consist of an integral lamp support, indexed ceramic socket, and quick release self-aligning lamp retainer. The electrical connection between the lamp housing and signal case must be accomplished with an interlock assembly which disconnects the lamp housing when opened.

  - Optical Limiter - Diffuser. The optical limiter-diffuser must provide an imaging surface at focus on the optical axis for objects 900 to 1,200 feet distance and permit an optical masking tape to be variously applied as determined by the desired visibility zone. The optical limiter-diffuser must be provided with positive indexing means and composed of heat-resistant glass.

  - Objective Lens. The objective lens must be a high resolution planar incremental lens hermetically sealed with a flat laminate of weather-resistant acrylic. The lens must be symmetrical in outline and capable of being rotated to any 90˚ orientation about the optical axis. The projected signal indication must be capable of being veiled anywhere within 15˚ of the optical axis. The indication must not result from external illumination and must conform to ITE standards.

  - The optical unit with lamp shall meet the applicable requirements of the ITE standards for Vehicle Traffic Control Signal Heads (VTCSH) Part 2: LED Vehicle Signal Modules, for signal brightness (luminance), and beam spread (luminance at various vertical and horizontal angles).

### LED LAMPS

- (a) LED lamp shall consist of an integral sealed unit containing the following components: housing, integral lens, matrix of light emitting diodes (LEDs) emitting white monochromatic light, and electronic and electrical components necessary to permit operation at nominal 120 volt, 60 Hertz power.

  - LED lamp shall be of such dimensions as to permit mounting in the signal head and be interchangeable with incandescent lamps manufactured for the same purpose.

  - Minimum brightness of LED lamps shall be in accordance with the luminous requirements of ITE. During the required operating life of LED lamps, the luminance output of the lamps must not be less than 60% of the values specified in the standard.

  - LED lamps shall be equivalent to an incandescent 150 watt PAR-46 lamp. The lamp shall have the same shape as a PAR-46 lamp and shall have a 3- prong base.

  - LED lamp power supply shall be current regulated and filtered to provide instant on indications, and to prevent momentary signal outages or flicker. Units must be fully operable over a range of 90 volts to 130 volts at 60 Hertz

± 3 Hertz.

  - Lamps must be fully operable at temperature ranges of -40º F. (-40º C.) to

+165º F. (+74º C.) at up to 100% relative humidity.

  - Lamps shall be clearly marked in a permanent manner showing information required for warranty and long term performance. Information to be shown must include manufacturer name, date of manufacture, and electric power requirements.

  - The LED lamp shall be compatible with the traffic signal controller equipment currently in use by the City of Chicago, and meeting the Citys latest specifications for traffic signal control equipment. In particular the LED unit shall be compatible with the NEMA TS-1 and later traffic signal load switches and conflict monitors.

  - LED lamps shall meet applicable sections of Title 47, Sub-Part B, Section 15 of the Federal Communications Commission (FCC) rules as applies to electronic noise limitation and electromagnetic interference.

### WIRING

- (a)	Wire Leads. Each lamp connector must be furnished with 2 wire leads color coded as follows:

First Wire:

White	Common

Second Wire:

Red	Red Section

Yellow	Yellow Section

Green	Green Section

Yellow with Black Tracer	Yellow Arrow Section Green with Black Tracer	Green Arrow Section

The wires must be No. 18 AWG stranded copper wire rated at 600 volt, 105˚C., with thermo-plastic insulation. The leads must connect to the terminal strip without being spliced. The ends of the lamp leads must be stripped of 0.5 inches of insulation and tinned.

  - Terminal Strip. A dual-point, barrier type, terminal strip with a solid base and pressure plate type connectors shall be securely attached at both ends to the housing body inside the "Green" section of the signal head. The number of terminal points shall be predicated upon the number of sections in the signal head. Single section, 2 section, 3 section and 4 section heads must have 5 point blocks, while 5 section heads must have 6 point blocks.

  - Cable. One 11 foot length of flexible SO electric cord must be furnished with each signal head. The conductors must be No. 16 copper with color coded insulation. and an overall jacket. The number of conductors must include a neutral, a ground, and one leg for each section. Both ends of each cable length must be carefully stripped of 6 inches of jacket and 1 inch of insulation, with each conductor properly tinned.

### TESTING AND DOCUMENTATION REQUIREMENTS

- (a) Documentation. The contractor shall provide certified manufacturing and testing documentation to demonstrate that the traffic signals being supplied meet or exceed the specification requirements. All optical units shall be tested by a nationally recognized testing laboratory (NRTL), such as Intertek (ETL division), to demonstrate compliance with the latest ITE VTCSH specification. All LED units shall have the testing laboratory’s label attached.

  - Inspection. The signals will be subject to inspection at the request of the Commissioner. Final inspection shall be made at point of delivery. Any signal rejected must be removed, disposed of, and replaced by the contractor at his sole cost.

  - Warranty. The manufacturer shall warrant the signals to meet the requirements of this specification, and must warrant all equipment, components, parts and appurtenances against defective design, material and workmanship for a period of 3 years from date of delivery [ date of acceptance for contract construction]. In the event defects and failures occur during the warranty period, the manufacturer must replace such units at no expense to the City. This warranty shall be evidenced by a letter or certificate of warranty submitted to the City at the time delivery is made. The warranty must be signed and dated by an official of the manufacturer who is empowered by the manufacturer to enter into such a warranty.

### PACKAGING

- (a)  Packing. Each traffic signal assembly shall be packed in a suitable carton so secured that the signal will not be damaged during shipment, handling or storage. Each section will include a lamp.

  - Marking.	Each carton containing a traffic signal shall be clearly marked on

the outside in letters not less than 3/8 inch tall with the legend: "TRAFFIC SIGNAL, OPTICALLY PROGRAMMED, the number of Sections as required, the colors, the name of the manufacturer, the date of manufacture, the pertinent Contract Number, and the appropriate City Commodity Code Number.

ELECTRICAL SPECIFICATION 1545 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED FEBRUARY 7, 2014

PEDESTRIAN COUNTDOWN TRAFFIC SIGNAL LED, 16 INCH WITH SYMBOLIC WALK/DON’T WALK,

POLYCARBONATE HOUSING

SUBJECT

- This specification states the requirements for a single section pedestrian countdown signal with light emitting diode (LED) symbolic messages on a nominal sixteen inch by eighteen-inch message surface and enclosed in a polycarbonate housing.

### GENERAL REQUIREMENTS

- (a) Sample and Certified Test Reports. One complete pedestrian countdown signal, fully assembled and wired, of the manufacture proposed to be furnished, must be submitted along with the required certified test reports, within 15 business days upon request of the Chief Procurement Officer. The sample must be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - Standards. Equipment furnished under this specification shall meet the appropriate requirements of the following standards, as required within the body of this specification:

American Association of State Highway and Transportation Officials (AASHTO)

American Iron and Steel Institute (AISI)

American Society for Testing and Materials (ASTM) Institute of Transportation Engineers (ITE)

National Electrical Manufacturers Association (NEMA) Underwriters Laboratories (UL)

  - Approval. Approval will mean approval in writing by the Commissioner or his duly authorized representative.

### MATERIAL AND EQUIPMENT REQUIREMENTS

- (a) The pedestrian signal heads must conform to ITE Standard "Pedestrian Traffic Control Signal Indications" (PTCSI), in which the most recently published revision will govern.

  - Housing Design. The housing must be one piece, ultra violet stabilized polycarbonate resin of the specified color, injection molded complete with integral top, bottom, and sides, having a minimum thickness of 0.1 inches.

The polycarbonate formulation used must provide these physical properties in the housing (Tests may be performed on separately molded specimens).

### TEST	REQUIRED	METHOD

Specific gravity	1.17 minimum		ASTM D 792 Vicat Softening temp 310-320º F	ASTM D 1525 Brittleness temp.	-200º F		ASTM D 746

Flammability Self-extinguishing	ASTM D 635

Tensile strength, yield	8,500 PSI	ASTM D 638

Elongation at yield	5.5-8.5%		ASTM D 638 Shear strength, yield	5,500 PSI min.	ASTM D 732

Izod impact strength 12-16 ft.	ASTM D 256 (notched, .125" thick)lbs./in.

Fatigue strength (at	950 PSI min.	ASTM D 671 2.5 mm cycles)

  - Positioning Device. The top and bottom opening of each housing must have integral serrated bosses that will provide positive positioning of the signal head in 5˚ increments to eliminate undesirable rotation or misalignment of the signal head between sections. A total of 72 teeth must be provided in the serrated bosses to allow the signal face to be rotated 360˚ about its axis. The teeth shall be clean and sharp to provide positive positioning with the grooves of the mating section or framework. Each opening must accommodate standard 1.5 inch pipe fittings and brackets.

  - Hinges. The housing must have 4 integral hinge lugs, with stainless steel hinge pins (AISI 304 or equivalent), located on the left side for mounting the door. The hinge pins must be straight and not protrude past the outside of the housing lugs. The housing must have 2 integral latching bolt lugs on the right side each with a stainless steel hinge pin to which a latching bolt (AISI 304 or equivalent), washer, and wing nut will be attached. The wing nuts must be captive.

  - Door. The door must be a one piece ultraviolet stabilized polycarbonate resin of the specified color, injection molded complete with a minimum thickness of 0.1 inch. Two hinge lugs on the left side and 2 sets of latch screw jaws

centered on the right side, as viewed from the front of the signal, must be integrally cast with the housing door. The door must be hinged to the housing with 2 stainless steel hinge pins, drive fitted. Two stainless steel latch screws and wing nuts and washer assemblies on the latch side of the housing body must provide for opening and closing the door without the use of tools.

The inside of the door must be grooved to accommodate a one piece, air- cored ethylene propylene diene monomer (EPDM) gasket to provide a weatherproof and dust proof seal when the door is closed. The outside of the door must have an integral rim completely encircling the opening to prevent leakage between the door and the LED module. The rim must have equally spaced tabs around the circumference with threaded metal inserts for the visor attachment.

  - Gaskets. Wherever necessary to make a completely dust-proof, moisture- proof and weatherproof assembly of the housing and optical system, approved type gaskets of neoprene or silicone rubber shall be provided.

### LED OPTICAL MODULES

- (a)  Light emitting diode (LED) optical modules must consist of an integral unit containing the following components: power leads, housing, integral lens, matrix of light emitting diodes (LEDs) emitting monochromatic light of desired colors, and electronic and electrical components necessary to permit operation at nominal 120 volt, 60 hertz power. All units shall form a neat compact unit within the housing body with no light leakage between the door and the housing body.

  - The LED unit shall meet the applicable requirements of ITE’s LED Pedestrian Traffic Control Modules. During the required operating life of LED signal units, the luminance output of the units must not be less than 60% of the values specified in the standard.

  - LED module power supply must be constant current regulated and filtered to provide instant on indications, and to prevent momentary signal outages or flicker.

  - Modules shall consist of LEDs uniformly distributed to present a homogeneous appearance on the face of the lens from a wide viewing angle.

  - LEDs shall be wired so that the loss of a single LED or a string of LEDs will not reduce the luminescence below the minimum requirement.

  - For purposes of this specification, failure of a single unit is defined as an occurrence where the luminescence of the signal measured in candela in

standard test procedures is less than the required initial luminance or luminance at time points and conditions specified; or where minimum required brightness is achieved, but 2 or more series strings of LEDs or in excess of 20% of LEDs are not operable.

  - LED modules must be fully operable over a range of 90 volts to 130 volts at 60 hertz ± 3 hertz.

  - Surge protection. Each unit must be provided with integral surge protection to withstand a transient of 600 volt, 100 microsecond rise and 1 millisecond pulse width. The surge protector shall provide full electrical and physical protection to all unit components.

  - Maximum permissible power consumption at ambient conditions (nominal 120 volts, 60 hertz, 70˚F.) must be 18 watts at a minimum 90% power factor. Power consumed must not vary by more than 10% from nominal power consumption over a voltage range of 105 volts to 125 volts, and over permissible environmental ranges.

  - Modules must be fully operable at temperature ranges of -40˚F. (-40˚C.) to

+165˚F. (+74˚C.) at up to 100% relative humidity.

  - Modules shall be clearly marked on the back surface of the unit in a permanent manner showing information required for warranty and long term performance. Information to be shown must include manufacturer name, date of manufacture, electric power requirements, signal model type, and signal serial number.

  - The LED module shall be compatible with all traffic signal controller equipment currently in use by the City of Chicago, and meeting the Citys latest specifications for traffic signal control equipment. In particular the LED unit shall be compatible with the NEMA TS-1 and later traffic signal load switches and conflict monitors.

  - Modules shall meet applicable sections of Title 47, Sub-Part B, Section 15 of the Federal Communications Commission (FCC) rules as applies to electronic noise limitation and electromagnetic interference.

  - Total harmonic distortion (THD) induced into the voltage and current AC power line sine waves must not exceed 20%.

  - Burn-in. LED Optical modules must be energized for a minimum 24 hour burn-in at 100% on-time duty cycle.

### DISPLAY

- (a)  The message area shall be approximately 16 inches square and display the double overlay "Don't Walk" and "Walk" symbols immediately adjacent to the countdown digits. The symbols shall be applied in such a manner as to provide an opaque polycarbonate background and illuminated legends.

  - Symbolic Messages. Symbols for "Walk" (Man) and "Don't Walk" (Hand) must conform in style and color to those of ITE. The symbols must not be less than 9.5 inches high with proportional width. The "Don't Walk" symbol must be Portland orange, and the "Walk" symbol must be of lunar white, conforming to the specifications of the ITE/PTCSI.

  - Countdown Digits. Countdown digits must be Portland orange and not less than 9 inches high with proportional width and shall be compliant with latest ITE standards.

  - The module message surface shall be constructed of ultraviolet (UV) stabilized, impact resistant polycarbonate, acrylic or other approved material. The surface must be anti-glare, smooth texture, and clear.

### WIRING

- (a)	Wire Leads. Each module connector must be furnished with 3 wire leads color coded as follows:

White	-	Common

Red	-	"Don't Walk" Indication Green	 -	 "Walk" Indication

The leads must be No.18 AWG, stranded copper wire rated at 600 volt and 105˚C., with thermoplastic insulation. The ends of the leads must be stripped of 0.5 inches of insulation and tinned. The leads must be splice-free and connected to one side of the terminal strip.

  - Terminal Strip. A four terminal, eight point, barrier type terminal strip with solid base and pressure plate type connectors must be securely attached at each end to the housing body inside the walk section.

  - Cable. One 11 foot length of flexible electric cord, medium duty, type SO, 3-conductor No. 16 AWG stranded copper, with color coded insulation, and an overall jacket, must be furnished with each pedestrian signal. Both ends of each cable length must be carefully stripped of 6 inches of jacket and 1inch of insulation, and each conductor properly tinned.

### COUNTDOWN FUNCTIONALITY

- (a)	The countdown unit shall be compatible with all traffic signal controller

equipment currently in use by the City of Chicago, and meeting the Citys latest specifications for traffic signal control equipment.

  - The countdown timer must have a micro-processor capable of recording its own time when connected to a traffic controller.

  - The countdown timer unit must continuously monitor the traffic controller for any changes to the pedestrian phase time and re-program itself automatically as needed.

  - The countdown unit must register the time for the walk and clearance intervals individually and must begin counting down at the beginning of the pedestrian change interval (flashing hand).

  - At the end of the pedestrian change interval, the unit must display 0" and the blank out. The display must remain dark until the beginning of the next countdown.

  - In the event of a preemption sequence, the countdown unit must skip the pre- empted clearance time and reach “0” at the end of the pedestrian change interval.

  - The countdown must remain synchronized with signal indications and always reach 0" at the end of the pedestrian change interval.

  - The countdown must not display an erroneous or conflicting time when subjected to defective load switches.

### TESTING AND DOCUMENTATION REQUIREMENTS

- (a) Documentation. The contractor shall provide certified manufacturing and testing documentation to demonstrate that the traffic signals being supplied meet or exceed the specification requirements. All LED Optical modules shall be tested by a nationally recognized testing laboratory (NRTL), such as Intertek (ETL division), to demonstrate compliance with the latest ITE VTCSH specification. All LED modules shall have the testing laboratory’s label attached.

  - Inspection. The signals will be subject to inspection at the discretion of the Commissioner. Final inspection shall be made at point of delivery. Any signal rejected must be removed, disposed of, and replaced by the contractor at his sole cost.

  - Warranty. The manufacturer shall warrant the signals to meet the requirements of this specification, and must warrant all equipment, components, parts and appurtenances against defective design, material and

workmanship for a period of 3 years from date of delivery [date of acceptance for contract construction]. In addition, LED optical modules must carry a 7 year warranty against failure or loss of color (chromaticity) and signal brightness (luminance) below minimum acceptable PTCSI standard levels from date of delivery [date of acceptance for contract construction]. In the event defects and failures occur in the LED units during the warranty period, the manufacturer must replace such units at no expense to the City. This warranty shall be evidenced by a letter or certificate of warranty submitted to the City at the time delivery is made. The LED warranty must cover all units delivered in an order or installed by contract, and must include unit serial numbers. The warranty must be signed and dated by an official of the manufacturer who is empowered by the manufacturer to enter into such a warranty.

### PACKAGING

- (a)  Packing. Each pedestrian signal assembly shall be packed in a suitable carton so secured that the signal will not be damaged during shipment, handling or storage.

  - Marking. Each carton containing a pedestrian signal shall be clearly marked on the outside in letters not less than 3/8 inch tall with the legend: "PEDESTRIAN SIGNAL, COUNTDOWN, SIXTEEN-INCH, SYMBOLIC

LED WALK-DON’T WALK, the name of the manufacturer, the date of manufacture, the pertinent Contract Number and the appropriate City Commodity Code Number.

ELECTRICAL SPECIFICATION 1560 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED JANUARY 14, 2021

NEMA TS2-2 SUPER P CABINET WITH ADVANCED TRANSPORTATION CONTROLLER AND

UNINTERRUPTIBLE POWER SUPPLY

- GENERAL REQUIREMENTS

  - This specification details the requirements for traffic signal control equipment for use in the City of Chicago. This equipment shall control traffic signal timing and sequencing at an intersection. The equipment shall include a battery back-up system which will maintain power to the signals during a power failure.

  - (For contract construction only) If requested by the City, the contractor shall provide a sample to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608. The sample shall consist of the controller, cabinet, load switches, conflict monitor and all appurtenant wiring and equipment completely assembled as a working unit. This sample will be regarded  as  a  finished  production  sample  and  conformance  or non-conformance to these specifications will be based on the sample submitted.

(For City commodity contract only) If requested by the Chief Procurement Officer, within thirty (30) days from the receipt of such request, the bidder shall provide a sample to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608. The sample shall consist of the controller, cabinet, load switches, conflict monitor and all appurtenant wiring and equipment completely assembled as a working unit. If the sample is acceptable and the bidder is awarded a contract, the sample will become the property of the City of Chicago with a suitable credit issued to the contract.

  - All tests as outlined herein shall be regarded as minimum requirements. The contractor shall submit his testing procedure for approval prior to performing any testing functions. Upon successful completion of all testing, certified test reports shall be submitted for each unit. Units not successfully passing these tests or lacking proper documentation will be rejected. The manufacturer, or manufacturer’s representative, must be available for shop testing at the City’s facilities.

  - Standards. Equipment furnished under this specification shall meet the appropriate requirements of the following standards, as required within the body of this specification:

American Association of State Highway and Transportation Officials (AASTHO)

American Society for Testing and Materials (ASTM) Institute of Transportation Engineers (ITE)

Manual on Uniform Traffic Control Devices (MUTCD) National Electrical Manufacturers Association (NEMA) Occupational Safety and Health Administration (OSHA) Underwriters Laboratories (UL)

  - Standard Drawings. The Electrical Standard Drawing 962 “Load Switch and Conflict Assignment”, Electrical Standard Drawing 964 “Traffic Controller Cabinet Back Panel and Power Supply, 1 of 2”, and Electrical Standard Drawing 965 “Traffic Controller Cabinet Back Panel and Power Supply, 2 of 2” are integral parts of this specification.

  - Warranty. The manufacturer(s) shall warranty the performance and construction of the traffic signal controller and other major components to meet the requirements of this specification, and must warranty all parts, components, and appurtenances against defects in design, material, and workmanship for a period of one (1) year after acceptance by the City. In the event of defects or failures during this period, the manufacturer(s) must repair and/or replace all defective or failed parts or appurtenances at no expense to the City.

  - Manufacturer. The manufacturer of the cabinet and controller and the manufacturer of the battery back-up system must demonstrate a knowledge of past production, or have been actively engaged in the sale and/or service of the equipment herein described, as demonstrated by a submitted list of comparable projects.

### CONTROLLER REQUIREMENTS

  - ATC. The controller shall be an Advanced Transportation Controller (ATC) meeting the requirements of the specification “Advanced Transportation Controller (ATC) Standard Version 5.2b” dated June 26, 2006 and the requirements of NEMA TS2-2003. The referenced ATC specification is a joint effort of AASTHO, NEMA, and ITE. Since each user agency has different controller needs, for the City of Chicago, the controller shall meet the programming modifications and options listed in the ATC Matrix as indicated in Table A. All software necessary to make the controller operational shall be included.

  - Power. The controller shall operate on 120 volt, 60 cycle ( 3 Hertz), single phase, alternating current. The controller shalll function in the range from 89 to 135 Volts a.c. The power consumed must be under 50VA.

  - Packing. (For City commodity contracts only) Each controller, with all its component parts, shall be suitably packed in a single container in such a manner as to prevent damage to the contents in shipment and handling.

  - Instructions. One (1) complete set of up to date instructions providing complete information on installation, adjustment, operation and maintenance, including both up to date "Logic Schematics" and "Electronic Circuit" diagrams, of these controllers, shall be furnished to the Division of Electrical Operations for approval prior to the first shipment of controllers. All information, including photos and schematics, shall reference to the controller being furnished on this contract and must be a high quality, completely legible reproduction. Upon approval, one complete set of data must be furnished with each controller.

  - Training. If requested, the contractor shall provide training at the City’s facilities. The training must be on the actual equipment provided under the contract, and must include, but not be limited to, programming all features, connecting and wiring, and troubleshooting. Training manuals are required (training manuals should include the instructions in a teaching-type format). Training shall be structured for both field personnel and shop personnel. The manufacturer shall provide all material and equipment necessary for the training.

  - Chassis. The chassis shall be aluminum with a powder coat finish. No plastic chassis or composite chassis will be allowed. The controller must physically fit into existing ‘M’, ‘P’, and ‘SUPER P’ cabinets configured for City of Chicago applications, so that retrofitting will not be a problem. The controller must not exceed the following dimensions: 10.5 inches high, 10.5 inches deep, and 15 inches wide.

  - Processor / Memory. At a minimum, the processor will be:

Clock speed - 300MHz

Non-volatile Memory - 32MB Flash DRAM - 64MB

SRAM - 1MB

(All memory and firmware must be stored in flash memory. No EPROMS will be allowed.)

  - Display. The display shall be a 16 x 40 backlit LCD using a 6 x 8 character font. Display and keypad must be permanently attached to chassis. Detachable

keypads will not be allowed.

  - Environmental. The controller shall operate in the temperature range of -34˚ Celsius to +74˚ Celsius. The controller shall operate within the relative humidity of 5% to 95%.

  - All printed circuit boards shall be mounted vertically.

  - Encapsulation of 2 or more discrete components into circuit modules is prohibited except for transient suppression circuits, resistor networks, diode arrays, solid-state switches, optical isolators and transistor arrays. All encapsulated components must be second sourced and must be of such design, fabrication, nomenclature or other identification as to be purchased from a wholesale distributor or from the component’s manufacturer as a standard product. Custom encapsulated components are not allowed.

  - Obsolete components, components no longer supported by the manufacturer, components not recommended for new designs, components which have been discontinued or which the contractor should have reasonably been expected to know were discontinued, or components which the vendor/manufacturer has announced plans to discontinue at the time of the bid/contract must not be used in the design of any subassemblies provided under this contract.

  - The controller shall meet the functional and environmental requirements of NEMA TS2 2003. The use of 2070s, 170s, BIUs, SIUs, or similar devices is not allowed.

  - As allowed by ATC v5.2b, Section 8.1.1, the controller will utilize NEMA ‘A’, ‘B’, and ‘C’ I/O connectors, except for the HMC-1000 and LMD40 I/O variants. Pin assignments for NEMA ‘A’,’B’, and ‘C’ connectors shall follow the NEMA TS2 2003 standards for I/O. Port 2 must be the ATC v5.2b pin- limited version of NEMA TS2 Port 2. Port 4 (C50S) must be a 9-pin connector with only limited signals being required.

Special function connector for the TS2-2 shall follow the CPC style “D” pin outs as follows:

| CPC MSD Pin | Function |
| --- | --- |
| 1 | Flash |
| 2 | Offset 1 |
| 3 | Interconnect Common |
| 4 | User defined input 6 |
| 5 | Offset 2 |
| 6 | Offset 3 |
| 7 | Time Plan A |
| 8 | User defined input 7 |

| 9 | User defined input 8 |
| --- | --- |
| 10 | Call to Free |
| 11 | Call to week 10 |
| 12 | Time Plan B |
| 13 | Time Plan C |
| 14 | Time Plan D |
| 15 | Alt Seq A |
| 16 | Alt Seq B |
| 17 | Alt Seq C |
| 18 | Dimming |
| 19 | Monitor status bit C |
| 20 | System Input |
| 21 | Alt Seq D |
| 22 | Monitor status bit A |
| 23 | Monitor status bit B |
| 24 | Veh Det 13 |
| 25 | Veh Det 9 |
| 26 | Veh Det 10 |
| 27 | Veh Det 11 |
| 28 | Polarizing Pin |
| 29 | Veh Det 12 |
| 30 | Veh Det 14 |
| 31 | Veh Det 15 |
| 32 | Veh Det 16 |
| 33 | SGO/Conditional Service |
| 34 | Preempt input 5 |
| 35 | Preempt output 1 |
| 36 | Preempt output 2 |
| 37 | Interconnect inhibit |
| 38 | Time Clock sync |
| 39 | Sync inhibit |
| 40 | Preempt input 1 |
| 41 | Preempt input 2 |
| 42 | Preempt input 3 |
| 43 | Preempt output 3 |
| 44 | Polarizing Pin |
| 45 | Preempt output 4 |
| 46 | Preempt output 5 |
| 47 | System Out |
| 48 | Preempt output 6 |
| 49 | Preempt input 4 |
| 50 | Clock Ckt 9 (Aux 1) |
| 51 | Clock Ckt 10 (Aux 2) |
| 52 | Clock Ckt 11 (Aux 3) |
| 53 | Clock Ckt 12 (Aux 4) |

| 54 | Clock Ckt 13 (System) |
| --- | --- |
| 55 | Clock Ckt 8 (Flash) |
| 56 | Clock Ckt 3 (Offset 1) |
| 57 | Clock Ckt 4 (Offset 2) |
| 58 | Clock Ckt 5 (Offset 3) |
| 59 | Clock Ckt 1 (T/P A) |
| 60 | Clock Ckt 2 (T/P B) |
| 61 | Clock Ckt 6 (T/P C) |
| 62 | Clock Ckt 7 (T/P D) |
| 63 | Preempt input 6 |

  - Downward compatibility with existing City of Chicago cabinets.

    - The controller shall be of a modular design allowing for the ability to exchange I/O modules to allow for use in existing City of Chicago HMC-1000, LMD40, and standard NEMA TS2-2 cabinets. This I/O module shall be “plug and play”. The controller’s firmware must detect the type of I/O installed (HMC-1000, LMD40 or NEMA TS2) and provide the proper user interface. Adapter harnesses for the HMC-1000, LMD40 and Setcon clock will not be allowed.

    - The HMC-1000 I/O module shall be pinned as follows:

| 63 Pin Connector | Function |
| --- | --- |
| 1 | Output 20 |
| 2 | Output 11 |
| 3 | Manual Advance |
| 4 | Stop Time |
| 5 | Output 24 |
| 6 | Offset 1 |
| 7 | Offset 3 |
| 8 | Output 15 |
| 9 | Preempt 2 |
| 10 | Advance |
| 11 | Output 23 |
| 12 | Restart |
| 13 | Output 32 |
| 14 | Offset 2 |
| 15 | Output 16 |
| 16 | Preempt 1 |
| 17 | Output 25 |
| 18 | Output 28 |

| 19 | Spare 1 |
| --- | --- |
| 20 | Spare 2 |
| 21 | Output 7 |
| 22 | Output 18 |
| 23 | Output 21 |
| 24 | Output 22 |
| 25 | Dial 3 |
| 26 | Dial 2 |
| 27 | Output 1 |
| 28 | Output 14 |
| 29 | Output 4 |
| 30 | Output 29 |
| 31 | Output 27 |
| 32 | Output 17 |
| 33 | Output 9 |
| 34 | Output 19 |
| 35 | Dial 4 |
| 36 | On-Line |
| 37 | Flashing Bus |
| 38 | Manual |
| 39 | Output 30 |
| 40 | Output 31 |
| 41 | Output 12 |
| 42 | Output 10 |
| 43 | Output 2 |
| 44 | Output 3 |
| 45 | Output 13 |
| 46 | Output 8 |
| 47 | Output 26 |
| 48 | Logic Ground |
| 49 | Not Used |
| 50 | Not Used |
| 51 | Output 5 |
| 52 | Output 6 |
| 53 | Logic Ground |
| 54 | Logic Ground |
| 55 | Not Used |
| 56 | Not Used |
| 57 | Not Used |
| 58 | Not Used |
| 59 | 24 V.D.C |
| 60 | Not Used |
| 61 | 115 Volts AC |
| 62 | AC Neutral |
| 63 | Chassis Ground |

    - The LMD40 I/O module contains 4 I/O connectors, MSA, MSB, MSD, and communications connectors which shall be pinned as follows:

| LMD40 MSA | Pin | Voltage Level |
| --- | --- | --- |
| Actuation 3 | A | DC |
| 24 V.D.C | B | DC |
| Voltage Monitor | C | DC |
| Actuation 1 | D | DC |
| Actuation 2 | E | DC |
| Preemption 2 | F | DC |
| Preemption 1 | G | DC |
| Interval Advance | H | DC |
| Stop Time | J | DC |
| MCE (Manual Control) | K | DC |
| External C/S/O | L | DC |
| Signal Plan 2 | M | DC |
| Signal Plan 3 | N | DC |
| System Cont/AZ Reset | P | DC |
| External Start | R | DC |
| Remote Flash (AC) | S | 120 VAC |
| Interconnect Common | T | 120 VAC |
| AC – (Common) | U | AC |
| Chassis Ground | V | Earth Ground |
| Logic Ground | W | DC Reference |
| Output 1 | X | DC |
| Output 2 | Y | DC |
| Output 3 | Z | DC |
| Output 4 | a | DC |
| Output 5 | b | DC |
| Output 6 | c | DC |
| Output 7 | d | DC |
| Output 8 | e | DC |
| Output 9 | f | DC |
| Output 10 | g | DC |
| Output 11 | h | DC |
| Output 12 | i | DC |
| Output 13 | j | DC |
| Output 14 | k | DC |
| Output 15 | m | DC |
| Output 16 | n | DC |
| AC+ input | p | 120 VAC |
| Output 17 | q | DC |
| Output 18 | r | DC |

| Output 19 | s | DC |
| --- | --- | --- |
| Output 20 | t | DC |
| Output 21 | u | DC |
| Spare Output | v | DC |
| Spare Output | w | DC |
| Spare Output | x | DC |
| Cycle 2 (User Defined ) | y | 120 VAC |
| Cycle 3 (User Defined) | z | 120 VAC |
| Split 2 | AA | 120 VAC |
| Split 3 | BB | 120 VAC |
| Output 22 | CC | 120 VAC |
| Output 23 | DD | 120 VAC |
| Offset 1 | EE | 120 VAC |
| Offset 2 | FF | 120 VAC |
| Offset 3 (user def 1) | GG | 120 VAC |
| Output 24 | HH | DC |

| LMD40 MSB | Pin | Voltage |
| --- | --- | --- |
| Output 25 | A | DC |
| Output 26 | B | DC |
| Output 27 | C | DC |
| Output 28 | D | DC |
| Output 29 | E | DC |
| Output 30 | F | DC |
| Output 31 | G | DC |
| Output 32 | H | DC |
| Output 33 | J | DC |
| Output 34 | K | DC |
| Output 35 | L | DC |
| Output 36 | M | DC |
| Output 37 | N | DC |
| Output 38 | P | DC |
| Output 39 | R | DC |
| Output 40 | S | DC |
| Actuation 4 | T | DC |
| Hold | U | DC |
| Force Off | V | DC |

| LMD40 MSD | Pin | Voltage |
| --- | --- | --- |
| Flash Monitor 1 | 1 | 120 VAC |
| Cycle 5 | 2 | 120 VAC |
| PE Clear 1 | 3 | DC |
| PE Clear 3 | 4 | DC |

| Flash Monitor 2 | 5 | 120 VAC |
| --- | --- | --- |
| Spare Input 4 | 6 | 120 VAC |
| System Input | 7 | 120 VAC |
| AZ Reset (Absolute Zero) | 8 | DC |
| PE Clear 2 | 9 | DC |
| UD 6 Input | 10 | DC |
| Call to week 10 | 11 | DC |
| Signal Plan 6 | 12 | DC |
| Signal Plan 7 | 13 | DC |
| Signal Plan 8 | 14 | DC |
| Actuation 5 | 15 | DC |
| Actuation 6 | 16 | DC |
| Actuation 7 | 17 | DC |
| Spare input 1 | 18 | DC |
| UD 7 Input | 19 | DC |
| Actuation 8 | 20 | DC |
| Actuation 9 | 21 | DC |
| Actuation 10 | 22 | DC |
| Spare input 2 | 23 | DC |
| UD 8 input | 24 | DC |
| Sys Command (Ckt 13) | 25 | DC |
| Flash Attained | 26 | DC |
| PE Active | 27 | DC |
| Polarization | 28 | DC |
| System Out | 29 | DC |
| Preempt input 3 | 30 | DC |
| Preempt input 4 | 31 | DC |
| Preempt input 5 | 32 | DC |
| Signal Plan 5 in | 33 | DC |
| Call to FREE op | 34 | DC |
| Output 41 | 35 | DC |
| Output 42 | 36 | DC |
| Interconnect Inhibit | 37 | DC |
| Spare input 3 | 38 | DC |
| Sync Inhibit | 39 | DC |
| Dimming | 40 | DC |
| Added Time inhibit | 41 | DC |
| Time Clock Sync | 42 | DC |
| Output 43 | 43 | DC |
| Polarization | 44 | DC |
| Output 44 | 45 | DC |
| Output 45 | 46 | DC |
| Output 46 | 47 | DC |
| Output 47 | 48 | DC |
| Signal Plan 4 | 49 | DC |

| Aux 1 (Ckt 9) | 50 | DC |
| --- | --- | --- |
| Aux 2 (Ckt 10) | 51 | DC |
| Aux 3 (Ckt 11) | 52 | DC |
| Aux 4 (Ckt 12) | 53 | DC |
| Output 48 (FF Enable) | 54 | DC |
| Flash Out (Ckt 8) | 55 | DC |
| Offset 1 (Ckt 3) | 56 | DC |
| Offset 2 (Ckt 4) | 57 | DC |
| Offset 3 (Ckt 5) | 58 | DC |
| Cycle 2 (Ckt 1) | 59 | DC |
| Cycle 3 (Ckt 2) | 60 | DC |
| Split 2 (Ckt 6) | 61 | DC |
| Split 3 (Ckt 7) | 62 | DC |
| Fast Flash Image | 63 | DC |

| LMD40 Communication Connector (15 pin sub-D | PIN | Voltage |
| --- | --- | --- |
| System Detector 11 | 1 | DC |
| System Detector 12 | 2 | DC |
| System Detector 13 | 3 | DC |
| System Detector 14 | 4 | DC |
| System Detector 15 | 5 | DC |
| System Detector 16 | 6 | DC |
| System Detector 17 | 7 | DC |
| System Detector 18 | 8 | DC |
| Monitor Status bit B | 9 | DC |
| Monitor Status bit A | 10 | DC |
| Monitor Status bit C | 11 | DC |
| DC User Defined in #1 | 12 | DC |
| Logic Ground | 13 | DC |
| DC User Defined in #2 | 14 | DC |
| DC User Defined in #3 | 15 | DC |

    - The Setcon I/O connector will be resident on the HMC1000 version of the ASTC I/O.

| Setcon Clock Connector | PIN | Voltage |
| --- | --- | --- |
| Output 1 | 1 | DC |
| Output 2 (Dial 2) | 2 | DC |
| Output 3 (Dial 3) | 3 | DC |
| Output 4 (Dial 4) | 4 | DC |

| Output 5 (Offset 1) | 5 | DC |
| --- | --- | --- |
| Output 6 (Offset 2) | 6 | DC |
| Output 7 (Offset 3) | 7 | DC |
| Output 8 (Flash) | 8 | DC |
| Sync Output | 9 | DC |
| Sync Input | 10 | DC |
| Not used | 11 | N/A |
| Logic Ground | 12 | DC |
| Not Used | 13 | N/A |
| Not Used | 14 | N/A |
| Not Used | 15 | N/A |
| Not Used | 16 | N/A |

  - Communication.

    - NTCIP (National Transportation Communications for ITS Protocol).

      - The controller shall be compliant with NTCIP Standards as outlined in NEMA TS2 – 2003 and must be tested and documented for compliance.

      - Global objects shall be compliant to NTCIP 1201 v2.26 or later.

      - Actuated Signal Controller objects shall be compliant to NTCIP 1202 v2.19f or later.

    - Serial ports, one of which must be set as either RS-232 or RS-485.

    - Ability to add an internal GPS module.

    - Ethernet. The controller must be equipped with a minimum of two front panel mounted 10/100Mb Ethernet ports.

    - A single port USB interface must be provided to facilitate database transfers, re-flashing of operation software and log transfer.

    - The unit must be fully compatible with, and fully functional within, the City’s existing traffic signal management system. All available functions and capabilities that exist within existing controllers must be available within this unit, as well as compatible with the ATC LMD40 unit and the ATC NEMA unit. Any additional software or hardware necessary to fully integrate the controller into the City's traffic signal management system must be provided by the bidder/contractor and will be considered as part of the requirements of this specification.

    - Windows based laptop utility software must be provided for data transfers and monitoring of controller operation.

    - A fiber-optic modem shall be provided, if required. The modem must be compatible with existing City fiber interconnect systems. The modem may be internal or external to the controller.

  - Software operation.

    - The controller shall have the ability to re-synch a minimum of 8 cycle lengths to an “absolute zero” reference point. It must be possible to set absolute zero by either global command or individual cycle length.

    - In addition to hardwire input, it shall be possible to set Absolute Zero via keyboard command or fiber optic communication.

    - The controller shall have the ability to operate in two modes of operation, selectable by time of day:

      - Actuated control per NEMA TS2 – 2003.

      - Pre-timed Interval based control per NEMA TS2 – 2003.

    - The controller shall have the ability to transfer between actuated control and interval based control by time of day schedule.

    - The controller will have 32 Pre-timed plans

      - Each plan will allow for up to 32 timing intervals

      - Each plan will allow for 64 circuit outputs. Each output must be individually programmable per interval.

    - The controller shall have 100 coordination plans.

    - The controller shall provide 6 preempts per NEMA TS2-2003.

    - The controller shall offer security as follows:

      - Two 4 digit security codes can be programmed (one for timing data, one for signal plan data), which when activated, allow data changes. These codes must automatically de-activate 10 minutes after the last user keystroke. It will be possible to re-program the security codes if the previous security code is known or has been defeated.

      - It must not be possible to read the security code from the controller’s display.

      - It must be possible to access the controller in the case of a lost security code through a “back door” which is provided only by the controller manufacturer. This “back door” security code must change based upon the controller’s internal calendar.

### CONFLICT MONITOR

  - General. Each controller shall be furnished with a NEMA conflict monitor unit for checking for conflicts in the signal output circuits. The conflict monitor shall be capable of monitoring a minimum of twelve (12) distinct channels. It must be a self-contained unit with its own power supply and not be located within the timer housing.

  - Programming Board. A removable programming board shall be supplied with the monitor for programming signal compatibility. The circuits for programming must be composed of soldered jumper wires. Diode or dip switch type programming will not be acceptable. The programming board must contain no circuitry or components other than the wire jumpers and the wire jumper soldering devices.

  - Flashing Circuit Energizing. The conflict monitor shall be programmed to put the controller in a flashing sequence upon detection of a failure or conflicting signal display. The controller must also be programmed to energize the flash circuit if the conflict monitor is removed or loses its supply voltage. The conflict monitor must have a manual reset button to return the controller to normal operation after conflict circuit operation is no longer necessary.

  - Stop Time Circuit. A stop-time control circuit shall be supplied from the conflict monitor to force the timer unit to stop timing upon detection of a conflict.

  - Indicator. The front panel of the conflict monitor housing shall have an indicator which will be activated when a conflict or failure occurs as per Section 6 of NEMA Spec. TS1-1983.

  - Latch Circuit. The conflict monitor shall have a latch circuit, insuring that if a voltage monitor failure occurs, the intersection remains in conflict until reset.

  - Memory. The conflict monitor shall have the ability to store, in memory, a minimum of ninety-nine (99) conflict events, including date of conflict and channels conflicting.

  - Conflict Monitor Assignments

    - Conflict monitor channels shall be assigned as follows:

| Channel 1 | Load Switch 1 | Phase 1 Vehicle |
| --- | --- | --- |
| Channel 2 | Load Switch 2 | Phase 2 Vehicle |
| Channel 3 | Load Switch 3 | Phase 3 Vehicle |
| Channel 4 | Load Switch 4 | Phase 4 Vehicle |
| Channel 5 | Load Switch 5 | Phase 5 Vehicle |
| Channel 6 | Load Switch 6 | Phase 6 Vehicle |
| Channel 7 | Load Switch 7 | Phase 7 Vehicle |
| Channel 8 | Load Switch 8 | Phase 8 Vehicle |
| Channel 2W | Load Switch 9 | Phase 2 Ped |
| Channel 4W | Load Switch 10 | Phase 4 Ped |
| Channel 6W | Load Switch 11 | Phase 6 Ped |
| Channel 8W | Load Switch 12 | Phase 8 Ped |
| Channel 9 | Load Switch 13 | Overlap A |
| Channel 10 | Load Switch 14 | Overlap B |
| Channel 11 | Load Switch 15 | Overlap C |
| Channel 12 | Load Switch 16 | Overlap D |

    - It shall be possible for the user to change conflict assignments without unsoldering any connections.

    - All unused channels - vehicle or pedestrian - must be neatly tied or terminal mounted in such a manner that they are readily available in front of the panel. If tied, the harness wires must be labeled. If terminal mounted, the terminations must be labeled.

    - A terminal shall be provided for the red enable feature.

    - A terminal shall be provided for the hook up of any unused red channels to AC.

    - Controller monitoring shall consist of; voltage monitor, 24VDC- I, 24VDC-II.

    - The output relay shall operate a sixty (60) ampere, normally open, “A” type contactor without the use of an external or “cabinet interface” relay.

### SUPER P CABINET

  - Housing. Each controller shall be furnished completely housed in a Type 5052-H32 aluminum housing of 0.125 inch thickness. The exterior dimensions of the cabinet shall be approximately 57 inches high, 58 inches wide, and 27 inches deep. The top of the cabinet shall be approximately 58 inches wide and 29 inches deep. The top of the cabinet must have a front to rear slope that will direct rain away from the front cabinet door. Door openings must be double-flanged. The interior of the cabinet will be divided into two compartments. The interior of the main cabinet shall be equipped with four (4) “C” mounting channels on both side walls and two (2) “C” mounting channels on the rear wall. The UPS portion of the cabinet shall be equipped with two (2) “C” mounting channels on each of the two side walls. All shelves, panels and individual equipment items must be mounted to these channels using 1.0" channel nuts with 1/4-20 bolts. All items mounted on panels must be securely fastened by bolting into drilled and tapped holes. No pop rivet or similar fastening methods will be accepted.

  - Doors. The cabinet shall have a main door hinged with one-quarter inch (1/4") minimum, continuous, removable stainless steel pins. The hinges themselves will be aluminum secured to the cabinet with stainless steel bolts. The battery compartment door on the side of the cabinet must be similarly hinged. The main cabinet door will be hinged on the right side. The battery compartment door will be hinged on the left side. The doors must be closely fitted to a neoprene gasket making the doors dust, water and weather resistant. The doors must be interchangeable with any other doors from any other controller.

Opening of the main door must provide complete access to the cabinet interior. The door shall be embossed, subject to approval, with the legend "CITY OF CHICAGO-TRAFFIC CONTROL" in letters at least one (1) inch high. The main door and the battery compartment door must have stops at 90, 150 and 180 degrees, from the closed position. The door latches must have three (3) point locking with rollers at the ends of the latch rods. The latch handle must be capable of being padlocked. The key lock for the latch mechanism must be a Corbin cylinder lock with keys to match existing City of Chicago controller cabinets. Two (2) keys must be furnished with each cabinet. Both the main door and the battery compartment door will have stainless steel handles with an 8” shank. The handles must be able to be padlocked. The padlocking arrangement must clear the lock and key.

Police Panel Door. The police panel door on the main door shall be furnished with a lock for a modified Chicago police key per sample to be furnished to the supplier. This key must have a shaft of at least one and three quarter inches (1-3/4") in length. Two keys must be furnished with each cabinet. The door will have a stainless steel piano hinge and be sealed with a neoprene

gasket.

Generator Door. This door will be on the rear of the cabinet. This door will have a stainless steel piano hinge and be sealed with a neoprene gasket. Two keys will be furnished for this door.

  - Cabinet Ventilation. The main cabinet compartment shall be provided with a mounting assembly to hold the forced air fan system. A fan, having a minimum air movement capacity of 100 CFM, shall be mounted in the air baffle in the top of the cabinet with an air outlet built into the roof overhang. The main door must be louvered and equipped with a removable, standard, commercially available aluminum dust filter. The battery compartment shall have a similar fan system. The battery compartment door must also have a louvered section with a removable dust filter. The ventilation openings must be equipped with removable covers for summer operation. No external fan housings or air outlets will be allowed. Any other method must be approved.

  - Shelves. The cabinet shall contain a vertically adjustable shelf large enough to accept the solid state controller and all other shelf mounted devices. The battery compartment shall have a minimum of three shelves.

  - Bolt Pattern. The bolt pattern shall be a four (4) point rectangular pattern matching the corresponding foundation. The dimensions will be 40.75” center-to-center and 18.5” center-to-center.

  - Finish. The exterior surfaces of the cabinet must be smooth. All drilled, tapped, or punched holes on the outer surface must be filled with liquid metal and ground smooth, and slotted screw heads must be ground smooth flush with surface. Bolts extending through cabinet wall must be round head, carriage, square shoulder type and fastened on the inside of the cabinet with an Esna nut and necessary gaskets to insure the weatherproofing integrity of the cabinet. The finished cabinet must be thoroughly degreased in a wash process and dried in a heated chamber. A thermosetting, ultra violet resistant, polyester powder coat must be electrostatically applied to all cleaned and treated surfaces and cured to a hard, mar resistant finish in a heated chamber at a temperature recommended by the powder coat paint manufacturer. Exterior color must conform to Federal Standard 595 #17038 for gloss black. Cabinet interior must be glossy white and may be either baked enamel or thermosetting, polyester powder coat. For either process, the interior must be prepared as described above. If the baked enamel finish is used, it must be preceded by one (1) coat of primer.

### POWER SUPPLY

  - A sixty (60) ampere main breaker shall be inserted in series with the line.

  - An un-fused terminal bus shall be provided for ground side of the power supply and signal conductor commons.

  - Individual circuit breakers shall be supplied for: (a) AC+ lights, 50 amperes;

(b) AC+ control, 10 amperes; (c) duplex outlet supply, 15 amperes.

  - The incoming line shall contain lightning protection devices consisting of, but not limited to, a metal oxide varistor and gas type arrestor. The gas type arrestor must be on the line side of the radio interference filter.

  - Contactor. A sixty (60) ampere, normally open, "A" type contactor shall be supplied for opening and closing the AC supply to the signal bus. The contactor must be mounted in such a manner on the power supply panel that accidental contact does not produce a safety hazard.

  - R.I.S. Filter. A radio interference suppression filter rated at sixty (60) amperes minimum shall be installed in line with the main power supply, after the sixty (60) ampere circuit breaker.

  - Ground. The grounded side of the power supply must be continuous throughout the controller and must be grounded to the controller cabinet in an approved manner meeting OSHA requirements.

  - Polarity. The phase conductors of the signal circuits shall have the same polarity as the phase side of the power supply, and the common conductor(s) shall be of the same polarity as the grounded side of the power supply.

### UNINTERRUPTIBLE POWER SUPPLY

  - General. The uninterruptible power supply (UPS) will consist of batteries which will recharge through the 120 volt electric service line. In the event of a power disruption, the unit will automatically activate. The transfer from utility power to battery power will not interfere with the normal operations of the traffic controller, conflict monitor, or any other part of the traffic system. A generator port will be provided to accept input from an external generator that can operate the traffic signals. The UPS must be the product of an established manufacturer, and suitable for the service required. The UPS must be manufactured by an established manufacturer who has been in the business for a minimum of five (5) years.

  - General Operation

    - The line power provided by ComEd is nominally 120 volt, single phase, 60 Hertz. The UPS system must take the line power, regulate it, and provide continuous 120 volt, single phase, 60 hertz power to the traffic system. The UPS must regulate the input line voltage within the limits specified herein. The input line voltage must also be transformed and rectified to charge the batteries. Under battery operation, the output from the batteries will go through an invertor to provide the proper A.C. current to provide continuous 120 volt, single cycle, 60 Hertz power to the traffic system. In the event of a power loss, the system must automatically switch to battery operation, without adversely affecting the traffic system. When power is restored, the system must automatically switch back without adversely affecting the traffic system. In the event the UPS system fails, an automatic switch must bypass the UPS and connect unconditioned power from ComEd directly to the traffic system. A manual bypass switch shall also be provided. The system shall be capable of running off a generator. The UPS will allow the generator to be put in or out of the system without adversely affecting the traffic system.

    - The system will be capable of providing power for normal full timing mode, flash mode, or a combination of both. The operation will be field programmable to activate at various times, to change operation due to changing battery capacities, and to track alarm conditions, using the touch pad or remotely using the RS-232 interface. Programmability shall be in ASCII formats and shall not require any external or proprietary software. The DB-9 connector for the RS-232 interface shall be located on the front panel of the UPS. The UPS must provide a minimum of 4 hours of full normal timing for a full LED controlled intersection.

    - In the event ComEd line voltage falls outside the high and low limits (95VAC and 130VAC should be the default values) the UPS must transfer the load to battery power. The high and low limits shall be programmable.

    - The UPS must return to line mode when the ComEd power is restored within the proper limits for a specified period of time. The limits shall be programmable. The default values should be 105VAC and 125VAC. This time shall be programmable and should range from 3 to 30 seconds.

    - The transfer time allowed, from disruption of normal utility line voltage to batteries or from batteries back to line voltage, must be such that the traffic signal system is not disrupted. The maximum transfer

time allowed will be 60 milliseconds.

  - Specifications

    - The UPS capacity will be a minimum of 2000VoltAmps/ 1500 watts.

    - The inverter shall have a minimum efficiency of 80%.

    - The UPS will have an operating range of between -37C. to +74C.

    - The manual bypass switch shall be rated at 240 volts, 40 amps.

    - The UPS shall have a temperature compensated battery charging system. The charging system must compensate over a range of

2.5mV to 4 mV per degree centigrade per cell. Batteries must not be charged when temperatures exceed 50C. The temperature sensor shall be located in the cabinet near the batteries.

    - The charger shall be rated at 10 amps at 48 VDC.

    - When under battery operation the UPS output voltage must be between 110 VAC and 125VAC, with a sine wave with THD less than 3% at 60 Hertz (3 Hz).

    - The UPS shall be equipped to prevent a malfunction feedback to the utility service or to the cabinet per UL 1778, Section 48 “Back- Feed Protection Test”. The upstream back-feed voltage from the UPS must be less than 1 volt AC.

    - The UPS shall have a lightning surge protection in compliance with IEEE/ ANSI C.62.41 for 2000 volts AC.

    - The UPS shall not weigh more than 50 pounds.

    - The UPS shall have a minimum efficiency of 95%.

    - The generator bypass switch shall be supplied with a 30 amp, weather-proof locking receptacle and cover plate.

  - Computer Control and Display

    - The UPS shall include an LCD display with programmable keypad, a red LED and a green LED, and an RS-232 interface.

    - The UPS processor shall be capable of indicating, through the

LCD display or the RS-232 interface, the current battery charge status, various input/output voltages, power output, battery temperature, date, time, settings of programmable relays, events, and various other functions.

    - The UPS shall provide a temperature control for the cabinet fan.

    - The UPS shall be provided with a resettable inverter event counter and a cumulative inverter timer.

    - The UPS shall be equipped with an event log for a minimum of 100 events. Each event must have a date and time.

    - The UPS shall be capable of performing a self-test.

    - Password protection shall be provided.

    - The following LED conditions shall be used to indicate current status:

RED FLASHING - Alarm RED STEADY - Fault

GREEN FLASHING - Battery Mode GREEN STEADY - Line Mode

    - The manual UPS bypass switch will allow the UPS to be maintained or replaced.

  - Battery System

    - Individual batteries shall be 12 volt, and must be commercially available and easily replaced.

    - Four 79ah batteries shall be supplied.

    - The batteries will be connected in series. The wiring harness must be color coded and have quick disconnects.

    - Batteries must be certified to operate over a temperature range of

-25 C. to +74 C.

    - The batteries shall be extreme temperature, deep cycle, sealed prismatic lead-calcium based AGM/VRLA (absorbed glass mat/valve regulated lead acid) .

    - Maximum recharge time from protective low cut-off to 80% of full

capacity must not exceed 20 hours.

    - Thermostat controlled heater strips or pads shall be supplied to keep battery operation efficient.

  - Relay Contacts

    - The UPS shall provide 6 sets of panel-mounted, potential free, fully programmable relay contacts rated at 1 amp, 120 volt. The relays shall be numbered from C1 to C6.

    - Each relay shall be programmable to activate under any number of the following conditions:

ON BATTERY, relay activates when UPS switches to battery power.

LOW BATTERY, relay activates when batteries have reached a certain level of remaining capacity. This is adjustable from 0 to100%.

TIMER, relay activates after battery power is on for a certain amount of time. This is adjustable from 0 to 8 hours.

ALARM, relay activates after a specific alarm is detected. Alarm conditions include line frequency, low output voltage, no temperature reading, overload, batteries not connected, high temperature, and low temperature.

FAULT, relay activates after a specific fault is detected. Fault conditions include short circuitry, low battery voltage, high battery voltage, high internal temperature, and excessive overload.

OFF, relay is not active.

### LOAD SWITCH BAY

  - General. A panel shall be provided for mounting the load switch jacks, flash transfer relay jacks, flasher jack, auxiliary relays, time clock jacks, switches, flash change combination terminals, and terminals for field signal connections under non-interconnected operation. See Electrical Standard Drawings 964 and 965.

  - Wiring. Panel wiring must be neatly laced and properly terminated individual conductors. They must be insulated and properly sized for their application.

  - Load Circuits. Each load circuit shall be capable of carrying fifteen (15) amperes continuously at a temperature of 165 F. (74 C.).

  - Bus Feeds. Bus feeds shall be capable of carrying fifty (50) amperes continuously at a temperature of 165 F. (74 C.).

  - Equipment.	In addition to the items listed in 2(a), the wiring panel shall include, but not be limited to, the following:

    - Ten (10) ampere fuses with barrier type fuse holders shall be installed between the load switch signal output circuits and field terminals for signal light conductors. Each terminal shall be the barrier type with sufficiently long screws to accept four (4) #12 AWG solid conductors. The terminals must be located at least two inches (2") above the bottom of the cabinet.

    - Switching Device.	The signal load switching device shall be a three (3) circuit, solid state, jack mounted load switch which meets the N.E.M.A. Publication TS-1, Part 5 requirements. Each load switch shall be rated for a minimum fifteen (15) ampere continuous resistive load and must mate with an S-2412-SB panel socket. A minimum of twelve (12) and a maximum of sixteen (16) load switches to be provided with each cabinet, as defined in the contract.

    - User Programmable Interface. Two (2) sets of terminal blocks shall be provided between the machine logic output and the input side of the load switches. By terminating all machine logic output on one set of terminals and all load switch input to the other set, an interface is thus created by which the machine logic can be readily connected to any of the load switches by means of a jumper wire. The two (2) sets of terminal blocks must be conveniently located in close proximity to each other and must be arranged such that, initially, each function will be factory wired directly from one set of terminals to the other without the need to criss-cross wires between blocks.

    - Number of Signal Circuits:

      - Sixteen (16) load bay panel. Each panel shall be equipped with sixteen (16) load switch jacks for a minimum of forty-eight (48) signal circuits.

      - All unused signal circuits must be neatly tied or terminated. If tied, the harness wire must be labeled. If terminated, each termination must be identified.

  - Identification.	All field terminals must be suitably identified, subject to approval.

### FLASHING FEATURE

  - General. The flasher must be a solid state device, with no contact points or moving parts, producing between 50 and 60 flashes per minute with a 40 to 50 percent duty cycle.  The flasher mechanism shall be mounted on a type P-406-SB plug which will mate with an S-406-SB socket on the controller panel. The flasher must utilize zero-point switching, with turn-on at the zero voltage point (+ 5 degrees) of the power line sinusoid.

  - Flasher Panel. A panel must be provided with one (1) terminal wired to the flasher and marked "FL". The panel must be equipped with terminals to provide or omit flashing of all red and yellow outputs.

  - Flasher Circuits. Flashers shall provide two (2) output circuits to permit alternate flashing of signal phases and must be capable of carrying a minimum of twenty (20) amperes per circuit at 120 volts. The flasher must operate continuously so that flashing power will be available at the field terminal marked "FL". The flasher wiring must divide the loads imposed on the two

(2) circuit flasher alternately on each phase.

  - Manual Flash. A manual flash switch shall provide flashing indication for all circuits. The flash change combination terminals must allow the selection of flashing either yellow or red on the main and/or cross streets, or complete omission of the flashing feature if required.

### POLICE PANEL

  - Auto-Off Flash Switch.  Each controller must be provided with an auto-off-flash switch. In the "AUTO" position the signals will be on and the controller timing unit will run normally. In the "OFF" position the signals will be OFF and the controller timing unit will continue to run. In the "FLASH" position the signals will flash and the controller timing unit will continue to run. The auto-off flash switch must be located on the side of the police switch panel that faces outward when the police door is open.

  - Auto-Hand Switch. Each controller will have an auto-hand switch on the back side of the police switch panel. This switch must be so arranged that the switch can be physically rotated 180 degrees to provide usage after opening the police panel door. It must be so mounted that the act of rotation does not affect the police switch panel. Switch terminals must not be exposed on either position. The auto-hand switch must provide a means of manually timing the signals by use of a separate, momentary contact, hand switch. Operation of the timer by manual control must provide the same color sequence as an automatic operation with no momentary undesirable indications appearing. Manual control must be possible with the door of the cabinet closed. The hand switch required for manual control must only be supplied when specified in

the contract. It must be of an approved weatherproof construction with a six

(6) foot, retractable, flexible, extension cord to allow connection to the appropriate terminals on the panel of the controller. It must be possible to manually step through a vehicle clearance interval.

  - Terminal Block. A two point terminal block must be mounted on the back side of the police switch panel and the hand control circuit terminated on this block. This will be for installation of a hand control cord by others, as required.

  - Space Requirement. Adequate room must be provided in the police panel section to store the manual switch and retractable cord.

### RELAYS

  - Transfer Relays. Eight (8) double pole, double throw, flash transfer relays shall be furnished with each controller. These relays must be jack mounted into an S-408-SB, or equivalent, socket mounted on the controller panel.

  - Contact Arm. Each contact arm must have over travel on the front and back contacts and be independent of any other contact arms. No adjustment of contact pressure or wipe must be necessary. Load capability must be a minimum of fifteen (15) amperes per contact continuously and thirty (30) amperes for one (1) minute. Contacts must be of coin or fine silver or an approved alternate.

  - Dust Cover. A suitable dust cover must be furnished for each relay.

  - Relay Mounting and Endurance. All relays supplied must meet their approved specified requirements and must have contacts which cannot be opened by unusual vibrations, shock, or momentary voltage excursions of up to 30%. All relays other than the flash and bus relay must be mounted on a molded base with eleven (11) or eight (8) pins for jack mounting to their respective panel or sub-base, and must be electrically interchangeable with those presently used by the City of Chicago.

### COMMUNICATIONS INTERFACE PANEL

  - Where a communications interface has been specified to allow a controller to function as a Master or Secondary controller, then one of the specified options must be provided:

    - Fiber Optic Communications Interfaces must meet the following requirements:

      - General.	The fiber optic communications components must

consist of, but not be limited to, an internal fiber optic modem within the controller or an external fiber optic modem, a fiber optic patch panel to interface the modem to field fiber optic cables, and fiber optic jumpers between the modem and patch panel.

      - The modem must either be a multi-directional "star" type or a bi- directional type, as specified in the contract. All modems must be Electronic Industries Association (EIA) compatible for RS-232 data communications via fiber optic link. Modems must be multi- mode, operate at 850nm wavelength, and provide full-duplex, frequency modulated, asynchronous transmission at data rates of up to 38.4 kbps.

      - The fiber optic patch panel must consist of a 14" long by 5-3/4" wide by 3-1/4" high rack constructed in accordance with City of Chicago Electrical Standard Drawing #909. The rack must be designed to mount on the controller cabinet rails. "ST" type terminals, suitably labeled, must be provided for the connection of field fibers and Modem.

      - The fiber optic jumpers (i.e., optical patch cords) must consist of a single multi-mode fiber in 900 micron orange jacket, with "ST" type connectors factory installed on each end. The jumpers must be 3' long in Secondary (i.e., local) controller cabinets and 6' long in Master controller cabinets. The jumpers must be connected to the patch panel and supported in such a manner that the minimum bending radius is ten (10) times the diameter of the cable, and the cables exert no strain on the connectors. Each jumper must have a minimum tensile strength of 50 lbs.

    - Copper Wire Interconnect Panels (Seven Wire, VAC) must meet the following requirements:

      - General. The interconnect panel must serve to isolate interconnect VAC from the controller. The panel must consist of, but not be limited to, seven (7) relays. Each relay interconnect circuit must include an M.O.V. properly rated for protection against lightning and switching surges injurious to the controller and a barrier type 3AG fuse receptacle and fuse not to exceed five (5) amperes. Each panel must provide a seven (7) wire interface with the T.B.C. functions described below and must provide barrier type terminals suitably labeled for these functions.

      - The secondary interconnect panel must be wired in such a manner that a VAC input activates a relay sending an input from that relay to the controller. It must have a minimum of seven (7) relays for

the following functions; Dial 2, Dial 3, Dial 4, Offset 1, Offset 2, Offset 3, M.U.T.C.D. flash.

      - The master interconnect panel must provide a means to establish outgoing VAC for a seven (7) wire interconnect system using eight

(8) relays. The relays must have 24 VDC coils and be designated as, Dial 2, Dial 3, Dial 4, Sync, Offset 1, Offset 2, Offset 3,

M.U.T.C.D. flash. The sync relay must be wired in such a manner that it provides the offset pulse to the contacts of the three (3) Offset relays.

      - Each relay must be a double pole type, with one pole designated as field interconnect output, and the other designated as controller input. Relay coils must be rated for continuous duty. Relay contacts must be rated for a continuous fifteen (15) AMP resistive load.

      - A terminal strip must be mounted on the top of the master interconnect panel for controller interface.

      - The master panel must interface with the T.B.C. terminals as described above.

      - Each output must be fused as outlined above.

### RAILROAD INTERCONNECT REQUIREMENTS

  - General. The railroad preemption will meet the requirements of the ICC (Illinois Commerce Commission) and the requirements of IDOT (Illinois Department of Transportation).

  - IDOT. The railroad preemption will meet all the requirements of the Illinois Department of Transportation’s Standard Specifications for Road and Bridge Construction, adopted January 1, 2012. It must meet all the requirements of Article 1073.01 (c) (2) and Article 1074.03 (a) (5) e.

  - ICC. The railroad preemption will meet all the requirements of the Illinois Commerce Commission, as stated herein.

    - The railroad preempt relays and the City traffic cabinet in general must be able to be wired as indicated in IDOT’s Standard 857006- 01 “SUPERVISED RAILROAD INTERCONNECT CIRCUIT”. A

failure in the interconnection circuit will result in activation of a supervisory failure alarm.

    - Remote Flash. The Remote Flash input to the controller must be

inverted from normal NEMA logic. Instead of grounding the input to Logic Ground (0 volts DC) to activate, the Remote Flash will be normally grounded and will be activated when the input is in the Logic 1 (+24 volts DC) state. This will preclude the installation of a controller without the proper railroad software and a normal controller with standard (non-railroad) software will not be able to run the traffic signals.

    - Critical Components Series Loop. All critical components to railroad preemption such as relays and harnesses must utilize the 24 VOLT DC monitor voltage to form a series loop. Removal of any component will result in the traffic signals entering a flashing red condition. The 24 VOLT latch in the Management Malfunction Unit will be programmed, requiring manual reset if a failure in the series loop occurs.

    - Controller Preempt Input Verification. Like the supervisory interconnection circuit monitors the integrity of the interconnect cable, this feature monitors the integrity of the controller railroad preemption input and associated wiring within the traffic controller cabinet. This will utilize a secondary railroad preemption input that is normally active (on) when no demand for railroad preemption is present. When a demand for railroad preemption is received, the normal railroad preemptor input is applied and the secondary input is dropped. If both inputs are either simultaneously on or simultaneously off for a time period of more than one (1) second, the controller will recognize this as an input failure. When a failure occurs, the traffic controller will be configured to provide a track clearance interval followed by a flashing red condition. This occurrence will set a preempt input alarm and also will require a manual reset of the controller.

    - Track Clearance Green Re-service. Any demand for railroad preemption received at any point in the normal sequence, the emergency vehicle preemption sequence, a bus preemption sequence, or any other form of low priority preemption, or a previously called for railroad preemption sequence will result in the traffic controller providing a track clearance green indication within a “maximum time to track clearance green “ ( usually 8 seconds depending upon site specific criteria) and will provide a full track clearance green time interval after the preemption demand was received. The controller software must have the capability to restart the railroad preemption sequence providing a full track clearance green interval from any point within the railroad preemption sequence from the start of track clear green through the entire dwell/hold interval(s) including any exit yellow

and red clearance intervals, if the demand for preemption drops and is reapplied. The number of times the controller is able to react to successive demands for railroad preemption must not be limited. This will be a software based routine that does not require any user programming and must be designed into the software.

    - Preemption Priority. Preemptor number 1 is typically assigned to a supervisory failure in the interconnection circuit and preemptor 2 is typically assigned to a normal railroad preemption demand. Preemptor 1 must have priority over preemptor 2. Preemptor 2 must have priority over all other forms of preemption.

    - Delay Time. In order to compensate for noisy or intermittent calls, the controller must have a programmable delay timing parameter for railroad preemptors, programmed at 1 second. Any demands for railroad preemption lasting less than this time will be ignored. This will apply to any subsequent demands for railroad preemption that may occur while the controller is still within the railroad preemption sequence from a prior demand.

    - Non-Locking Preemption. The controller must have the capability to configure the railroad preemptors as non-locking calls. If a demand for preemption is placed for a duration of less than 1second (as programmed in the delay timer), the call will not lock and the controller will not initiate the preemption sequence. Furthermore, if an initial demand for preemption is dropped prematurely while the preemption sequence is still timing, the non- locking feature will allow the controller to re-service another demand for preemption.

    - Minimum Green before Preemption. The controller must have a separate minimum green timing parameter, programmed at 1 second, that replaces normal controller phase minimum green times when entering railroad preemption. When a demand for preemption is applied, any active phase(s) must terminate immediately or after they have been active for 1 second if the demand occurs at the start of the phase(s). If any indications that are part of the track clearance green are active when the demand for railroad preemption is placed, those indications will not terminate until after the track clearance green interval is completed.

    - Railroad Hold/Dwell Interval. The controller must have the capability to display a programmable phase(s) and rest in that phase(s) until the demand for railroad preemption is released. The controller must also have the option to cycle between a set of

programmable phases that don’t conflict with the railroad crossing, or rest in an all-red steady state until the demand is released. The necessity for cycling during the hold interval or the use of an all- red steady state is determined by an assessment of the specific site. The controller must have a timing parameter that will provide a minimum hold/dwell time, even if the demand for preemption is dropped prematurely. The controller must be able to re-service any subsequent demands for preemption during this minimum hold/dwell time.

    - Railroad Hold/Dwell Extension. The controller must have a timing parameter that will extend the hold/dwell interval for a programmed time after the demand for railroad preemption has been released. The controller must be able to re-service any subsequent demands for preemption during this extension time.

    - Pre-signal Timing. When pre-signals are present in advance of a railroad crossing, during normal operation the pre-signal green indications terminate a programmable time (timed overlap) prior to the indications at the intersection. The duration of the timed overlap should not be reduced when leaving normal operation to service other forms of preemption, such as emergency vehicle or bus preemption. If a demand for railroad preemption occurs during the timed overlap portion of the normal sequence, the overlap timer must terminate and the track clear green interval must begin immediately, after the pre-signal yellow and red vehicle clearance intervals are completed.

    - Remote Monitoring and Alarms. Capabilities to remotely monitor the traffic controller must be provided, including the capability to monitor the operation of the controller, upload logs/events, and to verify the integrity of the database. In addition, the controller must have the ability to automatically report alarms, such as preempt 1 activation, preemptor input failure, automatic flash, CRC failure, 24 volt failure, and other defined alarms. The controller must have the ability to prevent the remote download of changes to the critical data protected by the railroad preemption security feature.

    - Blank-out Signs. If these signs are used for railroad preemption, they should activate immediately with the activation of the railroad interconnect circuit. They should deactivate immediately with the deactivation of the interconnect circuit, not after the controller exits the railroad preemption sequence. Whenever the traffic signals are in flashing red operation, cabinet circuitry must be such that the signs will remain operational if the interconnect circuit activates due to railroad warning device activation.

  - CRC. A CRC module with all connections, a USB memory device, software, and any other firmware necessary to make the CRC fully functional will be provided if so designated.

    - Hardware. A 16 bit CRC (cyclical redundancy check) module must be provided. The module will connect to the ATC controller using unused I/O pins. Reassignment of unused inputs on the NEMA ‘A’, ‘B’, and ‘C’ connector I/O pins or connection to a proprietary ‘D’ module’s input pins will be acceptable. The final CRC value for the specific intersection requirements will be set on the module for that intersection. Removing the CRC module during normal operation of the intersection, or mismatching the values in the database and the CRC, will result in a fault condition and put the intersection in flash mode.

    - Software. The controller software/firmware will provide the logic and control facilities to fully implement CRC error detection. All the data elements (objects) required for the implementation will be contained in a proprietary data block. The software will provide a mechanism to “display” the final CRC value to be set on the CRC module.

A USB memory device will be utilized to ‘lock’ or ‘unlock’ the database. When the USB device is inserted into the controller, the controller will display a menu that will include a utility to ‘unlock’ the database. The USB device will contain a file structure that will allow access to the protected areas of the database. Once ‘unlocked’, the database can be edited through normal user interfaces. While the database is ‘unlocked’, the controller will drop the voltage/fault monitor signal to the conflict monitor to keep the intersection in flash. The CRC comparison check will be disabled during this period.

After all the changes to the database are completed, the user will use a utility on the USB to ‘lock’ the database. After the database is ‘locked’, another utility will allow the calculated CRC to be displayed. This can be used to configure the CRC module. After the CRC is connected and the USB is removed from the controller, the voltage/fault monitor signal to the conflict monitor will be enabled. A restart will be required to restart the controller.

Once the CRC module has been set (programmed), and the database has been locked, the controller can resume normal operation. The controller firmware will validate the stored CRC against the CRC module’s value at least once per second.

### WIRING

  - General. All electrical conductors must be stranded copper, with a minimum of nineteen (19) strands per conductor, and a concentrically applied 90 C. insulation with a 600 VAC rating. Wiring from the fuse block to the first distribution point, and to the controller bus, must be No. 10 AWG. Signal circuit wire must be No. 14 AWG. The wires must be provided with lugs or other approved terminal fittings for attachment to binding posts. All wiring between various parts of the controller must be neatly cabled. All wiring and terminal blocks must be tested for possible short circuits and resistance to ground by a high voltage dielectric test at 1,200 VAC. A wiring harness of adequate length must be provided to the timing device to allow the timer to be placed on top of the cabinet when required.

  - All VAC connections to load switches, flasher, and flash transfer relays must be soldered. All VAC connections on back of terminals must be soldered.

  - All VDC connections on back of terminals, and load switches must be soldered or connected with pre-approved terminations. All VDC connections to load switches are to be soldered or connected in a manner pre-approved by the City of Chicago's Division of Electrical Operations.

### TESTING REQUIREMENTS

  - General. The testing on the controllers must be done as described herein. Environmental testing must be done at the manufacturer’s facilities or at an independent laboratory, and must be certified by the manufacturer or the independent laboratory. Functional testing will be done at the City’s facilities. All controllers provided under the contract must be tested as stipulated under “Functional Burn-In Testing” and “Physical Inspection” at the manufacturer’s facilities. If a controller is ordered for a specific location, the manufacturer shall program and test the controller at the factory and certify the test results.

  - N.E.M.A. Environmental Test. One controller, unless approved previously, must be tested, at the manufacturer's expense, in accordance with Part 2 of NEMA Standards Publication TS1-1983. All of the tests listed must be performed with all data properly recorded and certified. If the manufacturer changes the design, fabrication or components of a previously tested and approved controller, then a sample of the controller containing the new design, fabrication or components must be retested at the manufacturer's expense. Any N.E.M.A. environmental test references to minimum recall must include but not be limited to: All sixty-four (64) output circuits must be programmed in a sequence to simulate the normal functioning of the entire controller cabinet assembly; the conflict monitor must have a test board with the allowable channel jumpers installed to simulate normal operation; All

thirty-two (32) intervals must be programmed with a minimum of two (2) seconds per interval.

  - Functional "Burn In" Testing. The manufacturer of the controller must perform, at his manufacturing facilities, a one hundred (100) hour burn-in test on every controller, conflict monitor, and appurtenant devices. This test period must be certified by the manufacturer with supportive documentation and must include the device serial number, dates and times of test periods, and results. Any failed, or nonconforming components, must be replaced at this time. After each of the components has passed the burn-in test, they may be used in the assembly of the complete controller unit. Each completed unit must be subjected to the seventy-two (72) hour function test as described in this specification. The "burn in" requirement must include a test that uses all sixty-four (64) output circuits in "solid" burn as well as 1 pps and 5 pps for each circuit. All thirty-two (32) intervals must be programmed with a minimum of two (2) seconds per interval. The documentation for a test program to simulate the normal functioning of the controller phasing must be supplied. A copy of the test program must be approved by the City of Chicago, Division of Electrical Operations prior to testing. Certification of these tests must be attached to the outside of the shipping container. This certification is in addition to any other documentation and/or testing required by these specifications.

  - Testing Requirements. In addition to the NEMA environmental test and the "burn-in" requirements stated above, satisfactory performance of the traffic signal cabinet and its equipment must be demonstrated. The manufacturer must submit five (5) copies of his proposed "Test Procedure Document" for approval with the sample requested above. The test procedure must consist of two (2) sections; physical inspection and functional testing. If the test procedure is judged by the Commissioner or his duly authorized representative to be incomplete, inadequate or otherwise deficient, the contractor must revise and resubmit his "test procedure document" until it is approved. No controller will be accepted until the "test procedure document" has been approved. Functional testing must include, but not be limited to, phasing for multiple legged intersections, bridge and railroad pre-empts, flash operation, actuation, and any combinations of these features. Controllers designed to function without railroad pre-empts must be shown to function without the presence of a railroad interconnect. Options for downward compatibility when replacing either HMC1000 controllers or LMD40 controllers must also be demonstrated. In addition, it should be demonstrated that the controller functions within the MIST system. Any failure must be addressed by the manufacturer within the time frame allotted.

  - UPS. Testing of the equipment must verify that the operation meets the requirements of this specification. All equipment must be shown to operate correctly, including the rectifier, charger, inverter, batteries, and control unit.

The UPS must be connected to a dummy load at the factory and tested for performance under various conditions of line voltage and frequency, varying loads, temperature range, and humidity range. The automatic switching must be successfully demonstrated; losing line power and restoration of line power must not adversely affect the operation of the traffic signals. Use of the manual bypass switch must be successfully demonstrated. A generator must be connected to the unit and successfully operate the system without interruption. The batteries must be shown to be able to operate the traffic signals for the specified time. The batteries must be shown to be able to be recharged in the specified time between failures. The control unit, including the LCD display and the RS-232 interface, must be shown to function according to this specification. All reports and event monitoring must be successfully demonstrated. Programming functions must also be shown to work properly.

  - Physical Inspection. The "physical inspection" portion of the test procedure document must require the manufacturer to perform a physical inspection of workmanship and specification compliance for each traffic signal controller assembly. The inspection must be done using a detailed check list defining items to be inspected and criteria for acceptance. The inspection must include, but not be limited to, the following items:

    - Hardware installation.

    - Assembly mounting.

    - Dimensions.

    - Presence of specified devices and materials.

    - Presence of required documents.

    - Labeling and required serial numbers.

    - Wiring including routing, covering, gauge, length, and soldering of terminations.

    - Arrangement of equipment for safety and ease of calibration reprogramming troubleshooting and maintenance.

    - Condition of cabinet body and finish.

    - Condition and installation of doors, panels, gaskets and ventilation.

    - High voltage test of insulation resistance to ground, with wires installed in cabinet and equipment disconnected.

  - Functional Testing. The "functional testing" portion of the Test Procedure must require the manufacturer to perform a complete room-temperature functional test of each complete traffic signal controller assembly for a minimum of seventy-two (72) hours. This test must be designed to concurrently check integrated hardware systems e.g., from simulated input to load switch output including conflict monitor and time base coordinator. All interface/controller interconnections must be tested. All load switch and interconnect relay positions must be tested, regardless of the number of load switches and interconnect relays being purchased. The functions tested must

include, but not be limited to, the following:

    - Flash logic and operation (color, phases).

    - Conflict monitor logic and operation.

    - Police panel switch operation.

    - Auxiliary panel switches (including fans).

    - Interface panel.

    - Time switch operation.

    - Load switches (with a continuous ten (10) ampere load on each signal circuit).

    - Outputs.

    - Power interruptions of less than 500 ms.

    - Power interruptions of more than 1.0 sec.

    - Generator Hook-up.

### SHIPMENT AND DELIVERY (Only applies to City commodity contracts)

  - Packaging. The cabinets must be shipped on individual pallets. Each cabinet must be individually wrapped and protected so that it can be handled without damage to the cabinet or its finish. The UPS and cabinet must be wrapped to give protection from the elements, as well as from shipping. If subassemblies or parts are ordered they must be suitably packaged to prevent damage during shipping and handling. All packages should be clearly labeled indicating the contents.

  - Delivery. The assembled cabinets, or subassemblies and parts, must be delivered to the Division of Electrical Operations at 2451 S. Ashland Avenue, unless otherwise directed. Assembled cabinets, or subassemblies and parts, must be available for testing and shipping within six weeks of the placement of an order.

### CHICAGO ATC MATRIX  -	TABLE A

(ATC Standard Version 5-2b June 26, 2000)

Since the ATC standard specifies a “family” of controllers, the following options have been selected from the ATC standard to meet the City’s needs.

| Functional Requirement | ATC Clause # | Status | Details |
| --- | --- | --- | --- |
| Shelf Mounted | 2.2.1 4.3.2.1 | Required | (Shelf mount only) |
| Use of ATC Engine Board | 2.2.2 4.3.2.2 5.1.1 5.1.2 5.3.2 5.3.4 5.3.5 5.3.5.1 5.4.2 5.4.3 5.4.4 5.4.5 | Required |  |
| Use of ATC Engine Board | 5.2.1 | Required | - Allowed component height below Engine Board PCB provided that the overall envelope remains unchanged, the clearance between the Host Board and Engine Board remains as specified, and the Engine Board still fits into a compliant Host Board |
| Use of ATC Engine Board | 5.2.2 5.4.5 | Required | In order to show the Ethernet communications to the Engine Board, the following “Reserved” pins can assume the following legacy functions: - P1-34: ENET2 Speed - P1-35: ENET2 Link/Activity - P1-36: ENET1 Speed - P1-37: ENET1 Link/Activity |
| Use of ATC Engine Board | 5.3.1 | Required | Minimum CPU capability of 500 MIPS |
| Use of ATC Engine Board | 5.3.3 | Required | Additionally, must provide a minimum of 16 MB of Flash total to accommodate future applications. |
| Use of ATC Engine Board | 5.4.1 | Required | - Engine Board shall not draw |

|  |  |  | more than 4W of power from VPRIMARY (due to battery backup in Chicago) - Engine may supplement VSTANDBY_5 with on-board storage for its standby power. |
| --- | --- | --- | --- |
| Use of ATC Engine Board | 5.4.3 | Required | - All optional baud rates shall be supported |
| Parallel I/O | 2.2.4 | Required | - No support required for TS2 Type 1 or ITS cabinets - Must provide parallel I/O for TS2 Type 2 cabinets and legacy parallel I/O interfaces via interchangeable modules |
| Linux O/S and ATC BSP | 2.2.5 4.3.1 4.3.3 | Required |  |
| Linux O/S and ATC BSP | 2.2.5 4.3.1 4.3.3 | Required |  |
| Linux Kernel | Annex A | Required |  |
| Parallel I/O | 3.4 | Required | Not required to support ITS Cabinet standard (NEMA cabinets are used) |
| Manage Clock/Calendar functions and synchronize with external source | 3.5.1.3 | Required | Must also support synchronization with absolute zero. |
| Manage Clock / Calendar functions and synchronize with External Source | 4.1.3 | Required | - BSP RTC driver shall automatically update the RTC with the OST time once per second with an accuracy of 0.1 seconds - Successive interruptions (e.g. on for 5 minutes, off for 3 minutes over a period of 8 hours) shall not introduce cumulative error |
| Configure and Verify Parameters | 3.5.1.4 4.1.4 | Required |  |
| Upload/Download blocks of data | 3.5.1.5 4.1.5 | Required |  |

| Monitor & Verify Application Status | 3.5.1.6 4.1.6 | Required |  |
| --- | --- | --- | --- |
| Operator Control of Application Execution | 3.5.1.7 | Required | Only a local operator is allowed to manage the starting, stopping and scheduling of one or more applications on the ATC. |
| Operator Control of Application Execution | 4.1.7 | Required |  |
| Long Term Storage of Log Data, etc | 3.5.1.8 4.1.8 | Required |  |
| Support Diagnostics | 3.5.3.3 4.3.4 | Required |  |
| Modes of Operation | 3.7 | Required | (Must support Standalone, Direct, and Distributed modes of operation) |
| Manage/Control a Variety of External Devices | 4.2.1 | Required | - Fixed Ports on the front panel shall be specified by the City - Only SP1 and SP2 are required to be supported on the modem slot - The dedicated synchronous serial port (SP5) is to be used exclusively for supporting a parallel I/O module (NEMA TS2 or legacy interface) |
| Monitor the Status of External Devices | 4.2.2 | Required | - Fixed Ports on the front panel shall be specified by the City - Only SP1 and SP2 and required to be supported on the modem slot - The dedicated synchronous serial port (SP5) is to be used exclusively for supporting a parallel I/O module (NEMA TS2 or legacy interface) |
| Support future Hardware Upgrades | 4.3.2 | Required |  |
| Environmental Requirements | 5.2.3 | Required |  |
| Front Panel Serial Ports | 6.2.3.1 6.1.3 6.3.2.1 | Required | One serial port on the front panel shall satisfy this section as an EIA-574 (25- pin) and be labeled “Port 2”. |
| Front Panel Serial Ports | 6.2.3.1 6.3.2.1 | Required | One serial port shall satisfy this section as an EIA-574 (9-pin) with a reduced |

|  |  |  | pin-out (TXD, RXD, and DC Reference at a minimum) and be labeled “Port 4”. C50_ENABLE shall not be supported. A second serial port shall fully satisfy this section as an EIA-574 (25-pin) and be labeled “Port 5.” |
| --- | --- | --- | --- |
| Front Panel Serial Ports | 6.2.3.2 6.1.3 6.3.2.2 | Required | One serial port shall satisfy this section as an EIA-485 (15-pin) with the TS2 Type 1 Port 1 pin-out and be labeled “Port 1”. |
| Front Panel Ethernet Ports | 6.2.3.9 6.3.2.9 7.1.4.4 | Required | There shall be a minimum of two Ethernet ports on the Front Panel (one for ENET1, one for ENET2) |
| User Interface | 7.1 7.1.1.2 7.1.4.4 7.1.4.5 7.1.4.7 | Required |  |
| User Interface | 7.1.1 | Required | Must meet City’s Minimum requirements |
| User Interface | 7.1.1.1 7.1.2.1 7.1.3 7.1.4.1 7.1.5 | Required | - Data key is not required - Front Panel Interface is to be integral to the controller (i.e. not removable, no SP6 connector) - “Option 1” to be selected but AUX switch is optional - Keypad shall have a minimum of 24 keys - LCD Display shall be graphical with a minimum resolution of 128 rows x 240 columns (up to 16 lines x 40 characters). - LCD pixel size shall be a minimum of 0.32mm x 0.32mm with a minimum pitch of 0.325mm with character size defined as 6 pixels wide x 8 pixels high - Refresh rate is a minimum of 10 times per second (due to larger display requirements) - LCD heater is mandatory to ensure sub-second LCD display |

|  |  |  | response over full temperature range. Heater shall only be active when needed and User is interacting with the controller locally (due to battery backup requirements). - Heater Power shall be up to 15V at 1A current maximum |
| --- | --- | --- | --- |
| Power Supply | 7.2 7.2.2 7.2.3 7.2.4 7.2.5 7.2.5.1 7.2.5.2 7.2.6.1 7.2.6.2 7.2.6.3 7.2.6.4 7.2.6.6 | Required | 12 V not required As applicable for NEMA cabinets only |
| Mechanical/Chassis | 7.3.1.3 7.3.1.4 | Required | - Only Shelf mounted units are acceptable - Only components / connectors specified by the City shall be located on either the Front or Rear panels. No C1 Type Connectors allowed. |
| I/O Interfaces | 8.1.1 8.2.2 8.2.2.1 8.2.2.2 8.2.2.3 | Required | - Support for TS2 Type 2 and TS1 Interfaces |
| I/O Interfaces | 8.1.2 8.2.2.5 | Required | - Support is only required for NEMA TS2 Type 2, TS1, and other similar legacy interfaces - NEMA TS2 Port 1 shall also be provided (for detectors only) |
| I/O Interfaces | 8.2.3 | Required | Port 1 Connector shall be provided as specified within this section (only used for detectors) |
| I/O Interfaces | 8.2.1.13 | Required | Legacy I/O interfaces shall respond as |

|  |  |  | required. |
| --- | --- | --- | --- |
| I/O Interfaces not required | 8.2.1 | Required | - No support for Model 332 Cabinets or ITS Cabinets & devices is to be provided |
| Environmental & Test Procedures | 9 | Required | All subsections are required |
| Performance & Material Requirements | 10 | Required | All subsections are required |
| Performance & Material Requirements | 10.1.15 | Required | All PCBs and similar construction mechanisms shall be mounted vertically (i.e. no horizontal PCBs are allowed). |
| Quality Control | 11 | Required | All subsections are required |

ELECTRICAL SPECIFICATION 1608 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED APRIL 2, 2021

ROADWAY LIGHTING CONTROL SMART NODES

- SUBJECT

This specification states the requirements for smart lighting control nodes. Each external or internal individual node is to be wired to an individual roadway luminaire. A third node will be used for control of a group of luminaires. Each node shall be connected to a wireless mesh network. There are three nodes specified. One node will consist of a standard twist-lock type (external node) which will be mounted to a matching receptacle on the outside of a roadway luminaire. The second type node will be mounted internally to a luminaire (internal node). The third type of node shall control a group of luminaires on a common circuit (circuit node). The nodes shall provide two-way wireless communications between the luminaires and the City's smart lighting system. Functions shall consist of energy monitoring, on/off control, dimming, and outage reporting.

### GENERAL

  - Information Required. Each bidder shall submit with his proposal the following information relative to the nodes he proposes to furnish.

    - Manufacturer's catalog description, including manufacturer's name and catalog ordering numbers.

    - Specification sheets.

    - Any other information as required herein.

  - Assembly. Each control node shall be delivered completely assembled, wired, and ready for installation.

  - Warranty. The manufacturer shall warrant every node against any defects due to design or workmanship developing within a period of five (5) years after the nodes have been accepted by the City. This will be interpreted particularly to mean failure of any component impairing the proper operation of the unit. Any

node developing defects within this period shall be replaced by the manufacturer at their sole expense and without cost to the City.

  - Sample. If so requested, a sample of the nodes of the manufacture intended to be furnished under this contract must be submitted to the Division of Electrical Operations within fifteen (15) days upon receipt of a request from the Chief Procurement Officer.

  - The manufacturer shall be ISO 9001 certified for quality management in the manufacturing field.

  - Nodes shall be FCC compliant for non-electrical interference.

  - Compliance. The nodes shall conform in detail to the requirements herein stated, and to the standards herein cited, of which the latest revisions shall govern.

### HOUSING

  - Housings shall be molded of a UV stabilized polycarbonate, pigmented to an approved color. The housing is required to be impact resistant.

  - A weather-proof, permanent label shall be attached to each unit indicating the manufacturer's name, month and year of manufacture, model and serial number, voltage and load ratings, and provision for marking installation and removal dates.

  - The dimensions of the external twist-lock node shall not exceed 5" high by 3.5" in diameter. The external node shall not weigh more than10 ounces.

  - The dimensions of the internal node shall not exceed 2.5" high, 4.25" length, and

  - " width. The internal node shall not weigh more than 11 ounces.

  - The internal smart node and the circuit smart node shall have lead wires of approximately 12 inches.

  - The external node shall have a neoprene or other approved gasket attached to the base to effectively seal the connections against weather and dust.

### ENVIRONMENTAL

  - The nodes shall operate within the temperature range of -40º C to +70º C.

  - The external node shall have an ingress protection rating of IP66.

  - The internal node shall have an ingress protection rating of IP65.

  - The circuit node shall have an ingress protection rating of IP65.

### ELECTRICAL

  - The nodes must function properly within the existing City lighting circuits and the power distribution system as provided by ComEd. Existing conditions shall not adversely affect the nodes, nor keep them from performing properly.

  - Power consumption shall be less than 2watts (at 120 volts).

  - The nodes must be stable and reliable over the range of 105 to 305 volts A.C., at 50/60 cycles.

  - Surge Arrestor. Over voltage protection shall be provided for the control components and the load circuit by means of a metal oxide varistor (MOV) or other specifically approved type arrestor. It must limit high voltage surges to a value at least 20% below the basic impulse insulation level (BIL in accordance with EEI-NEMA) of the control. The MOV must be rated for a minimum of 320 joules 6KV/3KA. In both external and internal nodes, the MOV must be mounted internally in the control housing.

  - Switching Relay. The ON-OFF switching operations shall be accomplished by normally closed contacts which must be opened by means of a rugged, properly rated, magnetic relay, subject to approval. The switching shall be positive and free of chatter and/or sticking of contacts. The contractor must provide test data verifying that contact chatter does not exceed 5 milliseconds when operated under loads as herein specified. The relay must have contacts of silver alloy, tungsten, or other specifically approved material.

  - Capacity. Maximum pass-through current shall be 10 amps. Maximum loading shall be 1500VA (960 watts).

  - Circuit nodes shall have an external antenna. The antenna shall be capable of being mounted to a cabinet and be weather hardened and vandal resistant. Lead wires for the antenna shall be included with each circuit node. A single antenna shall be capable of being shared by multiple nodes.

  - External twist-lock nodes shall be 7-pin. Internal nodes and circuit nodes shall have 7 lead -in wires. The circuit node shall also have wires for the antenna.

### OPERATION

  - The external nodes shall meet the requirements of ANSI C136.10 for twist-lock controls, as well as UL 773. All nodes shall meet the requirements of ANSI C136.41 for dimming control.

  - Internal nodes shall be able to communicate with the network even when installed inside the metal housing of a luminaire.

  - If an external node loses communication, then operation will default to the photocell. If the photo-cell malfunctions, the control will default to the on position.

  - If an internal node or circuit node loses communication, then the default operation of the node will provide power to the luminaire and the luminaire will remain on or be turned on.

  - Ability for Light turn-on or turn-off by programmed schedule.

  - 0-10VDC driver control, allowing dimming.

  - Remote control and reporting (two-way communications).

  - Metering.

    - Energy metering (0.5% accuracy).

    - Energy metering by hour, day, minute, with record keeping.

    - Metering Range: 105 to 305 VAC, 10A RMS (ANSI C12.20)

### PHOTO-CONTROL

  - The internal smart nodes and the circuit smart nodes shall not have a built-in photocell.

  - The external twist-lock node shall have a built-in photocell.

    - Photoconductive Cell. The photocell shall consist of a suitable substrate, a chemically inert electrode material and a thin layer of photosensitive cadmium sulfide or other acceptable photosensitive material. It must be hermetically sealed in a glass to metal package to prevent moisture and contamination damage. Plastic cased cells are not acceptable. Filtered silicon sensors in clear epoxy cases are also acceptable. The cell must not

be subject to overloading due to the demand of the design circuit nor the ambient temperatures surrounding the cell.

    - The external node control must be calibrated at 120V AC for a "turn-on" setting of 1.50 + 0.30 horizontal foot candles of natural illumination with a 2-5 second turn OFF delay. The "turn-off" setting must be adjusted to one and one half (1.5) times the "turn-on" setting. The external node control must have a 1-2 second turn ON delay.

### NETWORKING

The control nodes must operate on an open standards secure (WiSun) IEEE 802.15.4g wireless mesh based multi-application network with embedded Itron (formerly Silver Springs Network) communications.

The control nodes shall support Frequency-Hopping Spread Spectrum up to 300kbps mesh networking as well as automatic data routing with self- configuration, auto-healing & redundant uplinks.

The nodes shall operate within the City's Itron network.

### SECURITY

The control nodes must have full application and link-layer security with full PKI (Public Key Infrastructure), Advanced Encryption Standard AES-128 or AES 256, and embedded firewall which includes. integrated multi-layer security with end-to-end encryption and capability to prohibit unauthorized access.

### PACKAGING

  - Carton. Each smart lighting control node shall be individually packed in a carton of adequate strength and properly secured and protected to prevent damage to the unit during shipment, handling and storage. A master carton shall contain multiple units, each in individual cartons.

  - Marking. Each carton shall be clearly marked on the outside with the legend "SMART LIGHTING INTERNAL CONTROL NODE”, “SMART LIGHTING EXTERNAL CONTROL NODE", or "SMART LIGHTING CIRCUIT NODE"

(or similar as appropriate), with the number of units in the carton: volt-ampere load rating, voltage, manufacturer's name and catalogue number, and shipping or manufacturing date.

ELECTRICAL SPECIFICATION No. 1609

CITY OF CHICAGO DEPARTMENT OF TRANSPORTATION DIVISION OF ENGINEERING

OCTOBER 20, 2017

OUTDOOR LED LUMINAIRE SPECIFICATIONS: RESIDENTIAL STREETS, ALLEYS, & ARTERIAL STREETS (Cobra Head)

# SUBJECT

  - This specification states the requirements for non-ornamental Light Emitting Diode (LED) outdoor lighting luminaires. The LED luminaires will be integrated into a centralized lighting management system.

# GENERAL

  - References

American National Standards Institute (ANSI)

    - ANSI C78.377-2015, “American National Standard for Electric Lamps— Specifications for the Chromaticity of Solid State Lighting (SSL) Products”

    - ANSI C82.77-10-2014, “American National Standard for Lighting Equipment—Harmonic Emission Limits—Related Power Quality Requirements”

    - ANSI C136.2-2015, “American National Standard for Roadway and Area Lighting Equipment—Dielectric Withstand and Electrical Transient Immunity Requirements”

    - ANSI C136.10-2010, “American National Standard for Roadway and Area Lighting Equipment—Locking-Type Control Devices and Mating Receptacles—Physical and Electrical Interchangeability and Testing”

    - ANSI C136.15-2015, “American National Standard for Roadway and Area Lighting Equipment—Luminaire Field Identification”

    - ANSI C136.22-2004 (R2009, R2014), “American National Standard for Roadway and Area Lighting Equipment—Internal Labeling of Luminaires”

    - ANSI C136.25-2013, “American National Standard for Roadway and Area Lighting Equipment—Ingress Protection (Resistance to Dust, Solid Objects and Moisture) for Luminaire Enclosures”

    - ANSI C136.31-2015, “American National Standard for Roadway and Area Lighting Equipment—Luminaire Vibration”

    - ANSI C136.37-2011, “American National Standard for Solid State Light Sources Used in Roadway and Area Lighting”

    - ANSI C136.41-2013, “American National Standard for Roadway and

Page | 1

Area Lighting Equipment–Dimming Control Between an External Locking Type Control and Ballast or Driver”

    - ASTM B85/B85M-14, “Standard Specification for Aluminum-Alloy Die Castings”

    - ASTM B117-16, “Standard Practice for Operating Salt Spray (Fog) Apparatus”

    - ASTM D523-14, “Standard Test Method for Specular Gloss”

    - ASTM D1654-08, “Standard Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments”

    - ASTM G154-12a, “Standard Practice for Operating Fluorescent Ultraviolet (UV) Lamp Apparatus for Exposure of Nonmetallic Materials”

Illuminating Engineering Society of North America (IES)

    - ANSI/IES LM-63-02, “Standard File Format for Electronic Transfer of Photometric Data”

    - IES LM-79-08, “Approved Method: Electrical and Photometric Measurements of Solid-State Lighting Products”

    - ANSI/IES LM-80-15, “IES Approved Method: Measuring Luminous Flux and Color Maintenance of LED Packages, Arrays and Modules”

    - ANSI/IES RP-8-14, “Roadway Lighting”

    - IES TM-21-11 (with Addendum B), “Projecting Long Term Lumen Maintenance of LED Light Sources”

Institute of Electrical and Electronics Engineers (IEEE)

    - IEEE Std 1789-2015, “IEEE Recommended Practices for Modulating Current in High-Brightness LEDs for Mitigating Health Risks to Viewers”

International Electrotechnical Commission (IEC)

    - IEC 60929:2011 (with Amendment 1), “AC and/or DC-supplied electronic control gear for tubular fluorescent lamps - Performance requirements”

Underwriters Laboratories (UL)

    - ANSI/UL 1598 (3rd Edition), "Luminaires”

Page | 2

  - Submittal Requirements:

The Contractor must submit the following information pertaining to each specified luminaire type within fifteen (15) days of request:

- Completed ATTACHMENT B – Submittal Form

- Product Data Sheets.

  - Luminaire data sheets – including summary product description, dimensioned outline drawings, and nominal characteristics including but not limited to: initial luminous flux (lumens), input power (watts), input voltage range (volts), LED drive current (milliamps), correlated color temperature (kelvins), color rendering index, effective projected area (square feet) and weight (pounds).

  - LED Driver data sheet – including information described in LED Driver Requirements Section III-I-3.

  - LED light source data sheet

  - Surge protection device data sheet - if applicable

- Photometric Performance Data

The manufacturer must provide photometric calculations, as part of each luminaire’s submittal package, that demonstrate the luminaire’s photometric performance will meet or exceed the photometric requirements listed in this specification. The submitted lighting calculations must include point-by- point illuminance, luminance and veiling luminance data, as well as listings of all indicated averages and ratios. Photometric reports must include the following information and be in accordance with the standards listed below:

  - IES LM-79-08 photometric report that includes measured values for initial luminous flux, input power, correlated color temperature, and color rendering index.

  - ANSI/IES LM-63-02 electronic format photometric file that corresponds to the LM-79 report.

  - LM-63 photometric calculations that demonstrate compliance with the illumination requirements specified herein using the LM-63 file. Calculation grids and observer locations not specified herein must be in accordance with ANSI/IES RP-8-14.

  - IES TM-21-11 calculations that derive the lumen maintenance (lamp lumen depreciation or LLD) factor applied to photometric calculations specified herein.

    - ANSI/IES LM-80-15 and in-situ temperature measurement testing (ISTMT) reports containing data used in TM-21 calculations must also be submitted.

Page | 3

    - TM-21 calculations must apply to the maximum LED case temperature from ISTMT, shall not extrapolate beyond six times the duration of available LM-80 test data, and must be submitted in the spreadsheet format of the ENERGY STAR TM-21 calculator (https://www.energystar.gov/products/spec/luminaires_specification_ version_2_0_pd).

LM-79, ISTMT, and LM-80 reports must correspond directly to submitted luminaires, and must be produced by test laboratories that satisfy the Testing Laboratory Requirements of the Design Lights Consortium (www.designlights.org/content/QPL/ProductSubmit/LabTesting).

ISTMT must be conducted in accordance with the Design Lights Consortium Manufacturer’s Guide (https://www.designlights.org/content/qpl/productsubmit).

ISTMT shall be conducted in an ambient temperature of 25 ± 5 °C. Ambient temperature variations above or below 25 °C shall be respectively subtracted from or added to temperatures recorded at points on the luminaire.

- Safety Certification - file number indicating compliance with UL 1598. Applicable testing bodies are determined by the US Occupational Safety Health Administration (OSHA) as Nationally Recognized Testing Laboratories (NRTL) and include: CSA (Canadian Standards Association), ETL (Edison Testing Laboratory), and UL (Underwriters Laboratory).

- Vibration Testing - the luminaire must comply with ANSI C136.31 at Vibration Test Level 2 (3.0 G).

- Product Samples - at least two samples of each luminaire that the contractor proposes to use must be submitted to the City. All samples must be representative production units and be supplied at no cost to the City.

  - Assembly.

Each luminaire must be delivered completely assembled, wired, and ready for installation.

  - Warranty.

The luminaire manufacturer must warrant the performance and construction of luminaires to meet the requirements of this specification, and must warrant all parts, components and appurtenances against defects due to design, workmanship or material developing within a period of ten (10) years from the date of acceptance by the City.

    - The inability of a luminaire to be dimmed will constitute a luminaire failure.

    - Failure of 10% or more of the LED light sources (packages or arrays/modules) in a luminaire will constitute a luminaire failure.

Page | 4

    - The warranty must apply for application on all of the City’s existing electrical systems, both grounded and ungrounded.

    - During the warranty period the City may, from time to time, test a random sampling of 10-20 luminaires for verification of light output per IES LM-79 and to test dimming functionality for a given luminaire population. The percentage of luminaires not performing as required in the random sampling will be applied to the total population quantity to determine the number of new luminaire replacements that must be delivered to the City by the manufacturer, without expense to the City.

  - Manufacturing Experience and Capacity

The manufacturer must demonstrate at least a five year history of manufacturing LED roadway and outside area luminaires by providing a list of prior projects with project description, date, location, quantities and reference contact information. The manufacturer must also demonstrate the capacity to supply the quantities required for the contract in a timely manner.

# CONSTRUCTION

  - Weight

The net weight of these luminaires must not be more than 30 pounds.

  - Housing.

The preferred luminaire housing material is die-cast aluminum alloy meeting ASTM Specification A380. Alternate materials may be considered. The housing must enclose the mounting hardware, LED arrays, control receptacle, terminal board, and electronic driver. The housing must include a surface to facilitate leveling with a spirit level. The housing must have integral heat sink characteristics, such that all enclosed components will operate within their designed operating temperatures under expected service conditions. No external or removable heat shields or heat sinks; are permitted. The housing must be designed to encourage water shedding.

The housing must be designed to minimize dirt and bug accumulation on the optic surface.

  - Mounting Provisions.

The luminaire must include a heavy gauge slip fitter clamping assembly suitable for secure attachment over the end of a two (2) inch 2” IP (2.375” OD) steel pipe with an approved means of clamping it firmly in mounting bracket. The slip fitter mounting clamp must contain an approved shield around the pipe entrance to block the entry of birds.

  - Access Door-Panel.

An access door panel allowing access to the terminal strip and LED driver must be provided. A die-cast aluminum door-panel composed of aluminum alloy A380 is preferred; alternate materials may be considered. The door-panel must be hinged to the luminaire housing and suitably latched and fastened at the closing end. It must be made to be removed easily. The hinge and fastening devices must be captive parts which will not become disengaged from the door panel.

Page | 5

  - Hardware.

All machine screws, locknuts, pins and set screws necessary to make a firm assembly, and for its secure attachment to the mast arm, must be furnished in place. All hardware must be of stainless steel, zinc plated steel, copper silicon alloy or other non-corrosive metal, and where necessary must be suitably plated to prevent electrolytic action by contact with dissimilar metals.

  - Finish.

The luminaire must have a polyester powder coat with a minimum 2.0 mil thickness. Surface texture and paint quality will be subject to approval. Color must be as specified in the order. A paint chip must be submitted as a sample upon request. The finish must exceed a rating of six per ASTM D1654 after 1000 hours of testing per ASTM B117. The coating must exhibit no greater than 30% reduction of gloss per ASTM D523 after 500 hours of QUV testing at ASTM G154 Cycle 6.

Page | 6

  - Ingress Protection.

- The luminaire electric compartment housing must have an ingress protection rating of IP54 or better as described in ANSI C136.25-2013). The optical system must have a minimum rating of IP 66.

- The luminaire must be listed for wet locations by a U.S. Occupational Safety Health Administration (OSHA) Nationally Recognized Laboratory (NRTL) and have a safety certification and file number indicating compliance with UL 1598.

  - General Luminaire Requirements

- The luminaire must be rated to operate between -40° to +50° Celsius.

- The luminaire must have the option of adding a house side shield. The shield should be designed to be easily installed in the field. The house side shield must be composed of a sturdy material capable of withstanding vibrations and weather conditions. The shield must cut off light trespass at approximately one mounting height behind the pole.

- The luminaire must meet the requirements of ANSI C136.22 for internal labeling. A bar code with pertinent information for warranty and maintenance must be attached to the inside of the housing. A separate bar code label must be on the driver

- The luminaire must be able to provide pertinent product information, for warranty and maintenance purposes, in a digital format that is compliant with the Digital Addressable Lighting Interface (DALI) protocol. This information will be transmitted through the networked Lighting Management control system.

  - Electrical Components

- LED Optical Arrays

  - The LED arrays must be properly secured at the factory and must not require field adjustment for optimum photometric performance.

- Terminal Block

  - A terminal block of high grade molded plastic of the barrier or safety type must be mounted within the housing in a readily accessible location.

  - Terminal block wiring; all necessary terminals, pre-wired to all luminaire components, must be provided.

  - Terminal block terminals must have copper plated or brass plated, clamp-type pressure connectors of an approved type for "line" connections, to accommodate wire sizes from #12 to #8 A.W.G.

  - Terminal block terminals for internal component connections must

Page | 7

- LED Driver:

  - Voltage. The electronic driver must operate at an input voltage range of between 120 and 277 volts, 60 Hertz. It must automatically sense the input voltage and adjust the output accordingly. The City uses nominal input voltages of 120, 208, and 240 for street lighting. When operated at any supply voltage between 80 percent and 110 percent of its rated supply voltage and at rated input frequency, a driver shall provide current and/or voltage regulation that equals or exceeds the values specified by the manufacturer.

  - Electrical Safety. Luminaires must operate at or below the Low-Risk Level, as defined in Figure 18 of IEEE 1789-2015. This requirement must be satisfied across the dimming range.

  - Power Factor (PF). The power factor of the driver over the design range of input voltages specified above must be in accordance to ANSI C82.77-2014. PF must be ≥ 0.9.

  - Total Harmonic Distortion (THD). The driver input current must have specified THD in accordance to ANSI C82.77-2014. THD must be

≤32%.

  - Thermal Protection. The driver must be thermally protected to shut off when operating temperatures reach unacceptable levels.

  - Electromagnetic Interference. Luminaire must comply with the FCC radiation emission limits for Class B digital devices given at 47 CFR 15.109.

  - Electrical Transient Immunity.

    - Dielectric Withstand Testing - luminaire must meet the performance requirements specified in ANSI C136.2-2015 for dielectric withstand, using the DC test level and configuration.

    - Electrical Transient Immunity - luminaire must meet the performance requirements specified in ANSI C136.2-2015 for electrical transient immunity, using the Enhanced (10 kV / 5 kA) combination wave test level.

    - Transient Immunity Testing Requirements

      - During electrical transient immunity testing, the device under test (DUT) must: be connected to the power source through a series coupler/decoupler network (CDN), using a two-wire (hot or hot/neutral) connection between both the

Page | 8

power supply and CDN input and the CDN output and DUT.

      - If AC mains is used to power the DUT, the input waveform must be characterized and documented both before and after electrical transient immunity testing, with the DUT operating at rated full output.

      - For Pre-Test DUT Characterization, the diagnostic measurements shall, at a minimum, include the following: real power, input current (RMS; Root-Means-Square), power factor, and current distortion factor (THD-I Total Harmonic Distortion) when operating at rated full output.

      - Manufacturer must indicate on submittal form whether failure of the electrical transient immunity system can possibly result in disconnect of power to luminaire.

  - Dimming Capability. The driver must be capable of dimming. The dimming range must be 10% to 100% of full output. The digital lighting interface used for dimming must be DALI (Digital Addressable Lighting Interface) as per the requirements of IEC 62386. There must be a minimum of 100 dimming steps between the top and bottom of the dimming range.

- Wiring.

  - All components must be completely factory wired with non-fading, color coded leads. These leads must be insulated with an approved class of insulation and must be #16 AWG conductor at a minimum.

  - All wires within a single circuit path must be of the same size.

  - No wire-nut splicing will be allowed.

  - No unnecessary splices will be allowed.

  - Quick disconnects must be provided for all components.

  - All wires must be properly terminated.

- Control Device Receptacle and Cap.

  - Twist-lock Receptacle for a control device that meets ANSI C136.41 must be mounted in the top of the housing with provision for proper positioning of the control device.

  - 7-pin Receptacle. The luminaire control receptacle must be fully

Page | 9

  - 3-prong Shorting Cap that meets ANSI C136.10 must be provided.

  - Receptacle Wire Leads must all be properly terminated.

  - Receptacle repositioning. The receptacle must be able to be repositioned without the use of tools.

  - Control Devices Not Included in LED Specifications. Whereas specifications for control receptacles are included, specifications for control devices are not. The control device performance requirements are part of the lighting management system specifications in the Smart Lighting Project Technology specifications.

- Component Mounting.

All electrical components must be securely mounted in such manner that individual components can be easily maintained or replaced. Permanent straps or tie-wraps will not be permitted. The entire assembly should be easily disconnected and removed for replacement.

# PHOTOMETRIC REQUIREMENTS

- Light Pollution.

To limit light pollution, the submitted luminaires must not emit any light above the horizon (0 lumens at angles ≥ 90° from luminaire nadir).

- Lumen Maintenance.

  - LED arrays must deliver a minimum of 90% of initial lumen output at 36,000 hours of operation.

  - Light Loss Factor (LLF) < 1.0. Calculations for maintained values,

i.e. LLF = LLD x LDD x LAT.

- Lamp Lumen Depreciation (LLD) calculated at 60,000 hours as per Section II-B-3-d above,

- Luminaire Dirt Depreciation (LDD) ≤0.90, and

- Luminaire Ambient Temperature (LAT) ≤0.96

Luminaires with less than 10,000 hours of available LM-80 test data may be submitted for consideration but must be clearly indicated as such.

- Color Attributes

  - Color Rendering Index (CRI) shall be no less than 65.

  - Nominal Correlated Color Temperature (CCT) shall be 3000K as defined by ANSI C78.377 and described below:

Page | 10

|  | Manufacturer-Rated Nominal CCT (K) |  | Allowable IES LM-79 Chromaticity Values |  |
| --- | --- | --- | --- | --- |
|  |  |  | Measured CCT (K) | Measured Duv |
| 3000 |  |  | 2870 to 3220 | -0.006 to 0.006 |

- City of Chicago Typical Lighting Contexts

ATTACHMENT A (below) lists the photometric performance requirements for luminaires used in the following typical municipal outdoor lighting applications:

- Modern Residential Streets - staggered poles on both sides.

- Arterial Streets – two-sided opposite pole spacing

- Arterial Streets – two-sided staggered pole spacing

Page | 11

## ATTACHMENT A – Photometric Performance Requirements

| STREET PARAMETERS |  |  |  |  |
| --- | --- | --- | --- | --- |
| TYPICAL LIGHTING CONTEXT | RESIDENTIAL | ARTERIAL |  |  |
| POLE CONFIGURATION* | STAGGERED | OPPOSITE | STAGGERED |  |
| RIGHT OF WAY (Width) | 66 ft. | 100 ft. | 80 ft. | 66 ft. |
| IES PAVEMENT CLASS | R3 | R3 | R3 | R3 |
| STREET WIDTH (Curb to Curb) | 34 ft. | 80 ft. | 60 ft. | 48 ft. |
| LANES (Incl Prking &Median) | 4 | 7 | 6 | 4 |
| PARKWAY (Width) | 10 ft. | 4 ft. | 4 ft. | N/A |
| SIDEWALK (Width) | 6 ft. | 6 ft. | 6 ft. | 9 ft. |
| HEIGHT TO LUMINAIRE | 18 ft. | 33 ft. | 33 ft. | 33 ft. |
| MAST ARM LENGTH | 8 ft. | 12 ft. | 12 ft. | 8 ft. |
| POLE SETBACK (From Curb to Center of Pole) | 3 ft. | 3 ft. | 3 ft. | 3 ft. |
| IN-LINE POLE SPACING | 220 ft. | 210 ft. | 210 ft. | 210 ft. |
| MAINTAINED PERFORMANCE REQUIREMENTS |  |  |  |  |
| LUMINAIRE REQUIREMENTS | STAGGERED | OPPOSITE | STAGGERED |  |
| Max Input Power - Default /Normal Luminance (Watts) | 120 | 180 | 180 | 180 |
| Default/Normal AVG. Luminance (cd/m²) | ≥1.5 | ≥1.7 | ≥1.7 | ≥1.7 |
| AVG/MIN Uniformity Ratio | ≤ 6:1 | ≤ 3:1 | ≤ 3:1 | ≤ 3:1 |
| MAX/MIN Uniformity Ratio | ≤10:1 | ≤ 5:1 | ≤ 5:1 | ≤ 5:1 |
| MAX Veiling Luminance Ratio | ≤ 0.4 | ≤ 0.3 | ≤ 0.3 | ≤ 0.3 |
| AVG. Boosted Luminance (cd/m²) [Add-Alternate] | ≥2.25 | ≥2.5 | ≥2.5 | ≥2.5 |
| SIDEWALK |  |  |  |  |
| Default AVG. Horizontal Illuminance (fc) | ≥0.50 | ≥0.50 | ≥0.50 | ≥0.50 |
| AVG.MIN Uniformity Ratio (Horizontal Illuminance) | ≤ 4:1 | ≤ 4:1 | ≤ 4:1 | ≤ 4:1 |
| LIGHT TRESPASS RESTRICTIONS - (as measured in a vertical plane 10' beyond ROW ≤3' height) |  |  |  |  |
| MAX Vertical Illuminance | ≤ 0.07 | ≤ 0.3 | ≤ 0.30 | ≤ 0.30 |

Page | 12

## ATTACHMENT B - Product Submittal Form

| Lighting Context | e.g. Alleys |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Product Information Description | Product Data (Summary) |  |  |  | Submittal Reference Document |
| Luminaire Designation |  |  |  |  |  |
| Luminaire Manufacturer |  |  |  |  |  |
| Luminaire Model Number |  |  |  |  |  |
| Luminous Flux – initial | lumens |  |  |  |  |
| Luminaire input power—initial | watts |  |  |  |  |
| Luminaire input power—maintained | watts |  |  |  |  |
| Luminaire input voltage- nominal range | volts |  |  |  |  |
| LED drive current - initial | milliamps |  |  |  |  |
| LED drive current - maintained | milliamps |  |  |  |  |
| CCT (correlated color temperature) | kelvin |  |  |  |  |
| CRI (color rendering index) |  |  |  |  |  |
| EPA (effective projected area) - nominal | sq. ft. |  |  |  |  |
| Luminaire Weight - nominal | lbs. |  |  |  |  |
| Control Interface |  ANSI C136.41, 7-pin |  |  |  |  |
| LED Driver – dimming capability |  Dimmable, 0-10V |  |  Dimmable, DALI |  |  |
| LED driver- rated life | years |  |  |  |  |
| Electrical transient immunity ANSI C136.2 combination wave test level |  Basic (6kV/3kA) |  Enhanced (10kV / 5kA) |  |  Elevated (20kV/10kA) |  |
| Vibration Test-ANSI C136.31 |  Level 2 |  |  |  |  |
| Luminaire warranty period | years |  |  |  |  |
| IES LM-80 test duration | hours |  |  |  | IES LM-80-15 report |
| LED lumen maintenance at 36,000 hours | % |  |  |  | TM-21 calculator |
| Max. LED case temperature | degrees Celsius |  |  |  | ISTMT report |

Page | 13

ELECTRICAL SPECIFICATION 1612 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO REVISED APRIL 9, 2021

ROADWAY LED LUMINAIRE: ORNAMENTAL ACORN FOR ARTERIAL STREETS

# SUBJECT

  - This specification states the requirements for an ornamental Acorn LED street light luminaire. The luminaire shall be for arterial street lighting. The overall shape of the luminaire shall be historic acorn. The LED luminaires will be integrated into a centralized lighting management system. The luminaire shall be mounted on a tenon at a mounting height of 14, 16 or 23 feet above grade and be similar to an IES Type II/III medium non- cutoff distribution. The luminaire will be used to provide roadway lighting for arterial streets.

# GENERAL

  - References

American National Standards Institute (ANSI)

    - ANSI C78.377-2015, “American National Standard for Electric Lamps— Specifications for the Chromaticity of Solid State Lighting (SSL) Products”

    - ANSI C82.77-10-2014, “American National Standard for Lighting Equipment— Harmonic Emission Limits—Related Power Quality Requirements”

    - ANSI C136.2-2015, “American National Standard for Roadway and Area Lighting Equipment—Dielectric Withstand and Electrical Transient Immunity Requirements”

    - ANSI C136.10-2010, “American National Standard for Roadway and Area Lighting Equipment—Locking-Type Control Devices and Mating Receptacles— Physical and Electrical Interchangeability and Testing”

    - ANSI C136.15-2015, “American National Standard for Roadway and Area Lighting Equipment—Luminaire Field Identification”

    - ANSI C136.22-2004 (R2009, R2014), “American National Standard for Roadway and Area Lighting Equipment—Internal Labeling of Luminaires”

    - ANSI C136.25-2013, “American National Standard for Roadway and Area Lighting Equipment—Ingress Protection (Resistance to Dust, Solid Objects and Moisture) for Luminaire Enclosures”

    - ANSI C136.31-2015, “American National Standard for Roadway and Area Lighting Equipment—Luminaire Vibration”

Page | 1

    - ANSI C136.37-2011, “American National Standard for Solid State Light Sources Used in Roadway and Area Lighting”

    - ANSI C136.41-2013, “American National Standard for Roadway and Area Lighting Equipment–Dimming Control Between an External Locking Type Control and Ballast or Driver”

    - ASTM B85/B85M-14, “Standard Specification for Aluminum-Alloy Die Castings”

    - ASTM B117-16, “Standard Practice for Operating Salt Spray (Fog) Apparatus”

    - ASTM D523-14, “Standard Test Method for Specular Gloss”

    - ASTM D1654-08, “Standard Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments”

    - ASTM G154-12a, “Standard Practice for Operating Fluorescent Ultraviolet (UV) Lamp Apparatus for Exposure of Nonmetallic Materials”

Illuminating Engineering Society of North America (IES)

    - ANSI/IES LM-63-02, “Standard File Format for Electronic Transfer of Photometric Data”

    - IES LM-79-08, “Approved Method: Electrical and Photometric Measurements of Solid-State Lighting Products”

    - ANSI/IES LM-80-15, “IES Approved Method: Measuring Luminous Flux and Color Maintenance of LED Packages, Arrays and Modules”

    - ANSI/IES RP-8-14, “Roadway Lighting”

    - IES TM-21-11 (with Addendum B), “Projecting Long Term Lumen Maintenance of LED Light Sources”

Institute of Electrical and Electronics Engineers (IEEE)

    - IEEE Std 1789-2015, “IEEE Recommended Practices for Modulating Current in High-Brightness LEDs for Mitigating Health Risks to Viewers”

International Electrotechnical Commission (IEC)

    - IEC 60929:2011 (with Amendment 1), “AC and/or DC-supplied electronic control gear for tubular fluorescent lamps - Performance requirements”

Underwriters Laboratories (UL)

    - ANSI/UL 1598 (3rd Edition), "Luminaires”

Page | 2

  - Submittal Requirements:

The bidder shall submit the following information pertaining to the specified luminaire:

- Completed ATTACHMENT B – Submittal Form

- Product Data Sheets.

  - Luminaire data sheets – including summary product description, dimensioned outline drawings, and nominal characteristics including but not limited to: initial luminous flux (lumens), input power (watts), input voltage range (volts), LED drive current (milliamps), correlated color temperature (kelvins), color rendering index, effective projected area (square feet) and weight (pounds).

  - LED Driver data sheet – including information described in LED Driver Requirements Section III-D-3.

  - LED light source data sheet

  - Surge protection device data sheet - if applicable

- Photometric Performance Data

If requested by the chief Procurement Officer, the bidder shall provide photometric calculations, within fifteen (15) days of such request, that demonstrate the luminaire’s photometric performance will meet or exceed the photometric requirements listed in this specification. The submitted lighting calculations must include point-by-point illuminance, luminance and veiling luminance data, as well as listings of all indicated averages and ratios.

Photometric reports must include the following information and be in accordance with the standards listed below:

  - IES LM-79-08 photometric report that includes measured values for initial luminous flux, input power, correlated color temperature, and color rendering index.

  - ANSI/IES LM-63-02 electronic format photometric file that corresponds to the LM-79 report.

  - LM-63 photometric calculations that demonstrate compliance with the illumination requirements specified herein using the LM-63 file. Calculation grids and observer locations not specified herein must be in accordance with ANSI/IES RP-8-14.

  - IES TM-21-11 calculations that derive the lumen maintenance (lamp lumen depreciation or LLD) factor applied to photometric calculations specified herein.

    - ANSI/IES LM-80-15 and in-situ temperature measurement testing (ISTMT) reports containing data used in TM-21 calculations must also be submitted.

Page | 3

    - TM-21 calculations must apply to the maximum LED case temperature from ISTMT, shall not extrapolate beyond six times the duration of available LM-80 test data, and must be submitted in the spreadsheet format of the ENERGY STAR TM-21 calculator (https://www.energystar.gov/products/spec/luminaires_specification_versi on_2_0_pd).

LM-79, ISTMT, and LM-80 reports must correspond directly to submitted luminaires, and must be produced by test laboratories that satisfy the Testing Laboratory Requirements of the Design Lights Consortium (www.designlights.org/content/QPL/ProductSubmit/LabTesting).

ISTMT must be conducted in accordance with the Design Lights Consortium Manufacturer’s Guide (https://www.designlights.org/content/qpl/productsubmit).

ISTMT shall be conducted in an ambient temperature of 25 ± 5 °C. Ambient temperature variations above or below 25 °C shall be respectively subtracted from or added to temperatures recorded at points on the luminaire.

- Safety Certification - file number indicating compliance with UL 1598. Applicable testing bodies are determined by the US Occupational Safety Health Administration (OSHA) as Nationally Recognized Testing Laboratories (NRTL) and include: CSA (Canadian Standards Association), ETL (Edison Testing Laboratory), and UL (Underwriters Laboratory).

- Vibration Testing - the luminaire must comply with ANSI C136.31 at Vibration Test Level 1 (1.5 G).

- Product Sample. Upon a request from the Chief Procurement Officer, a sample of the luminaire that the bidder proposes to submit must be delivered to the City, within fifteen (15) days of such a request.. Sample must be representative production unit and be supplied at no cost to the City.

  - Assembly.

Luminaire must be delivered completely assembled, wired, and ready for installation.

  - Warranty.

The luminaire manufacturer must warrant the performance and construction of luminaires to meet the requirements of this specification, and must warrant all parts, components and appurtenances against defects due to design, workmanship or material developing within a period of ten (10) years from the date of acceptance by the City.

    - The inability of a luminaire to be dimmed will constitute a luminaire failure.

    - Failure of 10% or more of the LED light sources (packages or arrays/modules) in a luminaire will constitute a luminaire failure.

    - The warranty must apply for application on all of the City’s existing electrical systems, both grounded and ungrounded. The luminaire must be operable with the

Page | 4

power conditions supplied by ComEd.

  - Manufacturing Experience and Capacity

The manufacturer must demonstrate at least a five year history of manufacturing LED roadway and outside area luminaires.The manufacturer must also demonstrate the capacity to supply the quantities required for the contract in a timely manner.

# CONSTRUCTION

  - Capital and Finial

- Material

  - Each capital and finial shall be cast aluminum conforming to American Die casting Standard ADC-1-C9-83 grade 380.

  - The capital shall fit over a 3" high by 3" O.D. tenon.

  - The capital attachment to the tenon shall provide the structural integrity to hold the luminaire firmly in place during the vibrations anticipated due to passing heavily loaded vehicles, wind loading, and inclement weather.

  - A minimum of 3/16" thickness of metal must be provided where the set screws are inserted to minimize the possibility of stripping the threads when the set screws are tightened into place.

  - The set screws must be 5/16-18 stainless steel hex head screws. A minimum of three (3) set screws must be provided, evenly spaced at 120 apart.

  - The finial shall be securely attached to the acorn globe such that it will remain in place during the vibrations described above.

  - The casting must have smooth external surfaces free from protuberances, dents, cracks or other imperfections marring their appearance. Welding or plugging of casting defects is prohibited.

  - Each casting must be die cast or made by the permanent mold process; sand castings will not be acceptable.

  - Minimum thickness will be 3/16", and will be uniform within each casting and throughout all castings in an entire order. Inconsistencies in casting thickness will be cause for rejection of the entire lot.

- Appearance

  - The capital shall conform in appearance to that shown on Electrical Standard

Page | 5

Drawing Number 912.

  - Similar designs must be approved by the Commissioner. The Commissioner’s decision of what constitutes a similar design will be final.

  - Cast Housing and Fitter Painting

- Oil and Grease Removal

  - All metal surfaces must be washed with an alkaline detergent to remove any oils or grease.

- Chemical Pretreatment

  - The cleaned metal surfaces must be rinsed with de-ionized water

  - Treated with a hot, pressurized phosphate wash and sealer

  - Rinsed again with de-ionized water, and then dried by convection heat.

- Exterior and Interior Coat

  - A thermosetting, weathering, polyester powder coat must be applied electrostatically to all cleaned and treated surfaces to a uniform four mil thickness in a one coat application.

  - This powder coat must be cured in a convection oven at a minimum 400ºF to form a high molecular weight fusion bonded finish.

- Alternate Methods

  - Alternate coating methods may be reviewed and tested on a case-by-case basis. However, no coating method will be accepted unless the Commissioner judges such alternate to be equal to the coating herein specified

- Durability

  - Both the exterior and interior coats must be capable of passing 1,000 hours of salt spray exposure as per ASTM B117 in a 5% Na Cl (by weight) solution at 95ºF and 95% relative humidity without blistering.

  - Before test, the panel must be scribed with an "X" down to bare metal.

- Coating Measurement

  - Measurement of coating thickness must be done in accordance with SSPC-Pa 2- 73T, "Measurement of Dry Paint Thickness with Magnetic Gauges", except that the lowest "single spot measurement" must not be less than 3.0 mils.

- Color

  - Preferred color will be gloss black. A 4" square color chip sample must be submitted for approval prior to fabrication.

Page | 6

  - The chip sample must be of the same material as the capital, and must include the manufacturer's name and the manufacturer's color name as well.

  - The sample must also include any other information which will be required to purchase the same color for the masts, mast arms and split pedestal bases.

  - Optical Assembly

- Acorn Globe and Reflector

  - The Globe shall be constructed of clear, V825 HID acrylic utilizing a slip-fit 1/2" overlap, two piece which eliminates a "butt-glue" seam appearance.

  - The Globe must conform to that shown on Electrical Standard Drawing 912.

  - The bottom optical section of the globe must have a neck opening of 7-1/4" at the smallest diameter and an outside dimension of 8" at the bottom; be a minimum of 12-3/4" in height and 16 1/2" in width at the top.

  - The top section of the globe must be "Victorian" in appearance; a minimum of 13" in height and 16.313" in width with 100 horizontal prisms to evenly diffuse light. If so requested, a full top reflector of the same diameter as the globe shall be installed between the halves and secured to the globe. The top and bottom sections shall be secured in a slip-fit overlap design using four #10 -24 x 5/8 stainless steel pan head screws with four aluminum nutserts providing a mechanical lock. In addition, a sealant must be applied to the two halves to provide a dust-proof seal.

  - The globe shall be mounted with four 5/16-18 hex head, stainless steel bolts with stop nuts mounted into the die cast fixture housing.

  - The hex head bolts must securely contact an aluminum globe neck ring connected to the acorn globe. The globe must be clearly marked and keyed so that it will be properly installed to provide the required house side/street side photometrics. The mounting must afford the rigidity necessary to prevent the globe from twisting or rattling when subjected to the vibrating forces of passing elevated trains or heavily loaded vehicles. The mounting must not preclude any globe from being mutually interchangeable with any other globe intended for this function.

  - A top reflector and a house-side reflector shall be provided, if requested.

  - The reflectors shall be mounted to a removable bracket.

  - The small dome shaped top reflector, approximately 6.5 inches in diameter and 3 inches deep shall be mounted on the bracket and attached by a spring clamp, or other suitable means.

Page | 7

  - The side reflector shall be mounted to the same bracket. The reflectors shall be constructed of aluminum and polished to a high specular finish. Reflectance of the reflecting surfaces shall not be less than 75%. Measurements shall be made with a reflectometer using the fiber-optic method.

  - Electrical Components

- LED Optical Array.

  - The LED arrays shall be optimized for the required roadway photometrics. The arrays must be properly secured at the factory and must not require field adjustment for optimum photometric performance.

  - The optical assembly shall consist of the LED array, the refractor, the refractor holder-door, gasketing, and all associated items.

  - The LED optical assembly shall be rated IP66 for ingress protection for dust and water.

  - The optical unit as a whole must provide as similar as an IES Medium Cut-off Type II/III distribution.

- Terminal Block

  - A terminal block of high grade board of molded phenolic plastic shall be mounted to the capital in a readily accessible location.

  - Terminal block wiring; all necessary terminals, pre-wired to all luminaire components, must be provided.

  - Terminal block terminals must have copper plated or brass plated, clamp-type pressure connectors of an approved type for "line" connections, to accommodate wire sizes from #12 to #8 A.W.G.

  - Terminal block terminals for internal component connections must be either the screw-clamp or quick disconnect type.

- LED Driver:

  - Voltage.

    - The electronic driver must operate at an input voltage range of between 120 and 277 volts, 60 Hertz.

    - It must automatically sense the input voltage and adjust the output accordingly.

    - The City uses nominal input voltages of 120, 208, and 240 for street lighting.

Page | 8

    - When operated at any supply voltage between 80 percent and 110 percent of its rated supply voltage and at rated input frequency, a driver shall provide current and/or voltage regulation that equals or exceeds the values specified by the manufacturer.

  - Electrical Safety. Luminaires must operate at or below the Low-Risk Level, as defined in Figure 18 of IEEE 1789-2015. This requirement must be satisfied across the dimming range.

  - Power Factor (PF). The power factor of the driver over the design range of input voltages specified above must be in accordance to ANSI C82.77-2014. PF must be ≥ 0.9.

  - Total Harmonic Distortion (THD). The driver input current must have specified THD in accordance to ANSI C82.77-2014. THD must be ≤32%.

  - Thermal Protection. The driver must be thermally protected to shut off when operating temperatures reach unacceptable levels.

  - Electromagnetic Interference. Luminaire must comply with the FCC radiation emission limits for Class B digital devices given at 47 CFR 15.109.

  - Electrical Transient Immunity:

    - Dielectric Withstand Testing - luminaire must meet the performance requirements specified in ANSI C136.2-2015 for dielectric withstand, using the DC test level and configuration.

    - Electrical Transient Immunity - luminaire must meet the performance requirements specified in ANSI C136.2-2015 for electrical transient immunity, using the Enhanced (10 kV / 5 kA) combination wave test level.

    - Transient Immunity Testing Requirements:

      - During electrical transient immunity testing, the device under test (DUT) must: be connected to the power source through a series coupler/decoupler network (CDN), using a two-wire (hot or hot/neutral) connection between both the power supply and CDN input and the CDN output and DUT.

Page | 9

      - If AC mains is used to power the DUT, the input waveform must be characterized and documented both before and after electrical transient immunity testing, with the DUT operating at rated full output.

      - For Pre-Test DUT Characterization, the diagnostic measurements shall, at a minimum, include the following: real power, input current (RMS; Root- Means-Square), power factor, and current distortion factor (THD-I Total Harmonic Distortion) when operating at rated full output.

      - Manufacturer must indicate on submittal form whether failure of the electrical transient immunity system can possibly result in disconnect of power to luminaire.

  - Dimming Capability. The driver must be capable of dimming. The dimming range must be 10% to 100% of full output. The digital lighting interface used for dimming must be 0-10 VDC as per the requirements of ANSI C136.41-2013. There must be a minimum of 100 dimming steps between the top and bottom of the dimming range.

- Wiring.

  - All components must be completely factory wired with non-fading, color coded leads. These leads must be insulated with an approved class of insulation and must be #16 AWG conductor at a minimum.

  - All wires within a single circuit path must be of the same size.

  - No wire-nut splicing will be allowed.

  - No unnecessary splices will be allowed.

  - Quick disconnects must be provided for all components.

  - All wires must be properly terminated.

- Component Mounting.

All electrical components must be securely mounted in such manner that individual components can be easily maintained or replaced. Permanent straps or tie-wraps will not be permitted. The entire assembly should be easily disconnected and removed for replacement.

Page | 10

# PHOTOMETRIC REQUIREMENTS

  - Light Pollution.

To limit light pollution, the submitted luminaires must not emit any light above the horizon (0 lumens at angles ≥ 90° from luminaire nadir).

  - Lumen Maintenance.

- LED arrays must deliver a minimum of 90% of initial lumen output at 36,000 hours of operation.

- Light Loss Factor (LLF) < 1.0. Calculations for maintained values, i.e. LLF = LLD x LDD x LAT.

  - Lamp Lumen Depreciation (LLD) calculated at 60,000 hours as per Section II-B-3-d above,

  - Luminaire Dirt Depreciation (LDD) ≤0.90, and

  - Luminaire Ambient Temperature (LAT) ≤0.96

Luminaires with less than 10,000 hours of available LM-80 test data may be submitted for consideration but must be clearly indicated as such.

Page | 11

  - Color Attributes

- Color Rendering Index (CRI) shall be no less than 65.

- Nominal Correlated Color Temperature (CCT) shall be 3000K as defined by ANSI C78.377 and described below:

|  | Manufacturer-Rated Nominal CCT (K) |  | Allowable IES LM-79 Chromaticity Values |  |
| --- | --- | --- | --- | --- |
|  |  |  | Measured CCT (K) | Measured Duv |
| 3000 |  |  | 2870 to 3220 | -0.006 to 0.006 |

- City of Chicago Typical Ornamental Lighting Contexts

ATTACHMENT A (below) lists the photometric performance requirements for luminaires used in the following typical municipal outdoor arterial ornamental lighting applications:

  - Arterial Streets – two-sided opposite pole spacing

  - Arterial Streets – two-sided staggered pole spacing

Page | 12

## ATTACHMENT A – Photometric Performance Requirements

| TYPICAL LIGHTING CONTEXT | ARTERIAL |  |  |
| --- | --- | --- | --- |
| POLE CONFIGURATION* | OPPOSITE | STAGGERED |  |
| RIGHT OF WAY (Width) | 80 ft. | 66 ft. | 66 ft. |
| IES PAVEMENT CLASS | R3 | R3 | R3 |
| STREET WIDTH (Curb to Curb) | 60 ft. | 48 ft. | 48 ft. |
| LANES (Incl. Parking &Median) | 6 | 4 | 4 |
| PARKWAY (Width) | 4 ft. | N/A | N/A |
| SIDEWALK (Width) | 6 ft. | 9 ft. | 9 ft. |
| HEIGHT TO LUMINAIRE | 23 ft. | 23 ft. | 16 ft. |
| MAST ARM LENGTH | 1ft. | 1ft. | 1ft. |
| POLE SETBACK (From Curb to Center of Pole) | 4ft. | 4ft. | 4ft. |
| IN-LINE POLE SPACING | 125 ft. | 200 ft. | X?x ft. |
| LUMINAIRE REQUIREMENTS | OPPOSITE | STAGGERED |  |
| Max Input Power - Default /Normal Luminance (Watts) | 180 | 180 | 180 |
| Default/Normal AVG. Luminance (cd/m²) | ≥1.7 | ≥1.7 | ≥1.7 |
| AVG/MIN Uniformity Ratio | ≤ 3:1 | ≤ 3.5:1 | ≤ 3.5:1 |
| MAX/MIN Uniformity Ratio | ≤ 5:1 | ≤ 6:1 | ≤ 6:1 |
| MAX Veiling Luminance Ratio | ≤ 0.5 | ≤ 0.5 | ≤ 0.5 |
| AVG. Boosted Luminance (cd/m²) [Add-Alternate] | ≥2.5 | ≥2.5 | ≥2.5 |
| SIDEWALK |  |  |  |
| Default AVG. Horizontal Illuminance (fc) | ≥0.50 | ≥0.50 | ≥0.50 |
| AVG.MIN Uniformity Ratio (Horizontal Illuminance) | ≤ 4:1 | ≤ 4:1 | ≤ 4:1 |
| LIGHT TRESPASS RESTRICTIONS - (as measured in a vertical plane 10' beyond ROW ≤3' height) |  |  |  |
| MAX Vertical Illuminance | ≤ 0.3 | ≤ 0.30 | ≤ 0.30 |

Page | 13

## ATTACHMENT B - Product Submittal Form

| Lighting Context | e.g. Arterial Ornamental Wide |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Product Information Description | Product Data (Summary) |  |  |  | Submittal Reference Document |
| Luminaire Designation |  |  |  |  |  |
| Luminaire Manufacturer |  |  |  |  |  |
| Luminaire Model Number |  |  |  |  |  |
| Luminous Flux – initial | lumens |  |  |  |  |
| Luminaire input power—initial | watts |  |  |  |  |
| Luminaire input power— maintained | watts |  |  |  |  |
| Luminaire input voltage- nominal range | volts |  |  |  |  |
| LED drive current - initial | milliamps |  |  |  |  |
| LED drive current - maintained | milliamps |  |  |  |  |
| CCT (correlated color temperature) | kelvin |  |  |  |  |
| CRI (color rendering index) |  |  |  |  |  |
| EPA (effective projected area) - nominal | sq. ft. |  |  |  |  |
| Luminaire Weight - nominal | lbs. |  |  |  |  |
| Control Interface |  ANSI C136.41, 7-pin |  |  |  |  |
| LED Driver – dimming capability |  Dimmable, 0-10V |  |  Dimmable, DALI |  |  |
| LED driver- rated life | years |  |  |  |  |
| Electrical transient immunity ANSI C136.2 combination wave test level |  Basic (6kV/3kA) |  Enhanced (10kV / 5kA) |  |  Elevated (20kV/10kA) |  |
| Vibration Test-ANSI C136.31 |  Level 2 |  |  |  |  |
| Luminaire warranty period | years |  |  |  |  |
| IES LM-80 test duration | hours |  |  |  | IES LM-80-15 report |
| LED lumen maintenance at 36,000 hours | % |  |  |  | TM-21 calculator |
| Max. LED case temperature | degrees Celsius |  |  |  | ISTMT report |

Page | 14

ELECTRICAL SPECIFICATION 1617 DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO SEPTEMBER 16, 2019

ACCESSIBLE PEDESTRIAN SIGNAL

SUBJECT

- This specification states the requirements for an integrated accessible pedestrian signal assembly which will include a vibrotactile push-button with arrow, a speaker, a sign, and housing. This assembly will provide non-visual walk information for persons without sight or with low vision. The walk indications shall be both audible and vibrotactile. This assembly can be used for either actuated pedestrian signal crossings or for non-actuated pedestrian signal crossings.

### GENERAL

- (a) Specifications. The accessible pedestrian signal (APS) assembly must conform in detail to the requirements herein stated, and to the latest requirements of the Manual on Uniform Traffic Control Devices (MUTCD). The APS must also meet the most recent requirements of the Americans with Disabilities Act (ADA).

  - Acceptance. APS assemblies not conforming to this specification will not be accepted.

  - Bidders Submittal. Bidders must submit with their bids detailed specifications and any shop drawings that describe the physical appearance and the functionality of the APS.

  - Sample. One complete APS assembly of the manufacture intended to be furnished must be submitted within fifteen (15) business days upon request of the Chief Procurement Officer.

  - Warranty. The manufacturer must warrant the APS against defects due to design, workmanship, and material, for a period of five years from the date of acceptance by the City. If any assembly fails to properly function within this period, the manufacturer will replace the assembly, free of charge to the city, including shipping.

### HOUSING

- (a)  The housing shall be cast aluminum. It shall be vandal resistant. The housing shall contain the speaker and the push-button, and be able to accommodate a

9 inch by 12 inch sign. The housing shall have a hole in the back to accommodate cable. The housing shall be mounted to a bracket with stainless steel screws.

- A cast aluminum mounting bracket shall be supplied. The mounting bracket will be manufactured to be mounted onto a tubular shaped pole or post using two 3/4 inch steel bands (0.03 inches thick) or two stainless steel screws. The mounting bracket shall accept the APS housing.

- The housing and bracket shall be powder coated Gloss Black with an enamel.

### ELECTRICAL

- (a)	The APS shall operate on 12 volt DC.

  - A separate power supply shall be provided. The power supply will have its own housing and be able to be mounted in the WALK/DONT WALK signal compartment.

  - The power supply shall accept 120 volt ac input. There will be two inputs (WALK, DONT WALK) that will accept 89VAC to 250VAC at 120 VAC nominal, 27 watt maximum per input. Output shall be a maximum of 16VDC and 1.6 amps.

  - An MOV rated at 5 joules shall provide electrical protection. Each input shall be fused at 1.5 amps.

  - There shall be four input wires and four output wires. These wires shall be identified on the power supply: WALK, DONT WALK, NEUTRAL, and GROUND. The input wires shall be long enough to be terminated in the signal compartment. The output wires on the power supply shall have a single quick disconnect plug.

  - The push-button switch contacts must be normally open and must be closed when the push-button is pressed, restoring immediately to a normal open position when released. The switch must be electrically insulated from the housing. The push-button output rating shall be 36VAC/DC, 100mA.

### PUSH-BUTTON

Electrical Specification 1617

Page3

- (a)	The push-button must meet ADA requirements and the requirements of the MUTCD (Chapter 4E.11-4E.12).

  - The push-button must have a raised tactile arrow on its surface. The arrow must be adjustable, so that it can face in the direction of the associated crosswalk. The arrow will vibrate during the associated WALK interval.

  - If there is an actuated walk, pushing the button will send a request to the controller.

### SOUND

- (a)	All sounds generated by the APS must meet the requirements of the MUTCD (Chapter 4E.11-4E.12).

  - Sound levels must be able to be manually adjusted. Sound levels must be in the 30dB to 90dB range.

  - The APS must include an option for automatic sound adjustment due to ambient sound levels.

  - The APS shall have a push-button locator "click" tone during DONT WALK and flashing DONT WALK intervals.

  - The APS shall have two options for the WALK interval. The APS shall generate a rapid "click" tone during the WALK interval or shall have a programmable voice message during the WALK interval.

  - When the push-button is pushed during the DONT WALK or flashing DONT WALK, the APS will respond with a voice message, either "wait" or another programmed voice message.

### SIGN

- (a)	A 9" by 12" reflective sign that can be mounted to the housing back-plate shall be supplied.

  - The sign shall be an R10-2, "CROSS ONLY ON WALK (symbol) SIGNAL", an R10-3, "PUSH BUTTON FOR WALK (symbol)", or another sign as specified in the order or contract. Each sign shall contain a message in Braille meeting the requirements of the ADA (Americans with Disabilities Act).

### ENVIRONMENT

- (a)	The APS shall function correctly within the temperature range of -34ºC and

+74ºC.

  - The APS shall function correctly up to 100% non-condensing humidity.

  - The APS shall function correctly under the power conditions from Commonwealth Edison.

### PACKAGING

- (a)  General. The APS must be shipped fully assembled and ready for installation. Each assembly must be individually wrapped and boxed so that the assembly is not damaged in shipment.

  - Labeling. Each box must be labeled in 3/8 inch high letters " ACCESSIBLE PEDESTRIAN SIGNAL". The City Commodity Code, contract number, manufacturer, and date of manufacture must be clearly labeled on the box.

DIVISION OF ENGINEERING DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO

MAY 23, 2019 CABLE: FLEXIBLE CORD FOR ACCESSIBLE PEDESTRIAN SIGNAL

SUBJECT

- This specification states the requirements for an electrical cable to be used to connect a power supply located in the compartment of a WALK signal to an accessible pedestrian signal located either on the same pole or to another pole nearby.

### GENERAL

- (a)  Specifications. The cable must conform in detail to the requirements herein stated, and to the applicable portions of the latest revisions of the specifications and methods of test of the following agencies:

  - ASTM – American Society for Testing and Materials

  - ICEA – Insulated Cable Engineers Association

  - IEEE – Institute of Electrical and Electronics Engineers

  - UL – Underwriters

- Acceptance. Cable not conforming to this specification will not be accepted.

- Bidders Submittal. Bidders must submit with their bids detailed specifications.

- Sample. If requested by the Chief Procurement Officer, a three (3) foot sample of the cable intended to be provided under this specification must be sent to the attention of the Division of Electrical Operations within fifteen

(15) days of receipt of such request.

- Warranty. If the cables are installed within twelve (12) months of date of shipment, the manufacturer must replace any cable failing during normal and proper use within one year of the date of installation. All replacements under this warranty must be made free of charge F.O.B. delivery point of the original contract.

### CABLE

- (a)	The cable shall be rated at 600 Volts.

- The cable shall be classified as SOOW cord.

- The conductors shall consist of uncoated annealed multiple strand copper meeting the requirements of ASTM B-174. The size of each conductor shall be No. 18 AWG.

- The cable shall contain four insulated conductors within a single jacket. The insulation for each conductor shall be ethylene propylene rubber (EPR), 30mils thick, or equivalent. The jacket shall be chlorinated polyethylene (CPE), 60 mils thick. Insulation and jacket shall be thermoset.

- The insulation for the individual conductors shall be colored as follows: red, black, white, green. The jacket shall be black.

- The cable shall meet the requirements of UL 62 for flexible cord.

- The cable shall be UL listed for outdoor use and for water resistance. It shall be rated to operate in temperatures from -40ºC to +90ºC.

### PACKAGING

- (a) General. The cable must be delivered on sound substantial, non-returnable reels. Each reel must be marked with the manufacturer's name, footage, and any other pertinent information.

DIVISION OF ELECTRICAL OPERATIONS DEPARTMENT OF TRANSPORTATION

CITY OF CHICAGO MARCH 14, 2023

FIELD CABINET INTEGRATION EQUIPMENT AND DETECTION PROCESSOR WITH VIDEO CAMERA

- SUBJECT

This specification states the requirements for video camera and integration equipment to enhance the technological functions at a signalized intersection that does not have a City fiber network connection. The set of equipment shall include a hemispherical video detection camera and integration device for video detection processing, video streaming, Ethernet networking, and cellular communications. The technology enhancement equipment shall collectively interface with the existing or proposed traffic signal controllers and cabinets, enable remote monitoring and control of the signal operations, support continuous data collection and signal performance monitoring, provide vehicle actuation, enable Web-based real-time and recorded video from the intersection, provide local area network connectivity for equipment in the cabinet, interface with the City’s central signal system, and provide forward compatibility with future systems. The integration device and video detection processor shall be physically located in a traffic signal control cabinet. The camera shall be mounted to a City pole or extension arm with a mounting bracket specifically manufactured for that purpose.

### GENERAL

  - Specifications. The intersection technology equipment shall conform in detail to the requirements herein stated and to the latest referenced specifications of the following:

Electronic Industries Alliance (EIA)

Federal Communications Commission (FCC)

National Electrical Manufacturers Association (NEMA)

National Transportation Communications for ITS Protocol (NTCIP) Restriction of Hazardous Substances (RoHS)

Telecommunications Industry Association (TIA) Underwriters Laboratories (UL)

  - Acceptance. Intersection enhancement equipment not conforming to this specification will not be accepted. The equipment shall be approved by the selected wireless carrier for use on their network.

  - Sample. If requested by the Chief Procurement Officer, a sample of the technology enhancement equipment intended to be provided under this specification, shall be submitted to the Division of Electrical Operations within fifteen (15) business days after receipt of the request. The samples shall be delivered to the Division of Electrical Operations, 2451 South Ashland Avenue, Chicago, Illinois 60608.

  - Compatibility

    - Traffic signal controller. The technology enhancement equipment must be compatible with the City's traffic control equipment and the City's communications equipment.

    - Future technology. The technology enhancement equipment shall be forward compatible to support technologies through the integrated standard Layer 2 network interface including adaptive traffic signal controls.

  - Documentation. All equipment shall include the manufacturer’s installation and operations manuals in hardcopy and electronic PDF formats. Contractor shall provide documentation of exact equipment model and serial numbers in hardcopy and electronic PDF formats.

  - Warranty. The manufacturer shall warrant the technology enhancement equipment against defects in material and workmanship for a period of three (3) years from the date of the City’s final acceptance. The manufacturer’s local distributor shall provide a replacement of any failed technology enhancement equipment at no cost to the City.

  - Support

    - Support shall include software updates and phone support, Monday through Friday, 7:00 AM to 7:00 PM, for the duration of the warranty period.

    - Equipment shall have ability to receive Over-The-Air (OTA) upgrades for enhancements to capabilities and security.

  - License

    - The technology enhancement equipment shall include licensed software use and full maintenance and support services for the software for a minimum period of 10 years from the date of the

City’s official receipt for commodity contracts or from the date of City’s final written acceptance for construction contracts. The maintenance and support services should include:

      - API and web portal access to historical and live data

      - Phone and email access to a customer service person

      - Troubleshooting of connectivity issues

      - Remote configuration help

      - Troubleshoot traffic count and detection issues.

      - Assistance to traffic controller connectivity

      - Access to live signal telemetry

    - The software license shall be fully transferable to CDOT. Transfer shall be completed upon purchase for commodity contracts and prior to City’s final written acceptance for construction contracts.

    - The software license provided by the vendor shall be subject to the City of Chicago Data Protection Requirements for Contractors, Vendors and Third Parties. A copy of this document is provided in the Appendix.

    - In no event shall the software license include an obligation by the licensee to indemnify the licensor.

    - Software license shall allow a minimum of 100 concurrent users for any client based or cloud services.

    - Written evidence of the transfer shall be certified by an authorized representative of the software vendor and provided to the City.

    - The software license shall grant the City full use of the Web-based software including access to the data collected by the technology enhancement equipment and all data analytic tools of the Web portal software. The capabilities of the software may be enhanced but shall not be reduced.

    - Regardless of the full license and maintenance support period, City will have perpetual access to the following features directly from the device:

      - Presence and Pulse Detection

      - Remote detection configuration via the could platform

      - Roadside /local Configuration

      - Real-time device (detector events) via API on the cloud platform

      - Real Time Streaming Protocol (RTSP) Video API on device accessed via agency network or added LTE comms

      - Over-the-Air (OTA) Updates automatically deployed to all devices for security and algorithm performance improvements

      - Rolling 365-Day Count Data (vehicle, bicycle, pedestrian) available via the API on the cloud platform.

      - Detection Metrics

      - Occupancy ratio

- Arrival on Red

- Arrival on Green

- Phase Interval

### ENVIRONMENTAL

  - All technology enhancement equipment inside the traffic signal cabinet, including the SIM card, shall be manufacturer-hardened to withstand the elements and fully operate in the field without a dependency on external environmental conditioning equipment.

  - The technology enhancement equipment shall meet the environmental and operating requirements of the NEMA TS2 standard for controller units, including temperature, humidity, shock, vibration, and voltage. Testing shall comply with NEMA TS2 2.2.7 through 2.2.11.

    - Operating temperature: -30° F to 165° F.

    - Storage temperature: -50° F to 185° F.

    - Operating relative humidity: 5% to 95% non-condensing.

### INTEGRATION DEVICE

  - General.

    - Provide multiple backhaul communications options including hardwired Ethernet and cellular communications backhaul.

    - Provide local network Ethernet, serial, or I/O connectivity for field devices at the signalized intersection.

    - Provide an “always-on” connection, without dialing.

    - Support local and remote management access

    - Support Virtual Private Network (VPN) connections

    - Communicate with an NTCIP compliant controller over Ethernet providing auto-negotiation to 10/100 Mbps, half or full duplex.

    - SIM card shall have a static IP address assigned by City, and shall be provisioned on the City’s cellular provider’s (currently Verizon) private network for City of Chicago.

    - Support direct communication between City systems and the devices connected to the integration device (and through an interface hardware adapter for legacy controllers) for remote monitoring and control.

    - Provide all required components, including power supply, cables, mounting hardware, and all accessories required to make the system fully operational in accordance with these specifications.

    - Provide data buffering of all telemetry and alert data for at least 12 minutes of communications loss at least 5 seconds of power loss.

    - Support vertical and horizontal installation.

    - Shall support the collection and transmission of telemetry data, video data, alert data, and vehicle identification data to the server via the communications network.

    - Include light-emitting diode (LED) indicators for health heartbeat, network connectivity, and device status.

  - Integrated Layer 2 Ethernet switch.

    - Minimum six Gigabit Ethernet ports (RJ-45) including one WAN port and minimum three PoE+ ports (802.3af and 802.3at compliant).

    - Support Transmission Control Protocol (TCP)/IP and User Datagram Protocol (UDP).

    - For each RJ-45 port, include a 6-foot Category 6 network cable that is Electronic Industries Alliance (EIA) / Telecommunications Industry Association (TIA)-568-A complaint.

    - One non-PoE+ port shall be used for the traffic signal controller, one PoE+ port shall be used for the video camera, and the remaining ports shall remain unused and reserved for the City's approved other uses.

    - Each port shall have auto-resetting in-line surge protection, compliant with IEC 61000-4-5 Class 4.

  - Connection ports

    - Minimum two serial ports (EIA RS-232).

    - Minimum one Universal Serial Bus (USB-A) port (USB 2.0 or higher).

    - Minimum one general purpose input/output (I/O) port with four signal pins, 0~30V, 200 mA, sinking, digital input.

    - Minimum one NEMA-rated I/O port for detector actuation (24)

    - Minimum one NEMA-rated I/O port for signal priority control (8)

    - Minimum one SDLC port

  - Data storage

    - Solid State Drive (SSD)

    - Minimum 240 GB

    - SATA III compliant

    - Support Self-Monitoring, Analysis, and Reporting Technology (SMART) command feature set

    - Rugged. 1500 G/0.5ms shock-resistance, 5~800 Hz at 5G peak vibration-resistance

  - Wireless communications

    - Frequency band and cellular network interface shall be fully compatible with the City’s cellular data service provider.

    - Shall support 5G or 4G LTE cellular connectivity with MiMo and diversity (Bands 2, 4, 5, 12, 13, 14, 66, 71), UMTS/HSPA+ and GSM/GPRS/EDGE with peak downlink of 150 Mbps and peak uplink of 50Mbps.

    - Shall support 802.11 a/b/g/n with MiMo and Diversity antennas with security of at least 64/128 bits WEP, WPA, WPA2.

    - Shall support GPS for location service.

  - NTCIP controller interface

    - Communicate with an NTCIP compliant controller over Ethernet providing auto-negotiation to 10/100 Mbps, half or full duplex

    - Provide an ethernet cable for interfacing with NEMA TS2 type A1N, A2N, P1N, or P2N controllers.

    - Ethernet cable shall be Category 6 and shall meet NEMA operating temperature specification -30 °F to 165 °F and be shielded with a UL-certified jacket.

    - Communicate to the controller over TCP/IP

    - Communicate over SNMP v1, v2c, and v3 protocols

    - Communicate over STMP NTCIP protocols reading all objects defined in NTCIP 1201 and 1202 supported by the controller

    - Acquire and record phase, channel, detector, pedestrian detector, pre-emption, alarm and overlap statuses at a frequency of no less than 10 times per second including whether a phase is next or has a call for service on it

    - Read and distinguish information from all detector, pedestrian detection and pre-emption devices wired into the cabinet

    - Detect failure of a detector, pedestrian detector or pre-emption device in either always high or always low mode based on user configuration.

    - Detect all controller-defined failures of a detector defined in NTCIP-1202::ASC.vehicleDetectorAlarms

    - Detect all detector-defined failures of a detector defined in NTCIP- 1202::ASC.vehicleDetectorReportedAlarms

    - Detect the free mode status of the controller

    - Read coordination information including cycle and sync status and current and future coordination plan parameters when provided by controller

    - Distinguish between minimum green, extension, maximum, green rest, yellow change, red clearance and red rest intervals of a phase.

    - Identify flash status, stop time, external start, power restart, low battery, a serviceable call exists and has not been serviced for two cycles, or SDLC response fault.

    - Measure the existing sequence selected

    - Read the phase table, sequence table, channel table, and overlap table

    - Re-synch controller clock

    - Place a call on a phase if a detector is in fault

    - Run the traffic controller in free mode through force, hold, and omit directions

    - Set the current timing plan dial, split, or offset

    - Set coordination plan parameters including splits, offsets, and cycle length

    - Set phase table parameters.

    - Capture and report controller faults based on controller reported flash status reasons of ‘other’, ‘automatic’, ‘localManual’, ‘faultMonitor’, ‘mmu’, ‘startup’, and ‘preempt’

  - SDLC controller interface

    - Provide all necessary cabling to connect to a cabinet’s existing Port 1/SDLC bus

    - Read terminal and facility input & outputs at a frequency of at least 10 times per second

    - Read channel state at a frequency of at least 10 times per second

    - Acquire MMU fault status including conflict, red failure and clearance failure

    - Read information from all detectors wired into the cabinet supporting up to 100 millisecond resolution between detection events

    - Detect detector failure in either always high or always low mode

    - Support capturing and reporting controller faults based on MMU status bits of ‘in conflict’, ‘red failure’, ‘diagnostic failure’, ‘in failure state’, and ‘local flash’

    - Function as multiple SDLC detector racks for actuation

  - Video processor

    - The integration device shall include real-time multimodal (vehicle, cyclist, pedestrian) video detection.

    - Support Real Time Streaming Protocol (RTSP).

    - Support live video streaming through remote network access. The live video shall be accessible from a browser and/or through third- party software used by the operating agency.

    - The cameras system at each intersection should Shall locally record camera video streams continuously at the intersection and store recordings for at least 14 days.

    - Shall allow the locally stored video recordings at the intersection to be recalled, downloaded, and viewed remotely for up to 14 days.

    - Detection accuracy shall be 90% for each lane at the intersection in clear weather conditions for any 1-hour period and 95% for any

24-hour period of real-time video processing.

    - Shall include a display showing status information of signal phases, detection channels, cameras, SDLC bus, and operational state.

    - Shall support multimodal detection and counting

      - Process simultaneous feeds from multiple intersection video cameras

      - Process at least 150 detection zones at intersection

      - Allow irregular polygon shaped zones

      - Support conditional detection based on directional movement of object

      - Differentiate between vehicle and cyclist at stop bar detection

      - Support conditional stop bar detection based on object type

      - Auto adjust settings in response to viewing conditions for improved detection accuracy

      - Support approach and departure detection zones

      - Support automated OTA software updates

      - Process turning movement count data for all visible movements at the intersection at all times

      - Classify in real-time all detected objects passing through an intersection including bicycles, light vehicles, single-unit trucks, articulated trucks, and buses

      - Process crosswalk movement count data for pedestrians

      - Track objects for video analytics applications

      - Auto-validate detection accuracy for each configured presence zone in the intersection

      - Distinguish between lanes for all vehicle movements

      - Count large groups of pedestrians

      - Adjustable enhanced detection sensitivity per detection zone

    - Actuation.

      - Support the option of actuation via SDLC or direct wiring into traffic cabinet

      - Support 64 actuation outputs over SDLC

      - Support 16 actuation outputs over general purpose I/O direct wiring with constant-call fail active capability

      - Support 8 actuation outputs over general purpose I/O without constant-call fail active capability

      - Support multiple detection zones per lane in any combination of pulse or presence configuration

      - Support constant detection channel call output when no video signal detected (1 second response time).

      - Support automatically switching individual detection zones into alternate detection mode when poor visibility is detected

      - Support delay and extend functionality per detection zone

      - Support local and remote manual override of detection to force actuated channels into constant call

      - Support virtual actuation channels for signal performance measures without actuating controller channels

  - Device data access

    - Support data access by third-party devices via TCP/IP

    - Provide local live data access via an open standard interface for third-party device integration

      - Signal indication status change on each channel

      - Detector status change on each channel

      - Preemption status change on each channel

      - Active timing plan change for NTCIP controllers

      - Video detection object presence

      - Movement data for detected objects

    - Provide updated status with 100 millisecond resolution.

### VIDEO CAMERA

  - Hemispherical (fisheye) lens shall provide an ultra-wide, 360-degree, fixed field of view of all approaches of a signalized intersection at a maximum of 125 feet from the farthest stop bar. Additional cameras shall be provided at no additional cost to the City if the maximum distance is exceeded.

    - 180-degrees horizontal

    - 180-degrees vertical

  - 4K video resolution.

  - Shall support at least 9 megapixel (MP) capture

  - Shall support configuration in both spherical “fisheye” configuration, and rectangular “quad view”

  - Support a minimum of 10 concurrent video streams

  - Shall support pan, tilt, and zoom of the video feed by users

  - Camera shall be powered over Ethernet cable (PoE) in compliance with IEEE 802.3af

  - Shall provide H.264 and MJPEG image compression

  - Shall support RTSP streaming and H.265 compression

  - Shall support integration of RTSP video streams into third-party video management systems

  - Shall be rated to IP66 (NEMA 4X compliant)

  - Shall include an electronic de-humidification device for use in various weather conditions

  - Shall include a lens defrost function

  - The camera shall be fully compatible with the video processor and be provided by the same manufacturer. The camera quality and performance shall support the detection requirements of the video processor.

  - The camera shall provide full visibility of the intersection as required to achieve the performance requirements of this special provision.

  - Shall include Cat-6 surge protection capable of being mounted to the sidewall mounting channel of the traffic signal controller cabinet for protection of the camera and video processor. The surge must not interfere or degrade the quality of the video signals on the line.

  - Shall include a compatible in-line Ethernet repeater or other solution recommended by the manufacturer for cable runs exceeding standard Ethernet distance at no additional cost to the City.

  - Mounting hardware.

    - Support vertical and horizontal mounting

    - Constructed of aluminum or stainless steel

    - Compatible for securing a minimum 6-foot extension mast, 1.5- inch diameter

    - Shall be shipped fully assembled within secured package and ready to attach to pole or extension arm

    - A hole for cable of a minimum of 1" shall be located where the bracket shall be attached to City infrastructure. Bracket shall allow for banding to City mast arm.

    - Shall meet the structural requirements of ASSTHO's Specifications for Structural Supports for Highway Signs, Luminaires, and Traffic Signals, First Edition. The entire assembly shall be able to withstand wind gusts up to 150 MPH.

  - Camera cable.

    - Shall be Category 6 network cable that is EIA/TIA-568-A complaint

    - Shall meet NEMA TS2 operating temperature requirements and have a UL-certified jacket

    - Shall include innerduct within raceways between the traffic signal controller cabinet and the camera to protect the cable at no additional cost to the City. Innerduct shall meet Section 1088.01(c) of IDOT’s Standard Specifications for Road and Bridge Construction (Standard Specifications).

### ANTENNA

  - The low-profile, omnidirectional external antenna rated for outdoor use shall be fully compatible with the integration device and shall provide optimal signal reception at each site as recommended by the equipment manufacturer.

  - Antenna shall be able to be easily mounted to cabinet. Antenna housing shall require only one penetration in the mounting surface to route all internal antenna cabling. The antenna shall be an environmentally hardened, vandal-resistant antenna that protrudes no more than 1-1/2 inch from the cabinet. A watertight sealing bushing shall be included to prevent cable fraying and the ingress of water into the cabinet. All mounting hardware shall be included.

  - For the cellular modem integrated in the integration device, the antenna housing shall have multiple antennas inside with one threaded opening for all cabling and shall support:

    - Global Positioning System (GPS) (qty: 1)

    - 4G/LTE MIMO (qty: 2)

    - 2.4GHz/5GHz WiFi MIMO (qty: 2)

  - Shall include antenna cables with required manufacturer-terminated connectors for full compatibility with corresponding ports on the integration device.

  - Shall have labeled antenna terminations for easy installation.

  - Shall not exceed 1-1/2 inch in height.

  - Shall be IP67 rated and include a water-tight seal made of a closed cell rubber type foam and medium-firm acrylic adhesive with bonding features including a high initial adhesion and excellent high/low temperature holding power with excellent peel strength.

### POWER

Technology enhancement equipment inside the traffic signal controller cabinet shall meet the following power requirements.

  - Include compatible UL-certified power supply and connections as recommended by the technology enhancement equipment manufacturer.

  - Provide galvanic isolation between earth ground and logical ground.

  - Shall support power source via NEMA 5-15R or direct-wire terminal block.

  - Shall include power backup to maintain device operation for at least 5 seconds of brownout. System shall shutdown safely with power loss.

  - Shall include a separate circuit breaker of sufficient amperage rating (minimum 10 amperes) for powering the technology enhancement equipment inside the cabinet. Breaker shall be at a minimum, a thermal magnetic type, UL listed with a minimum of 10,000 amp interrupting capacity.

### SOFTWARE

  - Web-based management client software shall be included by the equipment manufacturer with Graphical User Interface (GUI) and secured through Secure Sockets Layer (SSL) encryption.

  - Shall provide access to field data from the integration device and provide all functions from a single software platform with a single sign-on.

  - Shall support an unlimited number of concurrent logins by authenticated users.

  - Shall be fully accessible via desktop, tablet, and mobile products on Chrome, Edge and Safari.

  - Shall support the full set of software features without interfering with the traffic signal controller to communicate with third-party software used by the operating agency.

  - System server

    - Professional cloud server hosting facility with fault-tolerant redundancy, automated load-balancing, and scalability to meet the service levels specified herein.

    - Storage of all telemetry, alert, and vehicle data with no age limit.

    - Polling, storage, and support for at least 3,000 signal controllers

    - Performance of at least 95% uptime

  - Security features

    - User login through credentials and OAuth protocol

    - Authentication and encryption with public key infrastructure (PKI) and Datagram/Transport Layer Security (DTLS/TLS1.0+) protocol

    - Account verification through email

    - Secure password reset

    - Administrative management of user profiles and customizable privileges for users internal and external to operating agency

    - Secure Virtual Private Network (VPN) connection

    - HTTPS/SSL communication to the server from the public Internet

  - Signal equipment monitoring

    - Shall support live display of all telemetry data with latency not to exceed 1 second with at least LTE connectivity.

    - Shall support historical display for at least 3 months of all telemetry data on-demand with load latency not to exceed 1 second.

    - Shall support a viewing mode in which all telemetry data is displayed overlaid onto a diagram of the intersection.

    - Shall support a viewing mode in which all telemetry data is displayed in a timing diagram format in which interval length is displayed in seconds for each signal phase.

    - Shall support display of environmental weather conditions, including precipitation and temperature, as part of live and historical viewing of telemetry data.

    - Shall provide networking support for secure monitoring by operating agency’s third-party software of equipment connected via serial communications

    - Shall provide reporting on signal telemetry, detector, and alert data.

  - Data reports and Automated Traffic Signal Performance Measures (ATSPM) on metrics enabled by monitored detection implemented at intersection

    - Secure remote access to dashboard for traffic count data

    - Available data in at least 15-minute intervals

    - Summary charts and trend reporting with user-selectable parameters

      - Turning movement counts

      - Vehicle type

      - Percentiles

      - Historical date range selection

      - Delay per vehicle and per approach

      - Approach volume and speed

      - Red light runners

      - Arrivals on green

      - Arrivals on red

      - Split failures

      - Platoon ratios

      - Pedestrian actuations

      - Pedestrian delay

      - Detector count and duration

      - Queue length

      - Queue spillback

      - Intersection level of service

      - Total cost

      - CO2 emissions

      - Travel time

      - Purdue phase termination, split failures, adjustment optimization, and predicted coordination diagrams

    - Exportable data summary formats, including Portable Document Format (pdf), MS Excel (xlsx), and Comma-Separated Values (csv)

  - Video viewing

    - Access from Web browsers to live video streams without third- party plugins and additional software installation

    - Access from tablet Web browsers with HTTP Live Streaming (HLS)

    - Support a minimum of 300 total simultaneous video streams among all cameras

    - Allows users to virtually pan, tilt, and zoom the video feed

    - Support live video streaming of any third-party camera connected over Ethernet to the integration device that supports non- proprietary codecs and RTSP streaming

    - Support live video streaming with an initial load time of no more than 10 seconds

    - Support live video streaming with a latency of no more than 10 seconds at a frame rate of at least 15 fps

    - Support at least 10 concurrent video streams from a single camera to be viewed in multiple browsers

    - Allow users to recall, download, and view intersection video recorded and stored at the intersection for up to 14 days

  - Video detection configuration

    - Web-based user interface for configuration of detection zones

    - Configuration of rectangular and irregular polygon shaped zones and pulse or presence detection zones

    - Secure remote configuration of system without additional connectivity costs

    - Full configuration history for remote changes

    - Local roadside configuration of all detection zones

  - External data interface

    - Support external data access by shared open protocol or documented network-based Application Programming Interface (API)

      - Turning movement count data in minimum 15-minute intervals

      - Crosswalk bi-directional pedestrian counts in minimum 15- minute intervals

      - Intersection information including geographic coordinates

      - Active alert data

    - Open data interface format including JSON and XML

    - Support administrative management and security of data interface

    - Provide API documentation and testing support

    - Secure access to all stored multimodal count data

  - Management functions

    - Signal assessment information on signal operations and maintenance, signal configuration, signal performance, input data quality, and alert volume

    - Condition detection and alerting

      - Power outage

      - Signal flash operation

      - Digital I/O signals

      - Detector failure

      - Preemption failure

      - Controller failure

      - Support

    - Issue reporting with prioritization, acknowledgement, comment, assignment, resolution, recipients, and user-customizable SMS text and email alerting functions

    - Viewing of information in tabular and geographic format with user-selectable filtering

    - Data query by date and time

    - Record retention for at least 5 years

    - Exportable data formats, including MS Excel (xlsx) and Comma- Separated Values (csv)

    - Asset management features

      - Create geographical placeholders for intersections without a device installed

      - Record cabinet equipment inventory information for each intersection

      - Upload and store reference files (up to 1 GB) with each node in the network

      - View all asset information and uploaded reference files

  - Cellular communications

    - Fully communicate with the integration device over 4G LTE cellular data service and local network of the operating agency

    - Provide at least 1 GB per month per location for 4G LTE cellular data usage, pooled collectively among all monitored intersections of the operating agency

    - Provide cellular signal strength readings with field unit to support integration device deployment CDMA/UTMS/, and RSRP for Reference Signal Received Power for 4G LTE)

    - Provide cellular signal quality readings with field unit to support integration device deployment CDMA/UMTS/, RSRQ or Reference Signal Received Quality for 4G LTE, and SINR or Signal to Interference-plus-Noise-Ratio for 4G LTE)

### SHIPPING

All technology enhancement equipment and hardware shall be packed to provide protection during shipping. Instructions must be included in each package. Packages shall be labeled indicating contents and shall include the manufacturer and model numbers.