All Regional Engineers

Omer M. Osman, P.E.

Special Provision for Stabilized Subbase

January 10, 2014

This special provision was developed by the Bureau of Design and Environment, at the request of Industry, to remove the trimming requirement for HMA stabilized subbase.

This special provision should be inserted in contracts involving the construction of HMA stabilized subbase and stabilized subbase (which would allow the contractor the option of choosing HMA).

The districts should include the BDE Check Sheet marked with the applicable special provisions for the April 25, 2014 and subsequent lettings.  The Project Development and Implementation Section will include a copy in the contract.

This special provision will be available on the transfer directory 
January 10, 2014.

80339m

# stabilized subbase (bde)

Effective:  April 1, 2014

Revise Article 312.06 of the Standard Specifications to read:

“	312.06	Finishing.  The compacted subbase shall meet the lines and grades shown on the plans.”

80339