Memorandum

To:	Studies and Plans Squads                         PPM 60-04

From:	C. D. Latham                         Revised by:  Scott Neihart

Subject:	Inlet Location Near Entrances

Date:	December 19, 1983              Revision Date:  April 1, 2016

PLAN PREPARATION MEMORANDUM 60-04

In urban sections with curb and gutter, the designer should consider placing an inlet immediately upgrade from entrances. This is especially important where the entrance has a negative grade away from the pavement.  The placement of these inlets should be considered in the overall inlet spacing throughout the curb & gutter limits.

60-04.doc